## PART I (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART I - GENERAL REQUIREMENTS
B.7(2) | Occupational Safety and Health Program | L.S. | 1 |  | 1
B.8(2) | Traffic Management | L.S. | 1 |  | 1
B.9 | Mobilization and Demobilization | L.S. | 1 |  | 1
OTHERS
| TOTAL FOR PART I |  |  |  |  | Php

## PART II (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART II - EARTHWORKS
801(6)a | Removal of existing pavement, sidewalks, curbs | cu.m.
803(1)a | Structure Excavation (including Backfilling) | cu.m.
804(4) | Foundation Fill | cu.m.
804(1)b | Embankment (Fill) from Borrow Material | cu.m. | 140 |  | 140
OTHERS
| TOTAL FOR PART II |  |  |  |  | Php

## PART III (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART III - SUBBASE BASE AND BASE COURSES
200(1) | Agggregate Subbase Course | cu.m. | 50 |  | 50
202(1) | Crushed Aggregate Base Course | cu.m.
OTHERS
| TOTAL FOR PART III |  |  |  |  | Php

## PART IV (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART IV - PAVEMENT AND SURFACING
600(1) | Concrete Curb | m
601(1) | Concrete Sidewalk | sq.m.
612(1) | Thermoplastic Reflectorized Paint | sq.m.
OTHERS
| TOTAL FOR PART IV |  |  |  |  | Php

## PART V (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART V - STRUCTURAL WORKS
MAIN BUILDING STRUCTURE
404 | REINFORCING STEEL
Grade 60
404(1)a.1 | Reinforcing Steel Bars, Grade 60 (Columns) | kg | 489640 | 144168 | 345472
404(1)a.2 | Reinforcing Steel Bars, Grade 60 (Beams and Girders) | kg | 93690 |  | 93690
404(1)a.3 | Reinforcing Steel Bars, Grade 60 (Corbel) | kg | 31430 |  | 31430
404(1)a.4 | Reinforcing Steel Bars, Grade 60 (Suspended Slab-Concourse) | kg | 21190 |  | 21190
Grade 40
404(1)b.2 | Reinforcing Steel Bars, Grade 40 (Beams and Girders) | kg | 85990 |  | 85990
404(1)b.4.1 | Reinforcing Steel Bars, Grade 40 (Suspended Slab-Platform) | kg | 19010 |  | 19010
404(1)b.4.2 | Reinforcing Steel Bars, Grade 40 (Suspended Slab-Concourse) | kg | 31600 |  | 31600
414 | FORMWORKS
414(2)a | Columns | sq.m. | 5112 | 732 | 4380
414(2)b | Beams and Girders | sq.m. | 4343 | 250 | 4093
414(2)c | Platform Slab | sq.m. | 1518 |  | 1518
414(2)d | Concourse Slab | sq.m. | 4607 |  | 4607
414(2)e | Tie Beam | sq.m. |  |  | 0
414(2)f | Staircases | sq.m. |  |  | 0
414(2)g | Corbel | sq.m. | 1147 |  | 1147
414(2)h | RC Walls(Elevator Shaft and Parapet) | sq.m. |  |  | 0
414(2)l | Ribbed Slab | sq.m. |  |  | 0
900 | REINFORCED CONCRETE
900(1)c2 | Slab on grade, beds and the like | cu.m. |  |  | 0
900(1)c3 | Tie Beam | cu.m. |  |  | 0
900(1)c4 | Columns, 35Mpa | cu.m. | 1803 | 275 | 1528
900(1)c5.1 | Suspended Slab - Platform | cu.m. | 340 |  | 340
900(1)c5.2 | Suspended Slab - Concourse | cu.m. | 820 |  | 820
900(1)c6 | Beams and Girders, 35Mpa | cu.m. | 903 | 75 | 828
900(1)c7 | Corbel, 35Mpa | cu.m. | 260 |  | 260
900(1)c8 | Staircases | cu.m. |  |  | 0
900(1)c9 | RC Walls(Elevator Shaft and Parapet) | cu.m. |  |  | 0
900(9)a | Concrete walls | sq.m. |  |  | 0
900(9)b | Stiffener Beam | m |  |  | 0
900(9)c | Stiffener Column | m |  |  | 0
900(9)d | 150mm Lintel Beam | m |  |  | 0
900(9)e | 200mm Lintel Beam | m |  |  | 0
900(10) | 150 x 300mm R.C. Zocalo | m |  |  | 0
900(11) | Ledge | sq.m. |  |  | 0
900(12) | Dry Wall Partition | sq.m. |  |  | 0
901 | PLAIN / LEAN CONCRETE
901(1) | Lean Concrete | cu.m. |  |  | 0
1047 | METAL STRUCTURES
1047 | STRUCTURAL STEELWORKS
Platform Roof (Upper Roof Framing)
1047(2) | Structural Steel, furnished, fabricated and erected (including Surface Preparation)
1047(2)b | Structural Steel, Purlins (LC 200mm x 75mm x 25mm x 2mm) | kg | 18900 |  | 18900
1047(2)d.1 | Structural Steel, Horizontal Bracing (HB-1, W27x84) | kg | 65590 |  | 65590
1047(2)d.2 | Structural Steel, Horizontal Bracing (HB-2, W21x62) | kg | 6530 |  | 6530
1047(2)d.3 | Structural Steel, Horizontal Bracing (HB-3, W6x15) | kg | 8360 |  | 8360
1047(2)e | Structural Steel, K-Brace (125mm x 5mm sch40 pipe) | kg | 33620 |  | 33620
1047(2)f.1 | Structural Steel, Roof Rafter (RR-1, Castellated CB27X65, Root Beam W18x65) | kg | 6150 |  | 6150
1047(2)f.2 | Structural Steel, Roof Rafter (RR-2, Castellated CB27X71, Root Beam W18x71) | kg | 30320 |  | 30320
1047(2)g.1 | Structural Steel, Tapered Column (TC-1) | kg | 14270 |  | 14270
1047(3)b | Metal Structure Accessories, Sagrods (12mm diam.) nuts included | kg | 1470 |  | 1470
1047(3)d | Metal Structure Accessories, Cross Bracings (16mm diam. with Standard Turnbuckle) | kg | 1810 |  | 1810
1047(6) | Metal Structure Accessories, Steel Plates, Angle Cleats, etc. | kg | 9190 |  | 9190
1047(7)a.1 | Splicing, Plates, Bolts and Nuts | kg |  |  | 0
1047(7)a.2 | Anchor Bolts dia. 44mm A307 | kg |  |  | 0
Concourse (Lower Roof) Framing
1047(2) | Structural Steel, furnished, fabricated and erected (including Surface Preparation)
1047(2)b | Structural Steel, Purlins (LC 200mm x 75mm x 25mm x 2mm) | kg | 15390 |  | 15390
1047(2)d.1 | Structural Steel, Roof Rafter (RR-3, 21X68) | kg | 33290 |  | 33290
1047(2)d.2 | Structural Steel, Roof Rafter (RR-4, 21X111) | kg | 14450 |  | 14450
1047(2)d.3 | Structural Steel, Roof Rafter (RR-5, 14X68) | kg | 53700 |  | 53700
1047(2)d.4 | Structural Steel, Roof Beam (RB-1, W21x93) | kg | 15580 |  | 15580
1047(2)d.5 | Structural Steel, Roof Beam (RB-2, W12x45) | kg | 41950 |  | 41950
1047(2)g.1 | Structural Steel, Steel Column (SC-2, HSST16X16X0.625) | kg | 8700 |  | 8700
1047(3)b | Metal Structure Accessories, Threaded Sagrods (12mm diam.) nuts included | kg | 480 |  | 480
1047(3)d | Metal Structure Accessories, Cross Bracings (16mm diam. with Standard Turnbuckle) | kg | 930 |  | 930
1047(6) | Metal Structure Accessories, Steel Plates, Angle Cleats, etc. | kg | 8260 |  | 8260
1047(7) | Splicing, Plates, Bolts and Nuts | kg |  |  | 0
Concourse and Platform Level Framing
1047(2) | Structural Steel, Furnished, Fabricated and Erected including Surface Preparation
1047(2)h.1 | Structural Steel, Concourse Girder (CG-1 & CB-7, W36x361) | kg | 652360 |  | 652360
1047(2)h.2 | Structural Steel, Concourse Girder (CG-2, BUW52X365) | kg | 7400 |  | 7400
1047(2)i.1 | Structural Steel, Concourse Beam (CB-1, W33x201) | kg | 114290 |  | 114290
1047(2)i.2 | Structural Steel, Concourse Beam (CB-2, W27x146) | kg | 58250 |  | 58250
1047(2)i.3 | Structural Steel, Concourse Beam (CB-3 & PG-1, W27x129) | kg | 65500 |  | 65500
1047(2)i.4 | Structural Steel, Concourse Beam (CB-4, W30x116) | kg | 36730 |  | 36730
1047(2)i.5 | Structural Steel, Concourse Beam (CB-5, W30x173) | kg | 110620 |  | 110620
1047(2)j.1 | Structural Steel, Concourse Diaphragm (CD-1, W21x68) | kg | 44110 |  | 44110
1047(2)k.1 | Structural Steel, Plarform Girder (PG-2, W30x261) | kg | 52500 |  | 52500
1047(7)a.1 | Splicing, Plates, Bolts and Nuts | kg |  |  | 0
1047(11)a | 250 x 150 x 6.4mm Tubular Steel Post ( Column for Stair & Escalator), Painted Finish | kg | 5746 |  | 5746
1047(12)a | Exposed Structural Member | sq.m. | 2470 |  | 2470
RAMP TOWER STRUCTURE
404 | REINFORCING STEEL
Grade 60
404(1)a.1 | Reinforcing Steel Bars, Grade 60 (Columns) | kg | 24991 |  | 24991
404(1)a.2.1 | Reinforcing Steel Bars, Grade 60 (Girders) | kg | 49864 |  | 49864
404(1)a.6 | Reinforcing Steel Bars, Grade 60 (Tie Beams) | kg | 2144 |  | 2144
404(1)a.4 | Reinforcing Steel Bars, Grade 60 (Slab) | kg | 31405 |  | 31405
404(1)a.12 | Reinforcing Steel Bars, Grade 60 (Foundation) | kg | 17788 |  | 17788
414 | FORMWORKS
414(2)a | Columns, 35Mpa | sq.m. | 350 |  | 350
414(2)b | Girders | sq.m. | 1302 |  | 1302
414(2)d | Slab | sq.m. | 1145 |  | 1145
414(2)e | Tie Beam | sq.m. | 60 |  | 60
414(2)n | Foundation | sq.m. | 400 |  | 400
900 | REINFORCED CONCRETE
900(1)c3 | Tie Beam | cu.m. | 12 |  | 12
900(1)c4 | Columns, 35Mpa | cu.m. | 128 |  | 128
900(1)c6.1 | Girders | cu.m. | 283 |  | 283
900(1)c5.3 | Slab | cu.m. | 214 |  | 214
900(1)c12 | Foundation | cu.m. | 114 |  | 114
STAIR TOWER (EMERGENCY/FIRE EXIT) STRUCTURE
404 | REINFORCING STEEL
Grade 60
404(1)a.1 | Reinforcing Steel Bars, Grade 60 (Columns) | kg | 29570 |  | 29570
404(1)a.2.1 | Reinforcing Steel Bars, Grade 60 (Girders) | kg | 25398 |  | 25398
404(1)a.6 | Reinforcing Steel Bars, Grade 60 (Tie Beams) | kg | 3917 |  | 3917
404(1)a.4 | Reinforcing Steel Bars, Grade 60 (Slab) | kg | 5166 |  | 5166
404(1)a.12 | Reinforcing Steel Bars, Grade 60 (Foundation) | kg | 21523 |  | 21523
414 | FORMWORKS
414(2)a | Columns, 35Mpa | sq.m. | 408 |  | 408
414(2)b | Girders | sq.m. | 663 |  | 663
414(2)d | Slab | sq.m. | 193 |  | 193
414(2)e | Tie Beam | sq.m. | 106 |  | 106
414(2)n | Foundation | sq.m. | 483 |  | 483
900 | REINFORCED CONCRETE
900(1)c3 | Tie Beam | cu.m. | 23 |  | 23
900(1)c4 | Columns, 35Mpa | cu.m. | 151 |  | 151
900(1)c6.1 | Girders | cu.m. | 144 |  | 144
900(1)c5.3 | Slab | cu.m. | 36 |  | 36
900(1)c12 | Foundation | cu.m. | 138 |  | 138
OTHERS
| TOTAL FOR PART V |  |  |  |  | Php

## PART VI (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART VI - ARCHITECTURAL WORKS
MAIN BUILDING STRUCTURE
604 | FENCING AND GATES
604(8) | Welded Wire Mesh | sq.m. | 90 |  | 2
1003 | CARPENTRY AND JOINERY WORKS
1003(1)a3 | 6mm THK Fiber Cement Board, Heat and Moisture Resist | sq.m. | 695 |  | 695
1003(1)e5 | 75 x 100mm Suspended Aluminum Ceiling | sq.m. | 1290 |  | 1290
1003(1)i | 2.5mm dia Galvanized Wire Ceiling Hangers | no |  |  | 0
1003(1)k | Adjustable Ceiling Rod | no |  |  | 0
1003(1)l | Slab Soffit | sq.m. | 1145 |  | 1145
1003(2)f.3 | Aluminum Cladding, 4mm thk Aluminum Composite Panel | sq.m. | 295 |  | 295
1003(2)j | Prepainted wall cladding including fixing accesories with Insulation | sq.m. | 193 |  | 193
1003(15)d | 12 x 12 PVC Moulding | l.m |  |  | 0
1003(15)f | Angle Moulding | l.m |  |  | 0
1003(24)a.1 | Stainless Steel Cladding | sq.m. |  |  | 0
1003(25)a | Modular Ticket Office | no |  |  | 0
1003(25)b | Modular Control Office | no |  |  | 0
1004 | HARDWARE - (DOORS)
1004(2)a | Mortise Lock | no |  |  | 0
1004(2)b | Butt Hinge | no |  |  | 0
1004(2)c.1 | Door Closer | no |  |  | 0
1004(2)c.2 | Door Stopper | no |  |  | 0
1004(2)d | Threshold Plate | m |  |  | 0
1004(2)e | Lever Handle | no |  |  | 0
1004(2)f | Weather-stripping | m |  |  | 0
1004(2)g.1 | Push/Pull Handle | no |  |  | 0
1004(2)g.2 | Grab Bar Handle | no |  |  | 0
1004(2)h.1 | 500 x 200 mm Powder Coated Steel Louver Inset | no |  |  | 0
1004(2)h.2 | 540 x 645 mm Powder Coated Steel Louver Inset | no |  |  | 0
1004(2)i | Panic Device | no |  |  | 0
1004(2)j | Roll-up Shutter Housing | no |  |  | 0
1004(2)k | Vision Panel | no |  |  | 0
1004(2)l | Bearing Type Hinge | no |  |  | 0
1004(2)m | Security Alarm System | no |  |  | 0
1004(2)n | Ball Catch Lock | no |  |  | 0
1004(2)o | Barrell Bolt Latch with Padlock | no |  |  | 0
1004(2)p | 250W x 600H Safety Wired Glass | no |  |  | 0
1006 | STEEL DOORS AND FRAMES - (METAL DOORS AND FRAMES)
1006(1)a.1 | 700W x 2100 H ( Single leaf ) | no. | 6 |  | 6
1006(1)a.2 | 1000W x 2100 H ( Single Leaf ) | no. | 16 |  | 16
1006(1)b.1 | 1900Wx2100H ( Double Leaf ) | no. | 11 |  | 11
1006(1)b.2 | 2500Wx2100H ( Double Leaf ) | no. | 3 |  | 3
1006(2)a.1 | 900W x 2100H (Single leaf Insulated Steel Flush Door, Galvanized Steel Plate Facing, Painted Finish) Accessories: Automatic door closer, Locking device, lever handle, stopper | no | 3 |  | 3
1006(4)a.1 | 900W x 2100H with Louver (Single Leaf) | no | 2 |  | 2
1006(8) | D17, 4000 W x 3000 H Sliding Gate including hardwares | no. | 2 |  | 2
1007 | ALUMINUM FRAMED GLASS DOORS
1007(1)a.1 | 900W x 2100H aluminum door with 8MM THK tempered glass panels (Single leaf) Accessories: Automatic door closer, Locking device, push/pull hande, weatherseal | no |  |  | 0
1008 | ALUMINUM GLASS WINDOWS
1008(1)c.2 | 800W x 500H (Powder coated aluminum frame, operable awning window) | no |  |  | 0
1008(1)e | Aluminum Louver Windows | sq.m. | 451 |  | 451
1011 | ROLL-UP DOORS
1011(1)a.3.2 | 3300mmW x 2950mmH Grilled Roll-Up | no. | 2 |  | 2
1012 | GLASS AND GLAZING
1012(7)a | 6mm THK Frameless Glass Panel | sq.m. |  |  | 0
1013 | CORRUGATED METAL ROOFING
1013(5)a | Skylight Roofing | sq.m. |  |  | 0
1014 | PREPAINTED METAL SHEETS - (MANUFACTURED ROOFING AND SIDING)
Single Sheet Roofing w/ Accessories at Stairs
1014(2)a.1 | Prepainted Roofing sheets with 50mmTHK Insulation, Upper Roof | sq.m. | 2465 |  | 2465
1014(2)a.2 | Prepainted Roofing sheets with 50mmTHK Insulation, Lower Roof | sq.m. | 2646 |  | 2646
1014(3) | End Flashing | sq.m. |  |  | 0
1014(4) | 0.6mm Stainless Steel Gutter | m |  |  | 0
1016 | WATERPROOFING - (SHEET MEMBRANE AND FELT WATERPROOFING)
1016(1)a | Cementitious Type Waterproofing at Guideway | sq.m. | 1023 |  | 1023
1016(1)c | Cold Applied Base Waterproofing
1016(1)c.1 | Toilet | sq.m. | 78 |  | 78
1016(1)c.2 | Other Areas | sq.m. |  |  | 0
1016(3)a | Platform / Train Deck Waterproofing | sq.m. | 1649 |  | 1649
1016(3)c | Waterproofing at STP | sq.m. | 85 |  | 85
1016(4)a.1 | Domestic Water Tank Waterproofing | sq.m. | 720 |  | 720
1016(4)a.2 | Roof Deck Waterproofing | sq.m. |  |  | 0
1018 | CERAMIC / GRANITE TILES
1018(2) | FF03: 200 x 200 Vitrified Unglazed Ceramic floor tiles | sq.m. | 71 |  | 71
1018(5)c | WF01: 200 x 200 Vitrified Glazed Ceramic Tile | sq.m. | 379 |  | 379
1018(8)b.1 | 300 x 300 Vitrified Homogeneous Heavy Duty Non-Slip Edge Floor Tiles | sq.m. | 18 |  | 18
1018(8)c | FF01: 400 x 400 Vitrified Homogeneous Heavy Duty floor tiles | sq.m. | 114 |  | 114
1018(11)a | FF02: 300 x 300 Warning Tactile Paving Blocks | sq.m. | 86 |  | 86
1018(13) | 100H x 400W Ceramic Tile Baseboard | sq.m. |  |  | 0
1018(14) | Ceramic Skirting | sq.m. |  |  | 0
1018(15) | Corbel Skirting | sq.m. |  |  | 0
1018(16) | 60 x 200 Glazed Ceramic Border Tiles | sq.m. |  |  | 0
1020 | VINYL FLOOR TILES
1020(1)a | 300x300x2mm THK Homogenous Vinyl Tiles | sq.m. | 134 |  | 134
1020(1)c | 100mm High Vinyl Baseboard | sq.m. |  |  | 0
1021 | CEMENT FLOOR FINISH - (CEMENTITIOUS DECKS AND TOPPINGS)
1021(1)c | Cement Floor Finish, with Floor Harderner | sq.m. | 4715 |  | 4715
1021(3)b | Trowelled Finish | sq.m. |  |  | 0
1021(15) | Antistatic Raised Flooring | sq.m. | 107 |  | 107
1021(18) | Stair Nosing | m | 325 |  | 325
1021(19) | Edge Nosing at Platform Area | m | 284 |  | 284
1027 | CEMENT PLASTER FINISH
1027(1)a.1 | Smooth Cement Finish | sq.m. |  |  | 0
1027(1)a.2 | CHB Wall Smooth Cement Plastering | sq.m. | 3471 |  | 3471
1030 | ACOUSTICAL CEILING
1030(1) | 16mm THK Acoustic Ceilling Board | sq.m. | 57 |  | 57
1032 | PAINTING, VARNISHING AND OTHER RELATED WORKS
1032(1)a.4.1 | Painting on Cement Plaster | sq.m. | 3471 |  | 3471
1032(1)b.1 | Painting On Gypsum Board Ceiling | sq.m. |  |  | 0
1032(6) | Epoxy Paint on Smooth Cement Finish | sq.m. | 693 |  | 693
1033 | METAL DECK
1033(2)a.1 | Access Ladder with Safety cage; at Roof | no |  |  | 0
1035 | NON-STRUCTURAL METAL FRAMING
1035(1)a | 75 x 75 Ceiling Furring | l.m |  |  | 0
1035(2)a | 50 x 75 Main Runner | l.m |  |  | 0
1035(2)b | Suspended Ceiling Tee Runners | l.m |  |  | 0
1035(3)a | 75 x 150 Carrying Channels | l.m |  |  | 0
1035(4)a | 25 x 25 mm Wall angles | l.m |  |  | 0
1041 | GYPSUM BOARD
1041(2)a.1 | 12mm thk Gypsum Board | sq.m. | 82 |  | 82
1041(2)a.2 | 2-12mm thk Gypsum Board, 2hr Fire Rated | sq.m. |  |  | 0
1046 | MASONRY WORKS
1046(1)a2 | 150mm thk CHB Wall, 700 psi | sq.m. | 2964 |  | 2964
1046(1)a3 | 200mm thk CHB Wall, 700 psi | sq.m. | 2210 |  | 2210
1046(1)a4 | 300mm thk Wall | sq.m. | 520 |  | 520
1046(1)a5 | 400mm thk Wall | sq.m. | 962 |  | 962
1051 | RAILINGS - (METAL FABRICATIONS)
1051(8)b.1 | Stainless Steel Handrail 50mm dia | m |  |  | 0
1051(8)b.2 | Stainless Steel Handrail 38mm dia | m |  |  | 0
1051(8)b.3 | Stainless Steel Handrail 25mm dia | m |  |  | 0
1051(8)c.1 | Stainless Steel Handrail, 50mm dia Ledge Mounted | m | 356 |  | 356
1051(8)d | Stainless Steel anti-collision Guard Rail | m |  |  | 0
1051(8)e | Ramp Hand Rail Fixtures: stainless steel escutcheon plate | m |  |  | 0
1051(9)a | Hand Rail Post Fixtures: stainless steel welded to base plate, 3 Fixing screws, 3 countersunk bolts, 10 MM dia stainless steel base plate | Assy |  |  | 0
1051(9)b | Hand Rail Wall Mount Fixtures: 50x80x5 mm saddle plate, 2 fixing screw, 25x30 thk bracket, 6mm thk stainless steel base plate, 3 countersunk anchor bolt | Assy |  |  | 0
1051(9)c | Hand Rail Ledge Mount Fixtures: 25mm dia steel support, 50x5mm flat bar | Assy |  |  | 0
1051(15)a.1 | Floor Mounted Railing, 50mmØ HDG Toprail & Post with 4-25mm HDG Midrails | l.m. | 275 |  | 275
1051(16)a.3 | Steel Pipe Railing at the Edge of Platform, 50mmØ Stainless Steel Railing with 150mm spacing Post | l.m. | 356 |  | 356
1051(20) | Horizontal Lifeline Cable | m. | 284 |  | 284
1051(21) | 150 x 250 x 6.4mm Tubular Steel Post | kg | 5746 |  | 5746
1051(22) | 100mm metal anchor | m |  |  | 0
1051(25) | Pedestal Post | no |  |  | 0
FURNITURES AND ACCESSORIES
| Platform Bench | no |  |  | 0
| Public Phone | no | 2 |  | 2
| Advertisement Panels | no | 18 |  | 18
| Passenger Infographic | no | 2 |  | 2
| Counter Top | sq.m. |  |  | 0
| Curtain Divider | l.m. |  |  | 0
| Cabinet | no |  |  | 0
| Water Dispenser | no |  |  | 0
Clinic
| Bed | no. | 1 |  | 1
| Chair | no. | 2 |  | 2
| Curtain | lot | 1 |  | 1
| Table , 900mm x 400mm | no. | 1 |  | 1
| Table , 1400mm x 700mm | no. | 1 |  | 1
SCCR
| Chair | no. | 8 |  | 8
Ticketing Office
| Chair | no. | 6 |  | 6
| Table , 1200mm x 600mm | no. | 6 |  | 6
Cash Room
| Chair | no. | 1 |  | 1
| Table , 1200mm x 600mm | no. | 1 |  | 1
Police Desk
| Chair | no. | 2 |  | 2
| Table , 2400mm x 600mm | no. | 1 |  | 1
| Table , 2600mm x 600mm | no. | 1 |  | 1
Other
| Ticket Office | no. | 1 |  | 1
| Trash / Cigarette Receptacles | no. | 7 |  | 7
RAMP TOWER STRUCTURE
1003 | CARPENTRY AND JOINERY WORKS
1003(1)a3 | 6mm THK Fiber Cement Board, Heat and Moisture Resist | sq.m. | 0 |  | 0
1003(1)l | Slab Soffit | sq.m. | 0 |  | 0
1003(2)f.3 | Aluminum Cladding, 4mm thk Aluminum Composite Panel | sq.m. | 158 |  | 158
1014 | PREPAINTED METAL SHEETS - (MANUFACTURED ROOFING AND SIDING)
1014(2)a.1 | Prepainted Roofing sheets with 50mmTHK Insulation, Upper Roof | sq.m. | 499 |  | 499
1018 | CERAMIC / GRANITE TILES
1018(11)a | FF02: 300 x 300 Warning Tactile Paving Blocks | sq.m. | 82 |  | 82
1021 | CEMENT FLOOR FINISH - (CEMENTITIOUS DECKS AND TOPPINGS)
1021(3)d | Concrete Topping, 30mmTHK at Ramp Area with 10mm x 10mm Groove | sq.m. | 1530 |  | 1530
1021(18) | Stair Nosing | m |  |  | 0
1046 | MASONRY WORKS
1046(1)a2 | 150mm thk CHB Wall, 700 psi | sq.m. | 898 |  | 898
1051 | RAILINGS - (METAL FABRICATIONS)
1051(8)a.1 | Stainless Steel Handrail, 50mm dia Wall Mounted | m | 1027 |  | 1027
1051(15)a.1 | Floor Mounted Railing, 50mmØ HDG Toprail & Post with 4-25mm HDG Midrails | l.m. | 428 |  | 428
1051(8)e | Ramp Hand Rail Fixtures: stainless steel escutcheon plate | m | 0 |  | 0
STAIR TOWER (EMERGENCY/FIRE EXIT) STRUCTURE
1003 | CARPENTRY AND JOINERY WORKS
1003(1)a3 | 6mm THK Fiber Cement Board, Heat and Moisture Resist | sq.m. |  |  | 0
1003(1)l | Slab Soffit | sq.m. |  |  | 0
1003(2)f.3 | Aluminum Cladding, 4mm thk Aluminum Composite Panel | sq.m. | 162 |  | 162
1006 | STEEL DOORS AND FRAMES - (METAL DOORS AND FRAMES)
1006(1)a.2 | 1000W x 2100 H ( Single Leaf ) | no. | 10 |  | 10
1014 | PREPAINTED METAL SHEETS - (MANUFACTURED ROOFING AND SIDING)
1014(2)a.1 | Prepainted Roofing sheets with 50mmTHK Insulation, Upper Roof | sq.m. | 266 |  | 266
1021 | CEMENT FLOOR FINISH - (CEMENTITIOUS DECKS AND TOPPINGS)
1021(3)e | Concrete Topping, 30mmTHK at Stair Area | sq.m. | 1530 |  | 1530
1021(18) | Stair Nosing | m | 566 |  | 566
1046 | MASONRY WORKS
1046(1)a2 | 150mm thk CHB Wall, 700 psi | sq.m. | 304 |  | 304
1051 | RAILINGS - (METAL FABRICATIONS)
1051(8)a.1 | Stainless Steel Handrail, 50mm dia Wall Mounted | m | 257 |  | 257
1051(8)e | Ramp Hand Rail Fixtures: stainless steel escutcheon plate | m | 0 |  | 0
OTHERS
| TOTAL FOR PART VI |  |  |  |  | Php

## INTEG BOQ
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF QUANTITIES FOR DETAILED ENGINEERING DESIGN (DED)
MRT7
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos) | REMARKS
INTEGRATION, AND TESTING AND COMMISSIONING OF MRT-7 STATIONS AND DEPOT ELECTRONICS NETWORKS
Phase 1 (Stations to Depot-Admin Bldg- OCC Integration)
| Fire Detection and Alarm System (FDAS) Workstation Computer System (1123.2.8) Complete with the following: Workstation Computer (1123.2.8.A*) To use 32"' LED Monitor Server (for centralized FDAS management) (1123.2.8.B*) Software** (1123.2.8.C*) Network Switch (1123.2.8.D*) Uninterruptible Power Supply (UPS) (1123.2.8.E*) Peripherals (1123.2.8.E*) *Please refer Engineering Specification (Electronics) for Depot for the specific and other requirements requirements. ** Monitoring and Control Software, including graphical user interface shall have a perpertual license. | Lot | 1
| Access Control System (ACS) Workstation Computer System (1124.2.6) Complete with the following: Server Computer (1124.2.7*) L2 (Layer 2) Switch with SFP (Small Form-Factor Pluggable) Ports (1124.2.8*) Badge Printer (1124.2.12*) System Software **(1124.2.13*) System Database (1124.2.14*) *Please refer Engineering Specification (Electronics) for Depot for the specific and other requirements requirements. ** Monitoring and Control Software, including graphical user interface shall have a perpertual license. | Lot | 1
| Supply and installation of required network interface card and or other required media converter and gateways including software’s for the system integration. | ps | 1
| Supply and installation of Control and Communication Cable including related accessories to complete the system | ps | 1
| Supply and installation of Power Supply Cables including Conduit and Boxes and other related accessories to complete the system | ps | 1
| Table and Chairs for Admin-OCC | ps | 1
| Testing and commissioning | Lot | 1
Phase 2 (Depot Buildings to Depot Admin Bldg-FCCR Integration)
| Supply and installation of Control and Communication Cable including related accessories to complete the system | Lot | 1
| Supply and installation of required network interface card and or other required media converter and gateways including software’s for the system integration. | ps | 1
| Supply and installation of Power Supply Cables including Conduit and Boxes and other related accessories to complete the system | Lot | 1
| Table and Chairs for Admin-FCCR | ps | 1
| Testing and Commissioning | Lot | 1

## PART VIII (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART VIII - MECHANICAL WORKS
EQUIPMENT
FAN AND BLOWERS
1200(5)b.4 | EF-04-04C , Wall Mounted Propeller Type ,200 LPS, Motor Rating 0.05 KW, 230 Volts, 1 Phase, 60 Hz | Assy | 1 |  | 1
1200(5)b.5 | EF-04-06C , Wall Mounted Propeller Type , 175 LPS, Motor Rating 0.05 KW, 230 Volts, 1 Phase, 60 Hz | Assy | 1 |  | 1
1200(5)b.6 | EF-04-07C , Wall Mounted Propeller Type ,335LPS, Motor Rating 0.05 KW, 230 Volts, 1 Phase, 60 Hz | Assy | 1 |  | 1
1200(5)b.7 | EF-04-08CA & 08CB, Wall Mounted Propeller Type , 1385 LPS, Motor Rating 0.33 KW, 400 Volts, 3 Phase, 60 Hz. | Assy | 1 |  | 1
1200(5)e.3 | EF-04-02CA & 02CB, Vane Inline Axial Type , External Static Pressure 434 Pa. , 17720 LPS, Motor Rating 30.0KW, 400 Volts, 3 Phase, 60 Hz. | Assy | 1 |  | 1
1200(5)e.4 | EF-04-05CA , Vane Axial Inline Type ,External Static Pressure 270 Pa. , 540 LPS, Motor Rating 0.39 KW, 230 Volts, 1 Phase, 60 Hz | Assy | 1 |  | 1
1200(7)a | EF-04-01C Centrifugal Inline Type , External Static Pressure 312 Pa , 320 LPS, Motor Rating 0.28 KW, 230 Volts 1 Phase, 60 Hz. | Assy | 1 |  | 1
1200(7)b | EF-04-03C , Centrifugal Inline Type , External Static Pressure 177 Pa., 75 LPS, Motor Rating 0.18 KW , 23O Volts, 1 Phase, 60 Hz | Assy | 1 |  | 1
1200(7)c | EF-04-05CB , Centrifugal Inline Type , External Static Pressure 172 , 45 LPS, Motor Rating 0.10 KW, 230 Volts, 1 Phase, 60 z | Assy | 1 |  | 1
1200(7)d | TEF-04-01C ,Centrifugal InlineType , External Static Pressure 204 Pa. , 420 LPS, Motor Rating 0.28 KW, 230 Volts 1 Phase, 60 Hz. | Assy | 1 |  | 1
1200(7)e | TEF-04-02C ,Centrifugal Inline Type , External Static Pressure 195 Pa. ,80 LPS, Motor Rating 0.18 KW, 23O Volts, 1 Phase, 60 Hz. | Assy | 1 |  | 1
1200(7)f | TEF-04-03C ,Centrifugal Inline Type , 195 Pa. Static Pressure ,80 LPS, Motor Rating 0.10 KW, 23O Volts, 1 Phase, 60 Hz | Assy | 1 |  | 1
Supply Fans
1200(6)a | SEF-04-01C ,Vane Axial Type , External Static Pressure 290 Pa. , 8855 LPS, Motor Rating 5.26 KW, 400 Volts, 3 Phase, 60 Hz | Assy | 1 |  | 1
1200(6)b | SF-04-01C ,Centrifugal DWDI Forward Curve Cabinet Type , External. Static Pressure 226 Pa. , 3000 LPS, Motor Rating 1.10 KW, 400 Volts 3 Phase, 60Hz. | Assy | 1 |  | 1
1200(6)c | SF-04-01R ,Centrifugal DWDI Forward Curve Cabinet Type , External Static Pressure 150 Pa, 2115 LPS, Motor Rating 0.75 KW, 23O Votls, 1 Phase, 60 Hz | Assy | 1 |  | 1
1200(6)d | SF-04-02CA TO SF-04-02CD ,Centrifugal DWDI Forward Curve Cabinet Type, External Static Pressure 142 Pa. , 8000 LPS, Motor Rating 3.00KW, 400 Volts, 3 Phase, 60 Hz. | Assy | 1 |  | 1
AIR CONDITIONING UNITS
1200(13)d.1 | FCU-04-01C, Inverter, Wall Mounted Type, Refrigerant 410 A, Cooling Capacity 2.5 KW, Airflow Rate 133 LPS, Motor Size in KW, 0.095, 230 Volts, 1 Phase 60 Hz | Set | 1 |  | 1
1200(13)d.2 | ACCU-04-01C, , Cooling Capacity 2.5 KW,, Totaltal Power in KW,0.67, 230 Volts, 1 Phase 60 Hz | Set | 1 |  | 1
1200(13)d.3 | FCU-04-04C, Inverter, Celing Suspended Type, Refrigerant 410 A, Cooling Capacity 4.0 KW, Aiirflow Rate 167 LPS, Motor Size in KW, 0.25, 230 Volts, 1 Phase 60 Hz | Set | 1 |  | 1
1200(13)d.4 | ACCU-04-04C, , Cooling Capacity 10 KW,, Total Power in KW, 2.85 , 230 Volts, 1 Phase , 60 Hz | Set | 1 |  | 1
1200(13)d.5 | FCU-04-05CA TO 05CC, Inverter, Ceiling Suspended Type , Refrigerant 410 A, Cooing Capacity.10 KW, Airflow Rate 433 LPS, Motor Size in KW, 0.25, 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.6 | ACCU-04-05CA TO 05CC, , Cooling Capacity 10 KW,, Total Power in KW, 2.85 , 230 Volts 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.7 | FCU-04-06C, Inverter, Wall Mounted Type, Refrigerant 410 A, Cooling Capacity 5.0 KW, Aiirflow Rate 200 LPS, Motor Size in KW, 0.95, 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.8 | ACCU-04-06C , Cooling Capacity 5.0 KW,, Total Power in KW, 1.56 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.9 | FCU-04-07C, Inverter , Wall Mounted Type, Refrigerant 410 A, Cooling Capacity 2.5 KW, Aiirflow Rate 200 LPS, Motor Size in KW, 0.95, 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.10 | ACCU-04-07C , Cooling Capacity 2.5KW,, Total Power in KW, 0.67 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.11 | FCU-04-08C, Inverter, Ceiling Suspended Type, Refrigerant 410 A, Cooling Capacity 7.1 KW, Aiirflow Rate 267 LPS, Motor Size in KW, 0.25 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.12 | ACCU-04-08C , Cooling Capacity 7.1 KW,, Total Power in KW, 2.11 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.13 | FCU-04-09C, Inverter, Ceiling Suspended Type, Refrigerant 410 A, Cooling Capacity 7.1 KW, Aiirflow Rate 267 LPS, Motor Size in KW, 0.25 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.14 | ACCU-04-09C , Cooling Capacity 7.1 KW,, Total Power in KW, 2.11 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.15 | FCU-04-10C, Inverter, Wall Mounted Type, Refrigerant 410 A, Cooling Capacity 2.5 KW, Aiirflow Rate 133 LPS, Motor Size in KW, 0.095 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.16 | ACCU-04-10C , Cooling Capacity 2.5 KW,, Total Power in KW, 0.67 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.17 | FCU-04-02CA & 02CB, Inverter, Ceiling Cassette Type, Refrigerant 410 A, Cooling Capacity 10 KW, Aiirflow Rate 433 LPS, Motor Size in KW, 0.25 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.18 | ACCU-04-02CA & 02CB , Cooling Capacity 10 KW, Total Power in KW, 2.76 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.19 | FCU-04-03CA & 03CB, Inverter, Ceiling Cassette Type, Refrigerant 410 A, Cooling Capacity 10 KW, Aiirflow Rate 433 LPS, Motor Size in KW, 0.250 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
1200(13)d.20 | ACCU-04-03CA & 03CB , Cooling Capacity 10 KW,, Total Power in KW, 2.76 , 230 Volts, 1 Phase 60 Hz. | Set | 1 |  | 1
VENTILATION DUCTWORKS
FIRE RATED DUCT
1200(14)a.1 | G.I SHEET, #20 | sq.m. | 20 |  | 20
1200(14)a.2 | G.I SHEET, #22 | sq.m. | 0
1200(14)a.3 | G.I SHEET, #24 | sq.m. | 0
1200(14)a.4 | G.I SHEET, #26 | sq.m. | 0
AIR DUCT
1200(14)b.1 | G.I SHEET, #20 | sq.m. | 400 |  | 400
1200(14)b.2 | G.I SHEET, #22 | sq.m. | 80 |  | 80
1200(14)b.3 | G.I SHEET, #24 | sq.m. | 20 |  | 20
1200(14)b.4 | G.I SHEET, #26 | sq.m.
1200(14)c.1 | 25mm Internal Duct Insulation | sq.m. | 22 |  | 22
1200(14)d.1 | MOTORIZE SMOKE AND FIRE DAMPER, 3700 X 3000 | pcs | 0 |  | 0
1200(14)d.2 | MOTORIZE SMOKE AND FIRE DAMPER, 12500 X 2650 | pcs | 0 |  | 0
1200(14)d.3 | MOTORIZE SMOKE AND FIRE DAMPER, 1050 x 1000 | pcs | 4 |  | 4
1200(14)d.4 | MOTORIZE SMOKE AND FIRE DAMPER, 5900 x 1500 | pcs | 1 |  | 1
1200(14)d.5 | MOTORIZE SMOKE AND FIRE DAMPER, 950 x 950 | pcs | 4 |  | 4
1200(14)d.6 | MOTORIZE SMOKE AND FIRE DAMPER, 550 x 550 | pcs | 1 |  | 1
1200(14)d.7 | MOTORIZE SMOKE AND FIRE DAMPER, 400 x 400 | pcs | 1 |  | 1
1200(14)d.8 | MOTORIZE SMOKE AND FIRE DAMPER, 200 x 200 | pcs | 2 |  | 2
1200(14)e.1 | VOLUME CONTROL DAMPER, 900 X 900 | pcs | 1 |  | 1
1200(14)e.2 | VOLUME CONTROL DAMPER, 1050 X 1050 | pcs | 1 |  | 1
1200(14)e.3 | VOLUME CONTROL DAMPER, 1000 X 250 | pcs | 0 |  | 0
1200(14)e.4 | VOLUME CONTROLDAMPER, 1000 X 500 | pcs | 0 |  | 0
1200(14)e.5 | VOLUME CONTROL DAMPER, 1000 X 650 | pcs | 0 |  | 0
1200(14)e.6 | VOLUME CONTROL DAMPER, 1000 X 800 | pcs | 0 |  | 0
1200(14)e.7 | VOLUME CONTROL DAMPER, 1000 X 900 | pcs | 0 |  | 0
1200(14)e.8 | VOLUME CONTROL DAMPER, 1250 X 900 | pcs | 0 |  | 0
1200(14)e.9 | VOLUME CONTROL DAMPER, 2050 X 500 | pcs | 0 |  | 0
1200(14)e.10 | VOLUME CONTROL DAMPER, 250 X 250 | pcs | 4 |  | 4
1200(14)e.11 | VOLUME CONTROL DAMPER, 400 X 400 | pcs | 0 |  | 0
1200(14)e.12 | VOLUME CONTROL DAMPER, 300 X 300 | pcs | 2 |  | 2
1200(14)e.13 | VOLUME CONTROL DAMPER, 200 X 200 | pcs | 6 |  | 6
1200(14)e.14 | VOLUME CONTROL DAMPER, 150 X 150 | pcs | 2 |  | 2
1200(14)e.15 | VOLUME CONTROL DAMPER, 1350 X 700 | pcs | 0 |  | 0
1200(14)f.1 | SUPPLY AIR GRILLE, 350 X 350 | pcs | 0 |  | 0
1200(14)f.2 | SUPPLY AIR GRILLE, 250 X 250 | pcs | 0 |  | 0
1200(14)f.3 | SUPPLY AIR GRILLE, 300 X 300 | pcs | 0 |  | 0
1200(14)f.4 | SUPPLY AIR GRILLE, 1050 x 1050 | pcs | 1 |  | 1
1200(14)g.1 | EXHAUST AIR GRILLE, 1000 X 250 | pcs | 0 |  | 0
1200(14)g.2 | EXHAUST AIR GRILLE, 900 X 900 | pcs | 1 |  | 1
1200(14)g.3 | EXHAUST AIR GRILLE, 150 X 150 | pcs | 1 |  | 1
1200(14)g.4 | EXHAUST AIR GRILLE, 250 X 250 | pcs | 1 |  | 1
1200(14)g.5 | EXHAUST AIR GRILLE, 200 X 200 | pcs | 1 |  | 1
1200(14)g.6 | EXHAUST AIR GRILLE, 300 X 300 | pcs | 1 |  | 1
1200(14)h.1 | SMOKE EXHAUST AIR GRILLE, 1350 X 700 | pcs | 0 |  | 0
1200(14)i.1 | EXHAUST AIR LOUVER(STORM TYPE), 150 X 150 | pcs | 1 |  | 1
1200(14)i.2 | EXHAUST AIR LOUVER(STORM TYPE), 550 X 300 | pcs | 1 |  | 1
1200(14)i.3 | EXHAUST AIR LOUVER(STORM TYPE), 400 X 300 | pcs | 1 |  | 1
1200(14)i.4 | EXHAUST AIR LOUVER(STORM TYPE), 550 X 500 | pcs | 1 |  | 1
1200(14)i.5 | EXHAUST AIR LOUVER(STORM TYPE), 250 X 200 | pcs | 1 |  | 1
1200(14)i.6 | EXHAUST AIR LOUVER(STORM TYPE), 750 X 300 | pcs | 1 |  | 1
1200(14)j.1 | EXHAUST AIR LOUVER, 200 X 200 | pcs | 1 |  | 1
1200(14)j.2 | EXHAUST AIR LOUVER, 300 X 200 | pcs | 1 |  | 1
1200(14)j.3 | EXHAUST AIR LOUVER, 3000 X 1850 | pcs | 0 |  | 0
1200(14)j.4 | EXHAUST AIR LOUVER, 1500 X 500 | pcs | 0 |  | 0
1200(14)j.5 | EXHAUST AIR LOUVER, 700 X 200 | pcs | 0 |  | 0
1200(14)j.6 | EXHAUST AIR LOUVER, 500 X 200 | pcs | 0 |  | 0
1200(14)k.1 | TOILET EXHAUST AIR GRILLE, 200 X 200 | pcs | 1 |  | 1
1200(14)k.2 | TOILET EXHAUST AIR GRILLE, 150 X 150 | pcs | 1 |  | 1
1200(14)l.1 | TRANSFER AIR GRILLE, 150 X 150 | pcs | 1 |  | 1
1200(14)l.2 | TRANSFER AIR GRILLE, 200 X 200 | pcs | 2 |  | 2
1200(14)l.3 | TRANSFER AIR GRILLE, 550 X 550 | pcs | 1 |  | 1
1200(14)l.4 | TRANSFER AIR GRILLE, 400 X 400 | pcs | 1 |  | 1
1200(14)l.5 | TRANSFER AIR GRILLE, 300 X 300 | pcs | 1 |  | 1
1200(14)m.1 | FILTER PANEL, 500 X 500 | pcs | 0 |  | 0
1200(14)m.2 | FILTER PANEL, 500 X 400 | pcs | 0 |  | 0
1200(14)m.3 | FILTER PANEL, 250 X 250 | pcs | 0 |  | 0
1200(14)n | DISCHARGE NOZZLE 1300 X 1300 | pcs | 0 |  | 0
1200(14)o | BELLMOUTH 1100 X 700 | pcs | 0 |  | 0
REFRIGERANT PIPING
Supply and Delivery
1101(36)a | Copper Tube, Hard drawn, 1/2" | LM | 125 |  | 125
1101(36)b | Copper Tube, Hard drawn, 3/8" | LM | 760 |  | 760
1101(36)c | Copper Tube, Hard drawn, 5/8" | LM | 640 |  | 640
1101(36)a.1 | Copper Tube 90 deg Elbow, Hard drawn, 1/2" | LM | 30 |  | 30
1101(36)b.1 | Copper Tube 90 deg Elbow,Hard drawn, 3/8" | LM | 110 |  | 110
1101(36)c.1 | Copper Tube 90 deg Elbow,, Hard drawn, 5/8" | LM | 75 |  | 75
Insulation
1101(37)a | RUBBER PIPE INSULATION X 1" THK, 1/2" | no | 125 |  | 125
1101(37)b | RUBBER PIPE INSULATION X 1" THK, 3/8" | no | 760 |  | 760
1101(37)c | RUBBER PIPE INSULATION X 1" THK, 5/8" | no | 640 |  | 640
CONDENSATE DRAINS
FCU'S
1101(38)a.1 | Condensate Drain Pipe PVC,25mmØ | LM | 100 |  | 100
1101(38)a.2 | Condensate Drain-Elbow45,25mmØ | no. | 40 |  | 40
1101(38)a.3 | Condensate Drain-Wye,25mmØ | no. | 20 |  | 20
1101(38)a.4 | Condensate Drain-End Cup,25mmØ | no. | 30 |  | 30
1101(38)a.5 | Condensate Drain Pipe Rubber Insulation,25mmØ | LM | 100 |  | 100
ELECTRICALS :
POWER & CONTROL WIRING
1100(4)b | EMT Pipe, 20mm Ø | m | 66 |  | 66
1100(4)c | EMT Pipe, 25mm Ø | m | 3 |  | 3
1101(2)b2 | THHN Wire, 3.5mm² | m | 351 |  | 351
1101(2)b3 | THHN Wire, 5.5mm² | m | 6 |  | 6
1101(2)b4 | THHN Wire, 8.0mm² | m | 0 |  | 0
1101(2)b5 | THHN Wire, 14mm² | m | 12 |  | 12
1102(26) | Testing and Commissioning | lot | 1 |  | 1
1102(27) | Consumables | lot | 1 |  | 1
1102(28) | Chemical Treatment | lot | 1 |  | 1
OTHERS
| TOTAL FOR PART VIII |  |  |  |  | Php

## PART IX (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART IX - FIRE PROTECTION WORKS
PUMPS
1202(2)a | Fire Pump | Assy. | 2 |  | 2
Horizontal Split-Case Centrifugal Fire Pump, Electric motor driven (UL Listed/FM Approved) Capacity: 500 GPM, 347ft TDH, 75 BHP, 3550 RPM, 400V, 3 PH, 60Hz
1202(3)a | Jockey Pump | Assy. | 1 |  | 1
Vertical In-line Jockey Pump, electric driven motor. Capacity: 30 GPM, 370 ft TDH, 5HP, 3550 RPM, 400V, 3 PH, 60Hz
1202(2)b | Fire Pump Control Panel (NEMA 3R) | pc | 2 |  | 2
1202(3)b | Jockey Pump Control Panel (NEMA 3R) | pc | 1 |  | 1
1202(9)c | Sensing Line for Fire and Jockey Pumps | pc | 3 |  | 3
1202(9)a.1 | Galvanized Iron Pipe | lm | 15 |  | 15
1202(9)a.2 | Tee red G.I. 1/2" x 1/4" diameter | pc | 6 |  | 6
1202(9)a.3 | Check Valve, 150mmØ diameter | pc | 3 |  | 3
1202(9)a.4 | Check Valve, 65mmØ diameter | pc | 2 |  | 2
1202(9)a.5 | Pressure Gauge c/w pitcock | pc | 6 |  | 6
1202(9)a.6 | Globe Valve, 150mmØ diameter | pc | 4 |  | 4
1202(9)a.7 | Gate Valve, 65mmØ diameter | pc | 6 |  | 6
1202(9)a.8 | Threadolet, 1/2" diameter | pc | 6 |  | 6
BLACK IRON PIPES
1602(6)a | B.I. Pipe, Sched. 40, 25mm | m | 300 |  | 300
1602(6)b | B.I. Pipe, Sched. 40, 32mm | m | 300 |  | 300
1602(6)c | B.I. Pipe, Sched. 40, 40mm | m | 300 |  | 300
1602(6)d | B.I. Pipe, Sched. 40, 50mm | m | 300 |  | 300
1602(6)e | B.I. Pipe, Sched. 40, 65mm | m | 200 |  | 200
1602(6)f | B.I. Pipe, Sched. 40, 80mm | m | 200 |  | 200
1602(6)g | B.I. Pipe, Sched. 40, 100mm | m | 400 |  | 400
1602(6)h | B.I. Pipe, Sched. 40, 150mm | m | 200 |  | 200
1602(6)i | Tee Reducer, Coupling & Elbow required to complete the system | lot | 1 |  | 1
SPRINKLER HEADS
1202(1)a.1 | Upright Sprinkler Heads | pcs | 1200 |  | 1200
1202(1)a.2 | Side Wall Sprinkler | pcs | 0 |  | 0
1202(1)b | Pendent Sprinkler Heads | pcs | 100 |  | 100
FIREHOSE CABINET (UL/FM Approved Accessories)
1202(5)b | FHC Ø40 complete with accessories and portable fire extinguisher | Assy | 20 |  | 20
PORTABLE FIRE EXTINGUISHER
1202(6)a1 | 10 lbs Fire Extinguisher (FE-36) | pcs | 60 |  | 60
1202(6)a3 | 10 lbs CO2 FE | pcs | 15 |  | 15
1202(6)a5 | 50 lbs CO2 Wheeled Type FE | pcs | 7 |  | 7
1202(9)a | 33 gals Foam Wheeled Type FE | pcs | 2 |  | 2
VALVES AND ACCESSORIES
Pump Room Valve and Accessories
1201(12)a.1 | Gate Valve OSY 150mmØ | pc/s | 8 |  | 8
1201(12)a.2 | Gate Valve 150mmØ | pc/s | 6 |  | 6
1201(12)a.3 | Gate Valve 100mmØ | pc/s | 4 |  | 4
1201(12)a.4 | Gate Valve 65mmØ | pc/s | 2 |  | 2
1201(12)b.1 | Check Valve 150mmØ | pc/s | 3 |  | 3
1201(12)b.3 | Check Valve 65mmØ | pc/s | 2 |  | 2
1201(12)c | Pressure Relief Valve 150mmØ | pc/s | 2 |  | 2
1201(12)d | Alarm Check Valve 150mmØ | pc/s | 2 |  | 2
1201(12)e | Main Control Valve 150mmØ | pc/s | 2 |  | 2
1201(12)f | Flowmeter 150mmØ | pc/s | 1 |  | 1
1201(12)g | Pressure Gauge | pc/s | 6 |  | 6
1201(12)h | Victaulic Coupling 150mmØ | pc/s | 4 |  | 4
1201(12)i | Flexible Coupling 65mmØ | pc/s | 2 |  | 2
1201(12)j | Anti Vortex Plate assembly | set/s | 2 |  | 2
1201(12)k | Water Level Indicator | pc/s | 2
General Duty Valves and Accessories
1202(4)a | Fire Hose Valve 100mmØ x 65mmØ | pc/s | 8 |  | 8
1202(4)b | Monitored Valve 150mmØ | pc/s | 8 |  | 8
1202(4)c | Floor Control Valve Assembly 150mmØ | set/s | 6 |  | 6
1202(7)a | Fire Dept. Connection 4 Way w/ cap & chain 150mmØ x 65mmØ | set/s | 1 |  | 1
1202(9)a | Inspector Test Connection 2 Way 100mmØ x 65mmØ | set/s | 1 |  | 1
1202(9)b | Inspector Test Connection Assembly 25mmØ | set/s | 4 |  | 4
1202(10) | Pump Test Connection 2 way 150mmØ x 65mmØ | set/s | 1 |  | 1
1202(11) | Alarm Test Module | set/s | 6 |  | 6
1202(12)a.1 | Automatic Air vent 100mmØ | pc/s | 4 |  | 4
1202(12)a.2 | Automatic Air vent 150mmØ | pc/s | 2 |  | 2
1201(12)b.1 | Check Valve 150mmØ | pc/s | 1 |  | 1
1201(12)b.2 | Check Valve 100mmØ | pc/s | 1 |  | 1
1202(13) | Flow Switch | pc/s | 6 |  | 6
FIRE SUPPRESSION SYSTEM
1202(14)a | PRE-ACTION SUPPRESSION SYSTEM (Genset Room) | lot | 1 |  | 1
1202(14)b | CLEAN-AGENT GAS SUPPRESSION SYSTEM (TPSSR, SUBSTATION, CER, SCCR & BATTERY ROOMS) | set/s | 6 |  | 6
1202(15) | TESTING & COMMISSIONING | lot | 1 |  | 1
1202(16) | CONSUMABLES | lot | 1 |  | 1
OTHERS
| TOTAL FOR PART IX |  |  |  |  | Php

## PART X (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART X - PLUMBING AND SANITARY WORKS
EQUIPMENTS
1201(4)a | DUPLEX SUMP PUMP 1 and 2 | set | 1 |  | 1
Submersible Non-Clog Pump, electric driven motor
1201(5)a | SEWAGE PUMP 1 and 2 | Assy. | 0 |  | 0
Submersible Non-Clog Pump W/ cutting system, electric driven motor
1201(6)a | TRIPLEX CPS BOOSTER PUMP | set | 1 |  | 1
Vertical Multi-Stage Centrifigal Pump, Complete with control panel and bladder tank. Electric driven motor c/w variable frequency drive. Capacity: 50 GPM, 162 ft TDH, 5 HP, 3500 RPM, 400V, 3 PHASE, 60Hz
STORM DRAINAGE SYSTEM
HDPE DRAIN PIPES
1001(1)c4 | 150 mmØ | meters | 70 |  | 70
1001(1)c5 | 200 mmØ | meters | 49 |  | 49
1001(1)c6 | 250 mmØ | meters | 104 |  | 104
1001(1)c7 | 300 mmØ | meters | 137 |  | 137
1001(1)c9 | 400 mmØ | meters | 135 |  | 135
1001(1)c10 | 450 mmØ | meters | 0 |  | 0
1001(1)c11 | 560 mmØ | meters | 0 |  | 0
PVC PIPES AND FITTINGS
1001(1)a6 | 75 mmØ | meters | 14 |  | 14
1001(1)a7 | 100 mmØ | meters | 56 |  | 56
1001(1)a8 | 150 mmØ | meters | 1007 |  | 1007
1001(1)a9 | 200 mmØ | meters | 0 |  | 0
1001(1)a10 | 250 mmØ | meters | 0 |  | 0
Wye / Wye Reducer
1001(1)a8.1 | 150 x 100 mm Ø | pcs | 0 |  | 0
1001(1)a9.1 | 200 x 150 mm Ø | pcs | 0 |  | 0
1001(1)a10.1 | 250 x 200 mm Ø | pcs | 0 |  | 0
Elbow
1001(1)a8.2 | 150 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1001(1)a8.3 | 150 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1001(1)a9.2 | 200 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1001(1)a9.3 | 200 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1001(1)a10.2 | 250 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1001(1)a10.3 | 250 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
Cleanout
1001(1)a9.4 | 200 mm Ø Cleanout | pcs | 0 |  | 0
1001(1)a8.4 | 150 mm Ø Cleanout | pcs | 0 |  | 0
DRAINS AND CLEANOUTS
ROOF DRAINS
1017(1)b | 75 mmØ | set | 20 |  | 20
1017(1)d | 150 mmØ | set | 34 |  | 34
FLOOR DRAINS
1002(16)b2 | 75 mmØ | set | 25 |  | 25
TRENCH DRAIN
1017(4)a | 100 mmØ | pcs | 0 |  | 0
TRENCH GRATING
1001(5)c | Catch Basin | set | 30 |  | 30
1017(5)a | 200 mm X 1000 mm | pcs | 0 |  | 0
HDPE PIPES AND FITTINGS (SUMP PIT DISCH PIPE)
1001(1)c3 | 100 mmØ | meters | 0 |  | 0
1001(1)c4 | 150 mmØ | meters | 30
CONDENSATE DRAIN SYSTEM
PVC PIPES AND FITTINGS
1002(3)a | 20 mmØ | meters | 0 |  | 0
1002(3)e | 50 mmØ | meters | 84 |  | 84
SEWER AND WASTE SYSTEM
u-PVC PIPES AND FITTINGS
1001(1)a1 | 50 mmØ | meters | 49 |  | 49
1001(1)a2 | 75 mmØ | meters | 20 |  | 20
1001(1)a3 | 100 mmØ | meters | 143 |  | 143
1001(1)a4 | 150mmØ | meters | 90 |  | 90
Wye / Wye Reducer
1001(1)a1.1 | 50 x 50 mm Ø | pcs | 0 |  | 0
1001(1)a2.1 | 75 x 50 mm Ø | pcs | 0 |  | 0
1001(1)a3.1 | 100 x 100 mm Ø | pcs | 0 |  | 0
1001(1)a4.1 | 150 x 150 mm Ø | pcs | 0 |  | 0
Elbow
1001(1)a1.2 | 50 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1001(1)a1.3 | 50 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1001(1)a2.2 | 75 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1001(1)a2.3 | 75 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1001(1)a3.2 | 100 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1001(1)a3.3 | 100 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1001(1)a4.2 | 150 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1001(1)a4.3 | 150 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
Cleanout
1001(1)a1.4 | 50 mm Ø Cleanout | pcs | 0 |  | 0
1001(1)a2.4 | 75 mm Ø Cleanout | pcs | 0 |  | 0
1001(1)a3.4 | 100 mm Ø Cleanout | pcs | 6 |  | 6
1001(1)a4.4 | 150 mm Ø Cleanout | pcs | 2 |  | 2
DRAINS AND CLEANOUTS
FLOOR CLEANOUTS
1002(16)b2 | 75 mmØ | pcs | 4 |  | 4
1002(16)b3 | 100 mmØ | pcs | 4 |  | 4
1002(16)b4 | 150mmØ | pcs | 7 |  | 7
FLOOR DRAIN
1002(16)b1 | 50 mmØ | pcs | 16 |  | 16
PLUMBING FIXTURES
1002(7)c | Water Closet | Assy. | 9 |  | 9
Floor Mounted, Bottom Outlet, Two-Piece Type
Bowl Material - Vitreous China
Style - Reservior Tank with Dual Flash Feature
Height - Standard
Rim Contour - 1.28 gal. (4.8 L) per flush
Color - Bone White
Bowl-to-Drain Connection Fitting -Standard Plastic Fitting
Toilet Seat - Commercial Standard Plastic
Shape - Elongated Rim, Closed front
Hinge - Self raising, non-corroding metal, set cover is required, color white
1002(9)a | URINAL
| Wall Hung Urinal | Assy. | 3 |  | 3
Back Outlet, Blowout
Material - Vitreous China
Spud Size and Location - DN 32mm, top
Outlet Size and Location - DN 50mm, back
Color - Bone white
Waste Fitting - size DN 50mm
1002(9)b | Urinal Flush-Valves | Assy. | 2 |  | 2
Lever Handle, Diaphragm Flush-Valves
Minimum Pressure Rating - 860 kPa
Features - Include integral check
Material - Brass body with corrosion-resistant components
Exposed Flushometer, Valve Finished - Chrome plated
Panel Finished - Chrome plated or stainless steel, Style - Concealed
Consumption - 0.5 gal. per flush
Minimum Inlet - DN 25, Minimum Outlet - DN 32
1002(11)a | SINK
| Service Basins | Assy. | 13 |  | 13
Stainless Steel, Floor Mounted
Shape - Square
Nominal Size - 610x610mm
Height - 600mm
Rim Guard - On all top surfaces
Drain - Grid with DN 80mm outlet
1002(11)b | Utility Sinks | Assy. | 0 |  | 0
Stainless Steel, Counter-Mounted
Type - With drain pan
No. of Compartments - two
Overall dimensions - 1200x500mm
Metal Thickness - 1.3mm
Faucet: Number Required - One, Mounting - On ledge
Waste fittings: Trap Size - DN 50, Material - Chrome plated
Compartment:
Dimension - 450x450mm
Drain - DN 40mm tail piece with stopper
Drain Location - Centered in compartment
1002(14)a | Vitreous-China, Wall-Mounted Lavatories with Back | Assy. | 0 |  | 0
Nominal Size: Oval, 483 by 406mm
Faucet-Hole Punching - One hole
Faucet-Hole Location - Top
Mounting Material - Chair Carrier
Color - White, Faucet - Solid Brass, Manually operated faucets
Lavatory Faucets:
Manual type, single-control non-mixing, commercial, general duty
solid brass wave (Standard: ASME A112.18.1)
Include hot-and-cold water indicators
Finished - Polished chrome plate
Max. Flow Rate -0.5 L/min, Min.
Valve Handle - Single Lever, 102mm
1002(15)a | LAVATORY
| Vitreous-China, Counter-Mounted Lavatories | Assy. | 0 |  | 0
Oval, Under-counter mounted
Nominal Size - Oval 559x356mm
Fauce-Hole Punching - No holes
Faucet-Hole Location - On Countertop
Mounting Material - Sealant and under-counter mounting kit
Color - White, Faucet - Solid brass, manually operated faucets
1002(19)a | SHOWER
| Individual Showers | Assy. | 0 |  | 0
Standard: ANSIZ124.1.2
Style: Standard
Faucet - Shower faucets
Outlet - Drain with DN 50mm outlet
1002(19)b | Shower Faucets | Assy. | 0 |  | 0
Body Material: Solid brass
Finish - Polished Chrome plate
Maximum Flow Rate - 9.5 L/m unless otherwise indicated
Mounting - Exposed
Operation - Single handle, push-pull control
Anti-scald Devise - Not required
Check Stops - Check Valve type
Supply Connection - DN 15mm
Shower Head:
Type - Integral with mounting flange
Shower Head Material - Metallic with chrome plated finish
Spray Pattern - Fixed
Body Material - Solid brass
Operation - Single-handle, push-pull control
1002(29) | TOILET PAPER HOLDER
| Toilet Paper Holder | Assy. | 5 |  | 5
1002(30) | HAND DRYER
| Hand Dryer | Assy. | 2 |  | 2
TOILET AND BATHROOM ACCESSORIES
1004(2)g.3 | PWD Grab Bar, L-shaped | no | 2 |  | 2
1004(2)g.4 | PWD Vertical Grab Rail, 600mm | no. | 2 |  | 2
1002(15)c | Lavatory Countertop | Im | 18 |  | 18
1002(16)b.1 | Floor Drain | no | 0 |  | 0
1002(20)a.1 | Facial Mirror (450X2500X6T) | no | 10 |  | 10
1002(31) | Liquid Soap Dispenser | no. | 2 |  | 2
1002(32) | Ledge Top | m | 0 |  | 0
1002(33) | Recessed Trash Bin | no | 3 |  | 3
1002(34) | 12 MM THK Intermediate Panel Compact Laminate (toilet door) | no | 0 |  | 0
DEMOUNTABLE PARTITIONS
1003(25)a | Toilet Partition | no | 0 |  | 0
1003(25)b | Urinal partition | no | 0 |  | 0
VENT SYSTEM
PVC PIPES AND FITTINGS
uPVC Pipes
1001(1)a1 | 50 mmØ | meters | 246 |  | 246
1001(1)a2 | 75 mmØ | meters | 60 |  | 60
1001(1)a3 | 100 mmØ | meters | 14 |  | 14
Coupling Reducer
1001(1)a1.1 | 50 x 50 mm Ø | pcs | 0 |  | 0
1001(1)a2.1 | 75 x 50 mm Ø | pcs | 0 |  | 0
Elbow
1001(1)a1.2 | 50 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1001(1)a1.3 | 50 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1001(1)a2.2 | 75 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
POTABLE WATER LINE SYSTEM
STAINLESS STEEL PIPES AND FITTINGS
1002(28)a | 75 mmØ | meters | 0 |  | 0
1002(28)b | 100 mmØ | meters | 8 |  | 8
1002(28)c | 150 mmØ | meters | 0 |  | 0
Coupling Reducer
1002(28)a.1 | 75 x 50 mm Ø | pcs | 0 |  | 0
1002(28)b.1 | 100 x 100 mm Ø | pcs | 0 |  | 0
1002(28)c.1 | 150 x 150 mm Ø | pcs | 0 |  | 0
Elbow
1002(28)a.2 | 75 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1002(28)a.3 | 75 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1002(28)b.2 | 100 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1002(28)b.3 | 100 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1002(28)c.2 | 150 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1002(28)c.3 | 150 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
PPR PIPES AND FITTINGS
1002(2)a3 | 20 mmØ | meters | 408 |  | 408
1002(2)b3 | 25 mmØ | meters | 129 |  | 129
1002(2)c3 | 32 mmØ | meters | 43 |  | 43
1002(2)d3 | 40 mmØ | meters | 57 |  | 57
1002(2)e3 | 50 mmØ | meters | 50 |  | 50
1002(2)f3 | 65 mmØ | meters | 145 |  | 145
1002(2)h3 | 100 mmØ | meters | 0 |  | 0
1002(2)i3 | 15 mmØ | meters | 19 |  | 19
Coupling Reducer
1002(2)e3.2 | 50 x 50 mm Ø | pcs | 0 |  | 0
1002(2)g3.1 | 75 x 50 mm Ø | pcs | 0 |  | 0
1002(2)h3.1 | 100 x 100 mm Ø | pcs | 0 |  | 0
Elbow
1002(2)e3.3 | 50 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1002(2)e3.4 | 50 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1002(2)g3.2 | 75 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1002(2)g3.3 | 75 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
1002(2)h3.2 | 100 mm Ø Elbow(45 deg) | pcs | 0 |  | 0
1002(2)h3.3 | 100 mm Ø Elbow(90 deg) | pcs | 0 |  | 0
HDPE PIPES AND FITTINGS (WATER SUPPLY TO TANK)
1001(1)c1.1 | 50 mmØ | meters | 32 |  | 32
1001(1)c1.2 | 65 mmØ | meters | 106 |  | 106
VALVES AND ACCESSORIES
GATE VALVE
1603(2)a | 15 mmØ | pcs | 1 |  | 1
1603(2)b | 20 mmØ | pcs | 15 |  | 15
1603(2)c | 25 mmØ | pcs | 4 |  | 4
1603(2)d | 32 mmØ | pcs | 4 |  | 4
1603(2)e | 40 mmØ | pcs | 1 |  | 1
1603(2)f | 50 mmØ | pcs | 2 |  | 2
1603(2)g | 65 mmØ | pcs | 4 |  | 4
1603(2)h | 75 mmØ | pcs | 0 |  | 0
1603(2)i | 100 mmØ | pcs | 6 |  | 6
1603(2)j | 150mØ | pcs | 0 |  | 0
1603(3) | WATER HAMMER ARRESTOR | pcs | 0 |  | 0
WYE STRAINER
1603(2)g.1 | 65 mmØ | pcs | 1 |  | 1
1603(2)h.1 | 100 mmØ | pcs | 2 |  | 2
PRESSURE REDUCING VALVE
1603(2)i.1 | 25 mmØ | pcs | 1 |  | 1
CHECK VALVE
1603(2)f.2 | 50 mmØ | pcs | 3 |  | 3
1603(2)g.2 | 65 mmØ | pcs | 0 |  | 0
FLOAT VALVE
1603(2)f.3 | 50 mmØ | pcs | 2 |  | 2
1603(2)g.3 | 65 mmØ | pcs | 2 |  | 2
HOSE BIBB
1002(22)a | 15 mmØ | pcs | 13 |  | 13
WATER METER
1002(23)d | 65 mmØ | pcs | 1 |  | 1
IRRIGATION WATER LINE SYSTEM
PPR PIPES AND FITTINGS
1002(2)a3 | 20 mmØ | meters | 0 |  | 0
1002(2)b3 | 25 mmØ | meters | 0 |  | 0
1002(2)c3 | 32 mmØ | meters | 0 |  | 0
1002(2)d3 | 40 mmØ | meters | 0 |  | 0
1002(2)e3 | 50 mmØ | meters | 0 |  | 0
SEWAGE TREATMENT PLANT
1001(17) | Sewage Treatment Plant | lot | 1 |  | 1
1001(18) | TESTING & COMMISSIONING | lot | 1 |  | 1
1001(19) | CONSUMABLES | lot | 1 |  | 1
OTHERS
| TOTAL FOR PART X |  |  |  |  | Php

## PART XI (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART XI - VERTICAL TRANSPORTATION SYSTEM
EQUIPMENTS
ELEVATORS
1203(1)c.1 | Elevator (PE-04-01) | Assy. | 4
Single, Wide Type
No. of Persons: 14
No. of Stops: 2/3
Contract Capacity: 1,050
Contract Speed: 1.00 m/s
Shaft Size: Width - 2,700 mm, Depth - 2,300 mm
Car Size Dimension:
Internal Width - 1,600 mm
Internal Depth - 1,500 mm
Internal Car Height - 2,430 mm
Structural Car Height - 2,600 mm
Smooth Landing, Overload Holding Stop, Car Light/Fan Shut-Off-Automatic
Car Call Erase, Attendant Service, Car Arrival Chime With Digital Floor Indicator
Interphone/Intercome with Back-up Battery
Auto Operation by AB Emergnecy Power Source
ESCALATORS
1203(3)a.1 | Escalator no. 1 & 2 | Assy. | 2 |  | 2
Single, Outdoor, Heavy
Step Width: 1,004 mm
Escalator Width: 1,550 mm
Rated Speed: 0.5 m/s
Angle of Inclination: 30
No. of Flat Steps: 3
Vertical Rise: 12,652 mm
Beam to Beam Distance: 29,604 mm
Truss Length: 29,464 mm
Top Trusswork: Length - 2,970 mm, Depth - 1,050 mm
Bottom Trusswork: Length - 2,700 mm, Depth - 1,050 mm
1203(3)a.2 | Escalator no. 3 & 4 | Assy. | 2 |  | 2
Single, Outdoor, Heavy
Step Width: 1,004 mm
Escalator Width: 1,550 mm
Rated Speed: 0.5 m/s
Angle of Inclination: 30
No. of Flat Steps: 3
Vertical Rise: 7,370 mm
Beam to Beam Distance: 18,706 mm
Truss Length: 18,566 mm
Top Trusswork: Length - 2,970 mm, Depth - 1,050 mm
Bottom Trusswork: Length - 2,700 mm, Depth - 1,050 mm
OTHERS
| TOTAL FOR PART XI |  |  |  |  | Php

## PART XII (hidden)
PROJECT : | MRT - 7 PROJECT
LOCATION : | QUEZON CITY TO SAN JOSE DEL MONTE, BULACAN
CLIENT : | SAN MIGUEL CORP.
SUMMARY OF BID PRICES
STATION NO. 4 - TANDANG SORA STATION
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | LESS CONSTRUCTED | NET QUANTITY | UNIT COST (Pesos) | AMOUNT (Pesos)
PART XII - DAYWORKS
MATERIALS
M101 | Portland Cement | bag
M102 | Fine Aggregates | cu.m.
M103 | Course Aggregates | cu.m.
M104 | Water for Concrete | cu.m.
M105 | Ready Mix Concrete, 3000 psi | cu.m.
M106 | Ready Mix Concrete, 3500 psi | cu.m.
M107 | Ready Mix Concrete, 4000 psi | cu.m.
M108 | Ready Mix Concrete, 4500 psi | cu.m.
M109 | Ready Mix Concrete, 5000 psi | cu.m.
M110 | Ready Mix Concrete, 6000 psi | cu.m.
M111 | Concrete Admixture | liter
M112 | Reinforcing Steel, Grade 40 | kg
M113 | Reinforcing Steel, Grade 60 | kg
M114 | Structural Steel | kg
M115 | Form Lumber | bd.ft.
M116 | Steel Formworks | sq.m.
M117 | Tie Wire | kg
M118 | Marine Plywood - 1/2" x 4' x 8' | pc
M119 | Marine Plywood - 3/4" x 4' x 8' | pc
M120 | Acoustic Ceilling Board, 16mm thick | pc
M121 | Fiber Cement Board, 6mm | pc
M122 | Gypsum Board, 12mm | pc
M123 | Prepainted Roofing Sheets | l.m.
M124 | Paint, Enamel | gal
M125 | Paint, Latex | gal
M126 | Chain Link Fence | sq.m.
M127 | Lubricating Oil | liter
M128 | Diesel Fuel | liter
M129 | Premium Gasoline | liter
M130 | CW Nails | kg
M131 | Aggregate Subbase Course | cu.m.
M132 | Common Borrow Materials | cu.m.
M133 | Concrete Hollow Blocks, 150mm | pc
M134 | Concrete Hollow Blocks, 200mm | pc
Other Materials
EQUIPMENT
E101 | Concrete Batch Plant | hr
E102 | Wheel Loader, 1.50 cu.m. | hr
E103 | Dump Truck, 10 cu.m. | hr
E104 | Backhoe, 0.80 cu.m. | hr
E105 | Backhoe with Hydraulic Breaker, 0.80 cu.m. | hr
E106 | Trailer Truck, 20 MT | hr
E107 | Boom Truck, 2-5 MT | hr
E108 | Cargo/Service Truck, 9-10 MT | hr
E109 | Service Crane/Crawler Crane, All Models, 21-25MT, 145 Hp | hr
E110 | Truck Mounted Crane, 41-45 Tons, 246 HP | hr
E111 | Truck Mounted Crane with Bucket, All Models, 41-45 MT, 246 HP | hr
E112 | Truck Mounted Scissor Lift, Terrain, 40 ft hts x 46 ft range | hr
E113 | Crawler Crane, 51-60 Tons | hr
E114 | Vibratory Plate Compactor, 5 HP | hr
E115 | Walk Behind Roller, 2 Smooth Drums, 6.5 HP | hr
E116 | Transit Mixer, 8 cm | hr
E117 | Bagger Mixer, 1-2 bagger | hr
E118 | Concrete Vibrator | hr
E119 | Concrete Pumpcrete, 130 HP | hr
E120 | Water Pump, 7.5 HP | hr
E121 | Water Truck/Pump, 16000L capacity | hr
E122 | Submersible Pump including Hose, 150mm dia. | hr
E123 | Generator Set, 100 KW | hr
E124 | Air Compressor, 86-125 cfm cap., 42 HP | hr
E125 | Tower Lights, 28ft. High, 400 watts, 10.50 HP, with Generator of 5kW | hr
E126 | Welding Machine, 500 Amperes | hr
E127 | Oxy/Acetylene Cutting Outfit | hr
E128 | Steel Ladder | hr
E129 | Jackhammer/Pneumatic Breaker | hr
E130 | Bar Cutter, Electric, 32mm Cap | hr
E131 | Bar Bender, Electric, 32mm Cap | hr
E132 | Pick-up Service Vehicle | hr
Other Equipment
LABOR
L101 | Foreman | day
L102 | Highly Skilled Labor | day
L103 | Skilled Labor | day
L104 | Semi-Skilled Labor | day
L105 | Unskilled Labor | day
L106 | Driver | day
L107 | Light Equipment Operator | day
L108 | Heavy Equipment Operator | day
L109 | Electrician | day
L110 | Mechanic | day
Other Labor
OTHERS
| TOTAL FOR PART XII |  |  |  |  | Php