## 00 Summary
DUPA SUMMARY — All BOQ Line Items
Project: SMC MRT-7 FDAS+ACS Integration ¦ Bidder: CMR Philippines Inc. ¦ Date: 2026-05-08
DPWH bracket (5-50M tier): OCM 11% ¦ Profit 8% ¦ VAT 12% (private-bid VAT-inclusive)
Item | Description | Unit | Qty | Direct (PHP) | OCM (11%) | Profit (8%) | D+OCM+P | VAT (12%) | Total (PHP) | % of Total | Sheet
0.1 | Occupational Safety and Health Program (180 CD multi-site) | L.S. | 1 | 262605.042 | 28886.5546 | 21008.4034 | 312500 | 37500 | 350000 | 1.313% | 01 0.1
0.2 | Traffic Management (12 stations + depot rotation) | L.S. | 1 | 300120.048 | 33013.2053 | 24009.6038 | 357142.8571 | 42857.1429 | 400000 | 1.5% | 02 0.2
0.3 | Mobilization and Demobilization (12 stations + depot) | L.S. | 1 | 375150.06 | 41266.5066 | 30012.0048 | 446428.5714 | 53571.4286 | 500000 | 1.875% | 03 0.3
0.4 | Project Manager (REE, full-time) | month | 6 | 675270.108 | 74279.7119 | 54021.6086 | 803571.4286 | 96428.5714 | 900000 | 3.375% | 04 0.4
0.5 | Engineer-in-charge (REE, full-time) | month | 6 | 585234.0936 | 64375.7503 | 46818.7275 | 696428.5714 | 83571.4286 | 780000 | 2.925% | 05 0.5
0.6 | PEE supervisory engagement (R.A. 9292) | hour | 80 | 210084.0336 | 23109.2437 | 16806.7227 | 250000 | 30000 | 280000 | 1.05% | 06 0.6
0.7 | Site Supervisors × 2 (full-time, 6 months each) | month | 12 | 675270.108 | 74279.7119 | 54021.6086 | 803571.4286 | 96428.5714 | 900000 | 3.375% | 07 0.7
0.8 | Interface Manager + Engineer (part-time blended) | L.S. | 1 | 337635.054 | 37139.8559 | 27010.8043 | 401785.7143 | 48214.2857 | 450000 | 1.688% | 08 0.8
0.9 | CAR + 3rd-party + workmen's-comp insurance (180 CD) | L.S. | 1 | 262605.042 | 28886.5546 | 21008.4034 | 312500 | 37500 | 350000 | 1.313% | 09 0.9
0.10 | Surety bonds (Adv Pay + Performance 20% + Warranty 10%) | L.S. | 1 | 375150.06 | 41266.5066 | 30012.0048 | 446428.5714 | 53571.4286 | 500000 | 1.875% | 10 0.10
0.11 | All government permits (LGU + MMDA + DOLE + working) | L.S. | 1 | 150060.024 | 16506.6026 | 12004.8019 | 178571.4286 | 21428.5714 | 200000 | 0.75% | 11 0.11
0.12 | BOC duties for imported items + VAT pass-through | L.S. | 1 | 600240.096 | 66026.4106 | 48019.2077 | 714285.7143 | 85714.2857 | 800000 | 3% | 12 0.12
0.13 | Daily/Weekly Reports + Primavera P6 monthly + As-built drawings | L.S. | 1 | 187575.03 | 20633.2533 | 15006.0024 | 223214.2857 | 26785.7143 | 250000 | 0.9376% | 13 0.13
0.14 | Site office + temporary power + comms + vehicles + tools (180 CD) | L.S. | 1 | 450180.072 | 49519.8079 | 36014.4058 | 535714.2857 | 64285.7143 | 600000 | 2.25% | 14 0.14
0.15 | Garbage collection + disposal (per TOR §8.21) | L.S. | 1 | 37515.006 | 4126.6507 | 3001.2005 | 44642.8571 | 5357.1429 | 50000 | 0.1875% | 15 0.15
P1-01 | FDAS Workstation Computer System @ OCC | Lot | 1 | 1508103.2413 | 165891.3565 | 120648.2593 | 1794642.8571 | 215357.1429 | 2010000 | 7.538% | 16 P1-01
P1-02 | ACS Workstation Computer System @ OCC | Lot | 1 | 1500600.2401 | 165066.0264 | 120048.0192 | 1785714.2857 | 214285.7143 | 2000000 | 7.5% | 17 P1-02
P1-03 | NIC / media converters / gateways for 12 stations × FDAS+ACS = 24 gateways | ps | 1 | 1200480.1921 | 132052.8211 | 96038.4154 | 1428571.4286 | 171428.5714 | 1600000 | 6% | 18 P1-03
P1-04 | Control & Communication Cable @ OCC (workstation ↔ CER) | ps | 1 | 262605.042 | 28886.5546 | 21008.4034 | 312500 | 37500 | 350000 | 1.313% | 19 P1-04
P1-05 | Power Supply Cables + Conduit + Boxes @ OCC | ps | 1 | 187575.03 | 20633.2533 | 15006.0024 | 223214.2857 | 26785.7143 | 250000 | 0.9376% | 20 P1-05
P1-06 | Workstation Furniture @ OCC (4-PC table + ergonomic chairs) | ps | 1 | 60024.0096 | 6602.6411 | 4801.9208 | 71428.5714 | 8571.4286 | 80000 | 0.3% | 21 P1-06
P1-07 | Testing and Commissioning — Phase 1 (~250 hr T&C) | Lot | 1 | 525210.084 | 57773.1092 | 42016.8067 | 625000 | 75000 | 700000 | 2.625% | 22 P1-07
P2-08 | Inter-bldg Cable (1500m FOC OS2 24-core armored + 200m FOC 12-core + 200m STP Cat6A + splices + terminations + 24 surge + pulling) | Lot | 1 | 675270.108 | 74279.7119 | 54021.6086 | 803571.4286 | 96428.5714 | 900000 | 3.375% | 23 P2-08
P2-08b | Conduit + Cable Tray + Containment (1100m EMT 25mm + 200m GRC + 30 pull boxes + 50m cable tray + fittings) | Lot | 1 | 562725.09 | 61899.7599 | 45018.0072 | 669642.8571 | 80357.1429 | 750000 | 2.813% | 24 P2-08b
P2-09 | NIC / media converter / gateways Phase 2 depot (5 FDAS + 5 ACS) | ps | 1 | 510204.0816 | 56122.449 | 40816.3265 | 607142.8571 | 72857.1429 | 680000 | 2.55% | 25 P2-09
P2-10 | Power Supply Cables + Conduit + Boxes @ FCCR | Lot | 1 | 150060.024 | 16506.6026 | 12004.8019 | 178571.4286 | 21428.5714 | 200000 | 0.75% | 26 P2-10
P2-11 | Workstation Furniture @ FCCR (4-PC table + chairs) | ps | 1 | 60024.0096 | 6602.6411 | 4801.9208 | 71428.5714 | 8571.4286 | 80000 | 0.3% | 27 P2-11
P2-12 | Testing and Commissioning — Phase 2 (~349 hr) | Lot | 1 | 712785.114 | 78406.3625 | 57022.8091 | 848214.2857 | 101785.7143 | 950000 | 3.563% | 28 P2-12
ADD-01 | FDAS Field Devices @ Genset Building | Lot | 1 | 150060.024 | 16506.6026 | 12004.8019 | 178571.4286 | 21428.5714 | 200000 | 0.75% | 29 ADD-01
ADD-02 | FDAS Field Devices @ Guard Houses GH-1, GH-2A, GH-2D | Lot | 1 | 135054.0216 | 14855.9424 | 10804.3217 | 160714.2857 | 19285.7143 | 180000 | 0.675% | 30 ADD-02
ADD-03 | FCCR Head-End Mirror (FDAS + ACS WS at FCCR mirroring P1-01 + P1-02) | Lot | 1 | 3151260.5042 | 346638.6555 | 252100.8403 | 3750000 | 450000 | 4200000 | 15.75% | 31 ADD-03
ADD-04 | FAT travel — Notifier facility, Northford CT, USA (3-person × 7 days) | L.S. | 1 | 945378.1513 | 103991.5966 | 75630.2521 | 1125000 | 135000 | 1260000 | 4.725% | 32 ADD-04
ADD-05 | FAT travel — Suprema facility, Seongnam, South Korea (3-person × 7 days) | L.S. | 1 | 461434.5738 | 50757.8031 | 36914.7659 | 549107.1429 | 65892.8571 | 615000 | 2.306% | 33 ADD-05
ADD-06 | 2-year recommended spare-parts kit (FDAS + ACS) | Lot | 1 | 487695.078 | 53646.4586 | 39015.6062 | 580357.1429 | 69642.8571 | 650000 | 2.438% | 34 ADD-06
ADD-07 | O&M Manual + Training material + Training delivery + Certificates | Lot | 1 | 375150.06 | 41266.5066 | 30012.0048 | 446428.5714 | 53571.4286 | 500000 | 1.875% | 35 ADD-07
ADD-08 | 3-year software support + upgrades (OnyxWorks + BioStar 2) | L.S. | 1 | 900360.1441 | 99039.6158 | 72028.8115 | 1071428.5714 | 128571.4286 | 1200000 | 4.5% | 36 ADD-08
GRAND TOTAL |  |  |  | 20006752.7011 | 2200742.7971 | 1600540.2161 | 23808035.7143 | 2856964.2857 | 26665000 | 100%

## 01 0.1
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.1 |  |  | Unit: L.S. | Qty: 1
Description: Occupational Safety and Health Program (180 CD multi-site)
Notes: Multi-site: 13 work sites (12 stations + depot)
Customer Code: B.7(2)
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 65651.2605
# | Description | Unit | Qty | Unit Cost | Amount
1 | PPE for ~15 personnel (hardhats, vests, gloves, safety shoes) | lot | 1 | 26260.5042 | 26260.5042
2 | Safety signage at 13 sites | lot | 1 | 19695.3782 | 19695.3782
3 | First-aid + emergency kits + reporting tools | lot | 1 | 19695.3782 | 19695.3782
B. LABOR |  |  |  | Subtotal: | 157563.0252
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Safety Officer 6 mo @ PHP 30,000/mo (full-time) | ls | 1 | 133928.5714 | 133928.5714
2 | OSH training + monthly drill labor | ls | 1 | 23634.4538 | 23634.4538
C. EQUIPMENT USE |  |  |  | Subtotal: | 39390.7563
# | Description | Unit | Qty | Rate | Amount
1 | Vehicle for safety officer multi-site rotation | ls | 1 | 39390.7563 | 39390.7563
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 262605.042
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 28886.5546
F. PROFIT — 8% of Direct |  |  |  |  | 21008.4034
G. SUB-TOTAL (D + E + F) |  |  |  |  | 312500
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 37500
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 350000

## 02 0.2
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.2 |  |  | Unit: L.S. | Qty: 1
Description: Traffic Management (12 stations + depot rotation)
Notes: DPWH B.8(2) typical L.S. for multi-site projects
Customer Code: B.8(2)
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 75030.012
# | Description | Unit | Qty | Unit Cost | Amount
1 | Barricades + cones + traffic signs | lot | 1 | 45018.0072 | 45018.0072
2 | Reflectorized warning signs (multi-site) | lot | 1 | 30012.0048 | 30012.0048
B. LABOR |  |  |  | Subtotal: | 180072.0288
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Flagman labor (rotational, 4 mo) | ls | 1 | 180072.0288 | 180072.0288
C. EQUIPMENT USE |  |  |  | Subtotal: | 45018.0072
# | Description | Unit | Qty | Rate | Amount
1 | Traffic-management vehicle + flashing-light setup | ls | 1 | 45018.0072 | 45018.0072
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 300120.048
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 33013.2053
F. PROFIT — 8% of Direct |  |  |  |  | 24009.6038
G. SUB-TOTAL (D + E + F) |  |  |  |  | 357142.8571
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 42857.1429
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 400000

## 03 0.3
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.3 |  |  | Unit: L.S. | Qty: 1
Description: Mobilization and Demobilization (12 stations + depot)
Notes: DPWH B.9 typical 1-2% of contract
Customer Code: B.9
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 93787.515
# | Description | Unit | Qty | Unit Cost | Amount
1 | Initial stockpile materials + container office setup | lot | 1 | 46893.7575 | 46893.7575
2 | Site-establishment fittings + signage | lot | 1 | 46893.7575 | 46893.7575
B. LABOR |  |  |  | Subtotal: | 225090.036
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Mobilization labor (multi-site setup) | ls | 1 | 123799.5198 | 123799.5198
2 | Demobilization labor (site clearing) | ls | 1 | 101290.5162 | 101290.5162
C. EQUIPMENT USE |  |  |  | Subtotal: | 56272.509
# | Description | Unit | Qty | Rate | Amount
1 | Truck + lift hire for mobilization phase | ls | 1 | 33763.5054 | 33763.5054
2 | Demobilization truck-hire | ls | 1 | 22509.0036 | 22509.0036
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 375150.06
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 41266.5066
F. PROFIT — 8% of Direct |  |  |  |  | 30012.0048
G. SUB-TOTAL (D + E + F) |  |  |  |  | 446428.5714
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 53571.4286
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 500000

## 04 0.4
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.4 |  |  | Unit: month | Qty: 6
Description: Project Manager (REE, full-time)
Notes: Mid-senior REE PM rate, transit-grade infra project
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 33763.5054
# | Description | Unit | Qty | Unit Cost | Amount
1 | Office supplies + admin overhead allocation | lot | 1 | 33763.5054 | 33763.5054
B. LABOR |  |  |  | Subtotal: | 607743.0972
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Project Manager — REE — fully loaded (salary + benefits + overhead) | ls | 1 | 607743.0972 | 607743.0972
C. EQUIPMENT USE |  |  |  | Subtotal: | 33763.5054
# | Description | Unit | Qty | Rate | Amount
1 | Mobile office equipment + comms allocation | ls | 1 | 33763.5054 | 33763.5054
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 675270.108
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 74279.7119
F. PROFIT — 8% of Direct |  |  |  |  | 54021.6086
G. SUB-TOTAL (D + E + F) |  |  |  |  | 803571.4286
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 96428.5714
I. TOTAL per month (VAT-inclusive) |  |  |  |  | 900000

## 05 0.5
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.5 |  |  | Unit: month | Qty: 6
Description: Engineer-in-charge (REE, full-time)
Notes: Mid-level REE EIC rate
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 29261.7047
# | Description | Unit | Qty | Unit Cost | Amount
1 | Office supplies + admin overhead allocation | lot | 1 | 29261.7047 | 29261.7047
B. LABOR |  |  |  | Subtotal: | 526710.6843
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Engineer-in-charge — REE — fully loaded | ls | 1 | 526710.6843 | 526710.6843
C. EQUIPMENT USE |  |  |  | Subtotal: | 29261.7047
# | Description | Unit | Qty | Rate | Amount
1 | Mobile office equipment + comms allocation | ls | 1 | 29261.7047 | 29261.7047
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 585234.0936
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 64375.7503
F. PROFIT — 8% of Direct |  |  |  |  | 46818.7275
G. SUB-TOTAL (D + E + F) |  |  |  |  | 696428.5714
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 83571.4286
I. TOTAL per month (VAT-inclusive) |  |  |  |  | 780000

## 06 0.6
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.6 |  |  | Unit: hour | Qty: 80
Description: PEE supervisory engagement (R.A. 9292)
Notes: PEE professional rate per R.A. 9292 typical engagement
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 10504.2017
# | Description | Unit | Qty | Unit Cost | Amount
1 | Document signoff seals + admin | lot | 1 | 10504.2017 | 10504.2017
B. LABOR |  |  |  | Subtotal: | 189075.6303
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | PEE supervisor (R.A. 9292) — engagement billing | ls | 1 | 189075.6303 | 189075.6303
C. EQUIPMENT USE |  |  |  | Subtotal: | 10504.2017
# | Description | Unit | Qty | Rate | Amount
1 | Site visit transport allocation | ls | 1 | 10504.2017 | 10504.2017
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 210084.0336
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 23109.2437
F. PROFIT — 8% of Direct |  |  |  |  | 16806.7227
G. SUB-TOTAL (D + E + F) |  |  |  |  | 250000
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 30000
I. TOTAL per hour (VAT-inclusive) |  |  |  |  | 280000

## 07 0.7
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.7 |  |  | Unit: month | Qty: 12
Description: Site Supervisors × 2 (full-time, 6 months each)
Notes: Foreman/supervisor full-time rate
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 33763.5054
# | Description | Unit | Qty | Unit Cost | Amount
1 | Field admin + tracking tools | lot | 1 | 33763.5054 | 33763.5054
B. LABOR |  |  |  | Subtotal: | 607743.0972
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Site Supervisor / Foreman — fully loaded | ls | 1 | 607743.0972 | 607743.0972
C. EQUIPMENT USE |  |  |  | Subtotal: | 33763.5054
# | Description | Unit | Qty | Rate | Amount
1 | Mobile comms + small site tools | ls | 1 | 33763.5054 | 33763.5054
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 675270.108
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 74279.7119
F. PROFIT — 8% of Direct |  |  |  |  | 54021.6086
G. SUB-TOTAL (D + E + F) |  |  |  |  | 803571.4286
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 96428.5714
I. TOTAL per month (VAT-inclusive) |  |  |  |  | 900000

## 08 0.8
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.8 |  |  | Unit: L.S. | Qty: 1
Description: Interface Manager + Engineer (part-time blended)
Notes: Per TOR §8.5; multi-party coordination across ~17 contractors
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 16881.7527
# | Description | Unit | Qty | Unit Cost | Amount
1 | ICD authoring + coordination materials | lot | 1 | 16881.7527 | 16881.7527
B. LABOR |  |  |  | Subtotal: | 303871.5486
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Interface Manager 4 mo @ ~50% × PHP 80K | ls | 1 | 167129.3517 | 167129.3517
2 | Interface Engineer 5 mo @ ~50% × PHP 70K | ls | 1 | 136742.1969 | 136742.1969
C. EQUIPMENT USE |  |  |  | Subtotal: | 16881.7527
# | Description | Unit | Qty | Rate | Amount
1 | Coordination meeting facilities + conferencing | ls | 1 | 16881.7527 | 16881.7527
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 337635.054
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 37139.8559
F. PROFIT — 8% of Direct |  |  |  |  | 27010.8043
G. SUB-TOTAL (D + E + F) |  |  |  |  | 401785.7143
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 48214.2857
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 450000

## 09 0.9
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.9 |  |  | Unit: L.S. | Qty: 1
Description: CAR + 3rd-party + workmen's-comp insurance (180 CD)
Notes: Typical PH insurance premium ~1.0-1.5% of insured value
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 249474.7899
# | Description | Unit | Qty | Unit Cost | Amount
1 | CAR insurance premium (~1% of project value) | lot | 1 | 137211.1345 | 137211.1345
2 | Third-party liability premium | lot | 1 | 49894.958 | 49894.958
3 | Workmen's compensation premium per PH labor law | lot | 1 | 62368.6975 | 62368.6975
B. LABOR |  |  |  | Subtotal: | 13130.2521
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Insurance broker / coordinator labor | ls | 1 | 13130.2521 | 13130.2521
C. EQUIPMENT USE |  |  |  | Subtotal: | 0
(no equipment use for this line)
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 262605.042
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 28886.5546
F. PROFIT — 8% of Direct |  |  |  |  | 21008.4034
G. SUB-TOTAL (D + E + F) |  |  |  |  | 312500
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 37500
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 350000

## 10 0.10
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.10 |  |  | Unit: L.S. | Qty: 1
Description: Surety bonds (Adv Pay + Performance 20% + Warranty 10%)
Notes: Per TOR §11.6.1 + §3.2; SMC-acceptable surety panel
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 356392.557
# | Description | Unit | Qty | Unit Cost | Amount
1 | Advance Payment Bond premium | lot | 1 | 53458.8836 | 53458.8836
2 | Performance Bond (20% × Contract) premium | lot | 1 | 178196.2785 | 178196.2785
3 | Warranty Bond (10% × Contract, 2-yr) premium | lot | 1 | 124737.395 | 124737.395
B. LABOR |  |  |  | Subtotal: | 18757.503
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Surety coordinator labor | ls | 1 | 18757.503 | 18757.503
C. EQUIPMENT USE |  |  |  | Subtotal: | 0
(no equipment use for this line)
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 375150.06
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 41266.5066
F. PROFIT — 8% of Direct |  |  |  |  | 30012.0048
G. SUB-TOTAL (D + E + F) |  |  |  |  | 446428.5714
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 53571.4286
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 500000

## 11 0.11
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.11 |  |  | Unit: L.S. | Qty: 1
Description: All government permits (LGU + MMDA + DOLE + working)
Notes: Multi-site permit cost across 13 work locations
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 142557.0228
# | Description | Unit | Qty | Unit Cost | Amount
1 | LGU electrical permits (multi-site) | lot | 1 | 57022.8091 | 57022.8091
2 | MMDA + DOLE permits | lot | 1 | 42767.1068 | 42767.1068
3 | Working permits + barangay clearances | lot | 1 | 42767.1068 | 42767.1068
B. LABOR |  |  |  | Subtotal: | 7503.0012
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Permits-runner labor | ls | 1 | 7503.0012 | 7503.0012
C. EQUIPMENT USE |  |  |  | Subtotal: | 0
(no equipment use for this line)
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 150060.024
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 16506.6026
F. PROFIT — 8% of Direct |  |  |  |  | 12004.8019
G. SUB-TOTAL (D + E + F) |  |  |  |  | 178571.4286
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 21428.5714
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 200000

## 12 0.12
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.12 |  |  | Unit: L.S. | Qty: 1
Description: BOC duties for imported items + VAT pass-through
Notes: Typical 5-7% landed-cost adder on imports
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 570228.0912
# | Description | Unit | Qty | Unit Cost | Amount
1 | BOC duties on imported items (Notifier, Suprema, Hirschmann, etc.) | lot | 1 | 484693.8776 | 484693.8776
2 | Brokerage + customs clearance fees | lot | 1 | 85534.2137 | 85534.2137
B. LABOR |  |  |  | Subtotal: | 30012.0048
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Customs broker + admin labor | ls | 1 | 30012.0048 | 30012.0048
C. EQUIPMENT USE |  |  |  | Subtotal: | 0
(no equipment use for this line)
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 600240.096
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 66026.4106
F. PROFIT — 8% of Direct |  |  |  |  | 48019.2077
G. SUB-TOTAL (D + E + F) |  |  |  |  | 714285.7143
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 85714.2857
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 800000

## 13 0.13
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.13 |  |  | Unit: L.S. | Qty: 1
Description: Daily/Weekly Reports + Primavera P6 monthly + As-built drawings
Notes: Per TOR §4.11 + §4.16 + §8.13
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 46893.7575
# | Description | Unit | Qty | Unit Cost | Amount
1 | Reporting templates + plotting paper + binding | lot | 1 | 14068.1273 | 14068.1273
2 | Drawing software licenses (CAD, P6) | lot | 1 | 32825.6303 | 32825.6303
B. LABOR |  |  |  | Subtotal: | 112545.018
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Reporting writer (part-time 6 mo) | ls | 1 | 33763.5054 | 33763.5054
2 | P6 scheduler (part-time 3 mo) | ls | 1 | 33763.5054 | 33763.5054
3 | As-built CAD drafter (~30 days) | ls | 1 | 45018.0072 | 45018.0072
C. EQUIPMENT USE |  |  |  | Subtotal: | 28136.2545
# | Description | Unit | Qty | Rate | Amount
1 | Plotter + printing equipment | ls | 1 | 28136.2545 | 28136.2545
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 187575.03
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 20633.2533
F. PROFIT — 8% of Direct |  |  |  |  | 15006.0024
G. SUB-TOTAL (D + E + F) |  |  |  |  | 223214.2857
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 26785.7143
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 250000

## 14 0.14
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.14 |  |  | Unit: L.S. | Qty: 1
Description: Site office + temporary power + comms + vehicles + tools (180 CD)
Notes: Multi-site logistics support
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 112545.018
# | Description | Unit | Qty | Unit Cost | Amount
1 | Container office rental + setup | lot | 1 | 33763.5054 | 33763.5054
2 | Tools + small equipment kit | lot | 1 | 33763.5054 | 33763.5054
3 | Office supplies + comms internet 6 mo | lot | 1 | 45018.0072 | 45018.0072
B. LABOR |  |  |  | Subtotal: | 270108.0432
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Site logistics labor | ls | 1 | 270108.0432 | 270108.0432
C. EQUIPMENT USE |  |  |  | Subtotal: | 67527.0108
# | Description | Unit | Qty | Rate | Amount
1 | Service vehicle ×2 (180 CD lease) | ls | 1 | 54021.6086 | 54021.6086
2 | Generator backup + temporary power | ls | 1 | 13505.4022 | 13505.4022
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 450180.072
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 49519.8079
F. PROFIT — 8% of Direct |  |  |  |  | 36014.4058
G. SUB-TOTAL (D + E + F) |  |  |  |  | 535714.2857
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 64285.7143
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 600000

## 15 0.15
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: 0.15 |  |  | Unit: L.S. | Qty: 1
Description: Garbage collection + disposal (per TOR §8.21)
Notes: Bonded waste-disposal contractor
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 9378.7515
# | Description | Unit | Qty | Unit Cost | Amount
1 | Bins + bags + sorting tools | lot | 1 | 9378.7515 | 9378.7515
B. LABOR |  |  |  | Subtotal: | 22509.0036
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Collection labor (rotational) | ls | 1 | 22509.0036 | 22509.0036
C. EQUIPMENT USE |  |  |  | Subtotal: | 5627.2509
# | Description | Unit | Qty | Rate | Amount
1 | Disposal truck-hire (periodic) | ls | 1 | 5627.2509 | 5627.2509
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 37515.006
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 4126.6507
F. PROFIT — 8% of Direct |  |  |  |  | 3001.2005
G. SUB-TOTAL (D + E + F) |  |  |  |  | 44642.8571
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 5357.1429
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 50000

## 16 P1-01
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P1-01 |  |  | Unit: Lot | Qty: 1
Description: FDAS Workstation Computer System @ OCC
Notes: Per ANNEX_C1 §1123.2.8; brand-locked Notifier per ANNEX_D1
Customer Code: 1123.2.8
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 1281887.7551
# | Description | Unit | Qty | Unit Cost | Amount
1 | Notifier OnyxWorks SW (server + 1 client seat, perpetual) | lot | 1 | 538392.8571 | 538392.8571
2 | Server (Dell PowerEdge R750, Xeon Silver, 64 GB ECC, RAID-1, Win Svr 2019 LTS, 4U) | lot | 1 | 410204.0816 | 410204.0816
3 | Workstation PC (Intel i7 12th-gen, 32 GB DDR4, 1 TB NVMe SSD, 32" LED FHD) | lot | 1 | 64094.3878 | 64094.3878
4 | L2 Industrial Switch (Hirschmann MACH104-20TX-FR, 24G+4SFP, UL 508) | lot | 1 | 166645.4082 | 166645.4082
5 | APC Smart-UPS On-Line 2 kVA (230V 60Hz pure sine, 15-30 min) | lot | 1 | 64094.3878 | 64094.3878
6 | HP LaserJet Color (≥30 ppm, 1200 dpi) | lot | 1 | 25637.7551 | 25637.7551
7 | 42U server rack + cable mgmt + labeling (APC NetShelter SX) | lot | 1 | 12818.8776 | 12818.8776
B. LABOR |  |  |  | Subtotal: | 180972.389
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Engineer-in-charge — 6 hr × PHP 750/hr | ls | 1 | 18097.2389 | 18097.2389
2 | Programmer (OnyxWorks server install + GUI build) — 8 hr × PHP 1,000/hr | ls | 1 | 54291.7167 | 54291.7167
3 | Wireman (rack assembly + power + data cable) — 8 hr × PHP 350/hr | ls | 1 | 72388.9556 | 72388.9556
4 | Site Supervisor — 4 hr × PHP 470/hr | ls | 1 | 36194.4778 | 36194.4778
C. EQUIPMENT USE |  |  |  | Subtotal: | 45243.0972
# | Description | Unit | Qty | Rate | Amount
1 | Tools + cable certifier rental (1 day) | ls | 1 | 22621.5486 | 22621.5486
2 | Lift / staging for rack install | ls | 1 | 22621.5486 | 22621.5486
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 1508103.2413
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 165891.3565
F. PROFIT — 8% of Direct |  |  |  |  | 120648.2593
G. SUB-TOTAL (D + E + F) |  |  |  |  | 1794642.8571
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 215357.1429
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 2010000

## 17 P1-02
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P1-02 |  |  | Unit: Lot | Qty: 1
Description: ACS Workstation Computer System @ OCC
Notes: Per ANNEX_C1 §1124.2.6; brand-locked Suprema per ANNEX_D2
Customer Code: 1124.2.6
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 1275510.2041
# | Description | Unit | Qty | Unit Cost | Amount
1 | Suprema BioStar 2 Enterprise SW (perpetual, multi-site, TLS 1.2) | lot | 1 | 408163.2653 | 408163.2653
2 | ACS Server (Dell PowerEdge, Xeon, 64 GB ECC, Win Svr 2019) | lot | 1 | 408163.2653 | 408163.2653
3 | L2 Switch w/ SFP (Hirschmann/Moxa, UL 508) | lot | 1 | 165816.3265 | 165816.3265
4 | Microsoft SQL Server 2019 LTS Standard | lot | 1 | 165816.3265 | 165816.3265
5 | Zebra ZC card printer (color, MIFARE encoding) | lot | 1 | 76530.6122 | 76530.6122
6 | Suprema BioMini Plus 2 + DE-620 encoder | lot | 1 | 38265.3061 | 38265.3061
7 | 42U server rack + cable mgmt | lot | 1 | 12755.102 | 12755.102
B. LABOR |  |  |  | Subtotal: | 180072.0288
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Engineer-in-charge — 6 hr × PHP 750 | ls | 1 | 18007.2029 | 18007.2029
2 | Programmer (BioStar 2 server install + SQL setup + cert provisioning) — 8 hr × PHP 1,000 | ls | 1 | 63025.2101 | 63025.2101
3 | Wireman — 6 hr × PHP 350 | ls | 1 | 63025.2101 | 63025.2101
4 | Site Supervisor — 4 hr × PHP 470 | ls | 1 | 36014.4058 | 36014.4058
C. EQUIPMENT USE |  |  |  | Subtotal: | 45018.0072
# | Description | Unit | Qty | Rate | Amount
1 | Tools + test instruments (1 day) | ls | 1 | 22509.0036 | 22509.0036
2 | Lift for rack install | ls | 1 | 22509.0036 | 22509.0036
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 1500600.2401
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 165066.0264
F. PROFIT — 8% of Direct |  |  |  |  | 120048.0192
G. SUB-TOTAL (D + E + F) |  |  |  |  | 1785714.2857
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 214285.7143
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 2000000

## 18 P1-03
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P1-03 |  |  | Unit: ps | Qty: 1
Description: NIC / media converters / gateways for 12 stations × FDAS+ACS = 24 gateways
Notes: 12 stations × 2 disciplines = 24 gateways
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 1020408.1633
# | Description | Unit | Qty | Unit Cost | Amount
1 | Notifier NCM-W FDAS gateway × 12 @ ~PHP 60K | lot | 1 | 459183.6735 | 459183.6735
2 | ACS Industrial Ethernet media converter × 12 @ ~PHP 30K (Moxa NPort) | lot | 1 | 234693.8776 | 234693.8776
3 | DIN-rail Surge Protector (Type 2) × 24 | lot | 1 | 81632.6531 | 81632.6531
4 | Wall Enclosure IP54 × 24 | lot | 1 | 122448.9796 | 122448.9796
5 | Cabling + connectors + labeling | lot | 1 | 122448.9796 | 122448.9796
B. LABOR |  |  |  | Subtotal: | 144057.623
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Programmer (per-station IP config + commissioning) — 24 sessions × 1 hr × PHP 1,000 | ls | 1 | 57623.0492 | 57623.0492
2 | Wireman (gateway mounting + power + termination) — 12 sessions × 4 hr × PHP 350 | ls | 1 | 72028.8115 | 72028.8115
3 | Site Supervisor (multi-station rotation) | ls | 1 | 14405.7623 | 14405.7623
C. EQUIPMENT USE |  |  |  | Subtotal: | 36014.4058
# | Description | Unit | Qty | Rate | Amount
1 | Service vehicle (multi-station rotation) | ls | 1 | 21608.6435 | 21608.6435
2 | Test instruments (laptop + analyzer) | ls | 1 | 14405.7623 | 14405.7623
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 1200480.1921
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 132052.8211
F. PROFIT — 8% of Direct |  |  |  |  | 96038.4154
G. SUB-TOTAL (D + E + F) |  |  |  |  | 1428571.4286
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 171428.5714
I. TOTAL per ps (VAT-inclusive) |  |  |  |  | 1600000

## 19 P1-04
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P1-04 |  |  | Unit: ps | Qty: 1
Description: Control & Communication Cable @ OCC (workstation ↔ CER)
Notes: OCC head-end internal cabling
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 131302.521
# | Description | Unit | Qty | Unit Cost | Amount
1 | FOC patch cables OS2 single-mode (assorted) | lot | 1 | 39390.7563 | 39390.7563
2 | STP Cat6A patch + bulk | lot | 1 | 39390.7563 | 39390.7563
3 | Connectors + LC terminations | lot | 1 | 26260.5042 | 26260.5042
4 | Cable management ties + labels | lot | 1 | 26260.5042 | 26260.5042
B. LABOR |  |  |  | Subtotal: | 105042.0168
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Wireman (cable pulling + termination) — 4 days × PHP 350/hr × 8 hr × 2 | ls | 1 | 105042.0168 | 105042.0168
C. EQUIPMENT USE |  |  |  | Subtotal: | 26260.5042
# | Description | Unit | Qty | Rate | Amount
1 | Fusion splicer rental (1 day) | ls | 1 | 15756.3025 | 15756.3025
2 | OTDR + light source + power meter rental | ls | 1 | 10504.2017 | 10504.2017
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 262605.042
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 28886.5546
F. PROFIT — 8% of Direct |  |  |  |  | 21008.4034
G. SUB-TOTAL (D + E + F) |  |  |  |  | 312500
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 37500
I. TOTAL per ps (VAT-inclusive) |  |  |  |  | 350000

## 20 P1-05
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P1-05 |  |  | Unit: ps | Qty: 1
Description: Power Supply Cables + Conduit + Boxes @ OCC
Notes: OCC power distribution from existing panel
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 93787.515
# | Description | Unit | Qty | Unit Cost | Amount
1 | THW 2.5/4 mm² power cable | lot | 1 | 37515.006 | 37515.006
2 | EMT 25mm conduit + couplings + saddles | lot | 1 | 28136.2545 | 28136.2545
3 | Outlet/device boxes + cover plates | lot | 1 | 28136.2545 | 28136.2545
B. LABOR |  |  |  | Subtotal: | 75030.012
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Wireman (conduit install + cable pulling + termination) — 3 days | ls | 1 | 75030.012 | 75030.012
C. EQUIPMENT USE |  |  |  | Subtotal: | 18757.503
# | Description | Unit | Qty | Rate | Amount
1 | Conduit bender + threading kit + drill | ls | 1 | 18757.503 | 18757.503
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 187575.03
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 20633.2533
F. PROFIT — 8% of Direct |  |  |  |  | 15006.0024
G. SUB-TOTAL (D + E + F) |  |  |  |  | 223214.2857
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 26785.7143
I. TOTAL per ps (VAT-inclusive) |  |  |  |  | 250000

## 21 P1-06
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P1-06 |  |  | Unit: ps | Qty: 1
Description: Workstation Furniture @ OCC (4-PC table + ergonomic chairs)
Notes: Per TOR §4.5
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 48019.2077
# | Description | Unit | Qty | Unit Cost | Amount
1 | Workstation table (4-PC capacity per TOR §4.5) | lot | 1 | 19207.6831 | 19207.6831
2 | Ergonomic operator chairs × 4 | lot | 1 | 19207.6831 | 19207.6831
3 | Monitor arm + cable mgmt tray + accessories | lot | 1 | 9603.8415 | 9603.8415
B. LABOR |  |  |  | Subtotal: | 9003.6014
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Furniture delivery + assembly | ls | 1 | 9003.6014 | 9003.6014
C. EQUIPMENT USE |  |  |  | Subtotal: | 3001.2005
# | Description | Unit | Qty | Rate | Amount
1 | Hand tools + assembly kit | ls | 1 | 3001.2005 | 3001.2005
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 60024.0096
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 6602.6411
F. PROFIT — 8% of Direct |  |  |  |  | 4801.9208
G. SUB-TOTAL (D + E + F) |  |  |  |  | 71428.5714
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 8571.4286
I. TOTAL per ps (VAT-inclusive) |  |  |  |  | 80000

## 22 P1-07
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P1-07 |  |  | Unit: Lot | Qty: 1
Description: Testing and Commissioning — Phase 1 (~250 hr T&C)
Notes: Per TOR §4.21; B3 commissioning-points list
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 52521.0084
# | Description | Unit | Qty | Unit Cost | Amount
1 | Test consumables + smoke aerosol + heat-test pole + report binding | lot | 1 | 52521.0084 | 52521.0084
B. LABOR |  |  |  | Subtotal: | 420168.0672
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | T&C Engineer 250 hr × PHP 1,500/hr (Standalone + Integration + Performance) | ls | 1 | 357142.8571 | 357142.8571
2 | EIC supervisory presence at signoff milestones | ls | 1 | 63025.2101 | 63025.2101
C. EQUIPMENT USE |  |  |  | Subtotal: | 52521.0084
# | Description | Unit | Qty | Rate | Amount
1 | OTDR + power meter + cable certifier + multimeter + insulation tester rental | ls | 1 | 36764.7059 | 36764.7059
2 | Network analyzer / Wireshark laptop + sound level meter | ls | 1 | 15756.3025 | 15756.3025
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 525210.084
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 57773.1092
F. PROFIT — 8% of Direct |  |  |  |  | 42016.8067
G. SUB-TOTAL (D + E + F) |  |  |  |  | 625000
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 75000
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 700000

## 23 P2-08
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P2-08 |  |  | Unit: Lot | Qty: 1
Description: Inter-bldg Cable (1500m FOC OS2 24-core armored + 200m FOC 12-core + 200m STP Cat6A + splices + terminations + 24 surge + pulling)
Notes: Inter-building backbone via Civil-built underground ductbank
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 337635.054
# | Description | Unit | Qty | Unit Cost | Amount
1 | FOC OS2 24-core armored OSP × 1500 m @ PHP 250/m (Belden/Corning) | lot | 1 | 185699.2797 | 185699.2797
2 | FOC OS2 12-core × 200 m @ PHP 180/m | lot | 1 | 16881.7527 | 16881.7527
3 | STP Cat6A outdoor-rated × 200 m @ PHP 180/m | lot | 1 | 16881.7527 | 16881.7527
4 | DIN-rail surge protector × 24 @ PHP 5,000 | lot | 1 | 60774.3097 | 60774.3097
5 | Connectors + LC terminations (36) + cable markers | lot | 1 | 57397.9592 | 57397.9592
B. LABOR |  |  |  | Subtotal: | 270108.0432
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Fusion splice technician — 27 splices × PHP 1,500 | ls | 1 | 43217.2869 | 43217.2869
2 | LC termination — 36 terminations × PHP 1,200 | ls | 1 | 45918.3673 | 45918.3673
3 | Pulling crew — 4 wireman × 5 days × PHP 350/hr × 8 hr | ls | 1 | 180972.389 | 180972.389
C. EQUIPMENT USE |  |  |  | Subtotal: | 67527.0108
# | Description | Unit | Qty | Rate | Amount
1 | Fusion splicer rental (5 days) | ls | 1 | 27010.8043 | 27010.8043
2 | OTDR + power meter + light source rental (3 days) | ls | 1 | 20258.1032 | 20258.1032
3 | Cable-pulling lubricant + winch + drum | ls | 1 | 20258.1032 | 20258.1032
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 675270.108
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 74279.7119
F. PROFIT — 8% of Direct |  |  |  |  | 54021.6086
G. SUB-TOTAL (D + E + F) |  |  |  |  | 803571.4286
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 96428.5714
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 900000

## 24 P2-08b
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P2-08b |  |  | Unit: Lot | Qty: 1
Description: Conduit + Cable Tray + Containment (1100m EMT 25mm + 200m GRC + 30 pull boxes + 50m cable tray + fittings)
Notes: Above-ground containment only; underground ductbank by Civil per TOR §9.1
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 281362.545
# | Description | Unit | Qty | Unit Cost | Amount
1 | EMT 25 mm × 1100 m @ PHP 180/m (Phelps Dodge/PH) | lot | 1 | 98476.8908 | 98476.8908
2 | GRC galvanized rigid × 200 m @ PHP 350/m | lot | 1 | 36577.1309 | 36577.1309
3 | Pull/junction boxes × 30 @ PHP 2,500 | lot | 1 | 36577.1309 | 36577.1309
4 | Cable tray ladder-type × 50 m @ PHP 1,800 | lot | 1 | 45018.0072 | 45018.0072
5 | Cable tray fittings + hangers + supports | lot | 1 | 30949.88 | 30949.88
6 | Couplings + saddles + connectors + outlet boxes + markers | lot | 1 | 33763.5054 | 33763.5054
B. LABOR |  |  |  | Subtotal: | 225090.036
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Wireman (conduit + tray installation) — 6-person × 7 days × PHP 350/hr × 8 hr | ls | 1 | 225090.036 | 225090.036
C. EQUIPMENT USE |  |  |  | Subtotal: | 56272.509
# | Description | Unit | Qty | Rate | Amount
1 | Conduit bender + threading + drill (multi-day) | ls | 1 | 22509.0036 | 22509.0036
2 | Lift + scaffolding for cable-tray install | ls | 1 | 33763.5054 | 33763.5054
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 562725.09
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 61899.7599
F. PROFIT — 8% of Direct |  |  |  |  | 45018.0072
G. SUB-TOTAL (D + E + F) |  |  |  |  | 669642.8571
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 80357.1429
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 750000

## 25 P2-09
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P2-09 |  |  | Unit: ps | Qty: 1
Description: NIC / media converter / gateways Phase 2 depot (5 FDAS + 5 ACS)
Notes: Phase 2 depot integration: Genset, Aux, Pump 1+2, Train Wash, STP
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 433673.4694
# | Description | Unit | Qty | Unit Cost | Amount
1 | Notifier NCM-W FDAS gateway × 5 | lot | 1 | 195153.0612 | 195153.0612
2 | ACS media converter × 5 (Moxa) | lot | 1 | 99744.898 | 99744.898
3 | Surge protector × 10 + enclosure × 10 | lot | 1 | 86734.6939 | 86734.6939
4 | Cabling + connectors + labeling | lot | 1 | 52040.8163 | 52040.8163
B. LABOR |  |  |  | Subtotal: | 61224.4898
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Programmer (per-bldg config + commissioning) — 10 sessions × 1 hr × PHP 1,000 | ls | 1 | 18367.3469 | 18367.3469
2 | Wireman (gateway mounting + termination) — 5 sessions × 4 hr × PHP 350 | ls | 1 | 33673.4694 | 33673.4694
3 | Site Supervisor | ls | 1 | 9183.6735 | 9183.6735
C. EQUIPMENT USE |  |  |  | Subtotal: | 15306.1224
# | Description | Unit | Qty | Rate | Amount
1 | Service vehicle (multi-bldg rotation) | ls | 1 | 9183.6735 | 9183.6735
2 | Test instruments | ls | 1 | 6122.449 | 6122.449
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 510204.0816
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 56122.449
F. PROFIT — 8% of Direct |  |  |  |  | 40816.3265
G. SUB-TOTAL (D + E + F) |  |  |  |  | 607142.8571
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 72857.1429
I. TOTAL per ps (VAT-inclusive) |  |  |  |  | 680000

## 26 P2-10
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P2-10 |  |  | Unit: Lot | Qty: 1
Description: Power Supply Cables + Conduit + Boxes @ FCCR
Notes: FCCR head-end power, smaller scope than OCC
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 75030.012
# | Description | Unit | Qty | Unit Cost | Amount
1 | THW 2.5/4 mm² | lot | 1 | 30012.0048 | 30012.0048
2 | EMT 25mm + couplings + saddles | lot | 1 | 22509.0036 | 22509.0036
3 | Outlet/device boxes + cover plates | lot | 1 | 22509.0036 | 22509.0036
B. LABOR |  |  |  | Subtotal: | 60024.0096
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Wireman (FCCR power install) — 3 days | ls | 1 | 60024.0096 | 60024.0096
C. EQUIPMENT USE |  |  |  | Subtotal: | 15006.0024
# | Description | Unit | Qty | Rate | Amount
1 | Conduit bender + drill | ls | 1 | 15006.0024 | 15006.0024
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 150060.024
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 16506.6026
F. PROFIT — 8% of Direct |  |  |  |  | 12004.8019
G. SUB-TOTAL (D + E + F) |  |  |  |  | 178571.4286
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 21428.5714
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 200000

## 27 P2-11
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P2-11 |  |  | Unit: ps | Qty: 1
Description: Workstation Furniture @ FCCR (4-PC table + chairs)
Notes: Mirror of P1-06 for FCCR
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 48019.2077
# | Description | Unit | Qty | Unit Cost | Amount
1 | Workstation table 4-PC capacity | lot | 1 | 19207.6831 | 19207.6831
2 | Ergonomic chairs × 4 | lot | 1 | 19207.6831 | 19207.6831
3 | Monitor arm + cable tray | lot | 1 | 9603.8415 | 9603.8415
B. LABOR |  |  |  | Subtotal: | 9003.6014
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Furniture delivery + assembly | ls | 1 | 9003.6014 | 9003.6014
C. EQUIPMENT USE |  |  |  | Subtotal: | 3001.2005
# | Description | Unit | Qty | Rate | Amount
1 | Hand tools | ls | 1 | 3001.2005 | 3001.2005
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 60024.0096
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 6602.6411
F. PROFIT — 8% of Direct |  |  |  |  | 4801.9208
G. SUB-TOTAL (D + E + F) |  |  |  |  | 71428.5714
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 8571.4286
I. TOTAL per ps (VAT-inclusive) |  |  |  |  | 80000

## 28 P2-12
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: P2-12 |  |  | Unit: Lot | Qty: 1
Description: Testing and Commissioning — Phase 2 (~349 hr)
Notes: Per TOR §4.21; more complex inter-bldg integration
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 71278.5114
# | Description | Unit | Qty | Unit Cost | Amount
1 | Test consumables + report binding | lot | 1 | 71278.5114 | 71278.5114
B. LABOR |  |  |  | Subtotal: | 570228.0912
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | T&C Engineer 349 hr × PHP 1,500/hr (Standalone + Integration + Performance + inter-bldg) | ls | 1 | 484693.8776 | 484693.8776
2 | EIC supervisory presence | ls | 1 | 85534.2137 | 85534.2137
C. EQUIPMENT USE |  |  |  | Subtotal: | 71278.5114
# | Description | Unit | Qty | Rate | Amount
1 | OTDR + cable certifier + multimeter rental | ls | 1 | 49894.958 | 49894.958
2 | Network analyzer + sound level meter | ls | 1 | 21383.5534 | 21383.5534
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 712785.114
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 78406.3625
F. PROFIT — 8% of Direct |  |  |  |  | 57022.8091
G. SUB-TOTAL (D + E + F) |  |  |  |  | 848214.2857
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 101785.7143
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 950000

## 29 ADD-01
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: ADD-01 |  |  | Unit: Lot | Qty: 1
Description: FDAS Field Devices @ Genset Building
Notes: Per ANNEX_C1 §1123.2.5; Resp. Matrix Phase 2 Genset row
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 90036.0144
# | Description | Unit | Qty | Unit Cost | Amount
1 | Notifier FSP-951 photoelectric smoke × 4 @ ~PHP 6,000 | lot | 1 | 18907.563 | 18907.563
2 | Notifier FST-951 heat × 2 @ ~PHP 5,000 | lot | 1 | 8103.2413 | 8103.2413
3 | Notifier NBG-12LX manual pull × 2 @ ~PHP 4,500 | lot | 1 | 7202.8812 | 7202.8812
4 | Horn-strobe (P2W/SpectrAlert) × 2 @ ~PHP 8,000 | lot | 1 | 12605.042 | 12605.042
5 | FMM-1 monitoring module × 2 @ ~PHP 12,000 | lot | 1 | 18907.563 | 18907.563
6 | Back-boxes + conduit + 2C 1.5mm² FRLS shielded cable | lot | 1 | 24309.7239 | 24309.7239
B. LABOR |  |  |  | Subtotal: | 52521.0084
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Wireman (device install + addressing + walk-test) — 2-3 days × 2-person | ls | 1 | 52521.0084 | 52521.0084
C. EQUIPMENT USE |  |  |  | Subtotal: | 7503.0012
# | Description | Unit | Qty | Rate | Amount
1 | Lift / scaffolding for ceiling-mount | ls | 1 | 4501.8007 | 4501.8007
2 | Walk-test smoke aerosol + heat pole | ls | 1 | 3001.2005 | 3001.2005
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 150060.024
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 16506.6026
F. PROFIT — 8% of Direct |  |  |  |  | 12004.8019
G. SUB-TOTAL (D + E + F) |  |  |  |  | 178571.4286
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 21428.5714
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 200000

## 30 ADD-02
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: ADD-02 |  |  | Unit: Lot | Qty: 1
Description: FDAS Field Devices @ Guard Houses GH-1, GH-2A, GH-2D
Notes: Per Resp. Matrix Phase 2 Guard Houses
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 81032.413
# | Description | Unit | Qty | Unit Cost | Amount
1 | Notifier FSP-951 × 6 | lot | 1 | 24309.7239 | 24309.7239
2 | Notifier NBG-12LX × 3 | lot | 1 | 8913.5654 | 8913.5654
3 | Horn-strobe × 3 | lot | 1 | 16206.4826 | 16206.4826
4 | Back-boxes + conduit + FRLS cable (3 GHs) | lot | 1 | 31602.6411 | 31602.6411
B. LABOR |  |  |  | Subtotal: | 47268.9076
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Wireman (3-GH install + addressing + walk-test) | ls | 1 | 47268.9076 | 47268.9076
C. EQUIPMENT USE |  |  |  | Subtotal: | 6752.7011
# | Description | Unit | Qty | Rate | Amount
1 | Hand tools + ladder | ls | 1 | 4051.6206 | 4051.6206
2 | Walk-test instruments | ls | 1 | 2701.0804 | 2701.0804
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 135054.0216
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 14855.9424
F. PROFIT — 8% of Direct |  |  |  |  | 10804.3217
G. SUB-TOTAL (D + E + F) |  |  |  |  | 160714.2857
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 19285.7143
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 180000

## 31 ADD-03
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: ADD-03 |  |  | Unit: Lot | Qty: 1
Description: FCCR Head-End Mirror (FDAS + ACS WS at FCCR mirroring P1-01 + P1-02)
Notes: Bidder-Added Phase 2 redundancy at FCCR
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 2678571.4286
# | Description | Unit | Qty | Unit Cost | Amount
1 | FDAS Mirror @ FCCR (Server + WS + UPS + L2 + Printer + Rack — mirror of P1-01) | lot | 1 | 1232142.8571 | 1232142.8571
2 | ACS Mirror @ FCCR (Server + WS + UPS + L2 + Badge Printer + Rack — mirror of P1-02) | lot | 1 | 1205357.1429 | 1205357.1429
3 | Additional client seats: OnyxWorks + BioStar 2 | lot | 1 | 160714.2857 | 160714.2857
4 | Furniture set @ FCCR (table + chairs) | lot | 1 | 53571.4286 | 53571.4286
5 | Cabling + accessories | lot | 1 | 26785.7143 | 26785.7143
B. LABOR |  |  |  | Subtotal: | 378151.2605
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Programmer (FDAS mirror sync + replication + ACS mirror sync) — 2 days × PHP 1,000/hr × 8 hr | ls | 1 | 151260.5042 | 151260.5042
2 | Wireman (rack assembly × 2 + cabling) — 2 days × 2-person × PHP 350/hr × 8 hr | ls | 1 | 151260.5042 | 151260.5042
3 | EIC supervisory + Site Supervisor | ls | 1 | 75630.2521 | 75630.2521
C. EQUIPMENT USE |  |  |  | Subtotal: | 94537.8151
# | Description | Unit | Qty | Rate | Amount
1 | Lift + tools (2 days) | ls | 1 | 94537.8151 | 94537.8151
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 3151260.5042
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 346638.6555
F. PROFIT — 8% of Direct |  |  |  |  | 252100.8403
G. SUB-TOTAL (D + E + F) |  |  |  |  | 3750000
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 450000
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 4200000

## 32 ADD-04
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: ADD-04 |  |  | Unit: L.S. | Qty: 1
Description: FAT travel — Notifier facility, Northford CT, USA (3-person × 7 days)
Notes: Per TOR §3.8 + §8.11; D-016 separate line item
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 661764.7059
# | Description | Unit | Qty | Unit Cost | Amount
1 | Business RT airfare MNL ↔ Hartford × 3 @ PHP 250K | lot | 1 | 522794.1176 | 522794.1176
2 | Hotel (Northford, 7 nights × 3 @ PHP 12K/night) | lot | 1 | 178676.4706 | 178676.4706
3 | Travel insurance + visa + ground transport | lot | 1 | 39705.8824 | 39705.8824
B. LABOR |  |  |  | Subtotal: | 236344.5378
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Per diem (USD 100/day × 7 × 3 = USD 2,100) + witness fees | ls | 1 | 200892.8571 | 200892.8571
2 | Pre-trip prep + reporting labor | ls | 1 | 35451.6807 | 35451.6807
C. EQUIPMENT USE |  |  |  | Subtotal: | 47268.9076
# | Description | Unit | Qty | Rate | Amount
1 | Documentation + recording equipment for FAT | ls | 1 | 47268.9076 | 47268.9076
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 945378.1513
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 103991.5966
F. PROFIT — 8% of Direct |  |  |  |  | 75630.2521
G. SUB-TOTAL (D + E + F) |  |  |  |  | 1125000
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 135000
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 1260000

## 33 ADD-05
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: ADD-05 |  |  | Unit: L.S. | Qty: 1
Description: FAT travel — Suprema facility, Seongnam, South Korea (3-person × 7 days)
Notes: Per TOR §3.8 + §8.11
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 323004.2017
# | Description | Unit | Qty | Unit Cost | Amount
1 | RT airfare MNL ↔ ICN × 3 @ PHP 80K | lot | 1 | 180882.3529 | 180882.3529
2 | Hotel (Seongnam, 7 nights × 3 @ PHP 8K) | lot | 1 | 125971.6387 | 125971.6387
3 | Visa + travel insurance + ground transport | lot | 1 | 16150.2101 | 16150.2101
B. LABOR |  |  |  | Subtotal: | 115358.6435
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Per diem + witness fees (Korea) | ls | 1 | 98054.8469 | 98054.8469
2 | Pre-trip prep + reporting | ls | 1 | 17303.7965 | 17303.7965
C. EQUIPMENT USE |  |  |  | Subtotal: | 23071.7287
# | Description | Unit | Qty | Rate | Amount
1 | Documentation equipment for FAT | ls | 1 | 23071.7287 | 23071.7287
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 461434.5738
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 50757.8031
F. PROFIT — 8% of Direct |  |  |  |  | 36914.7659
G. SUB-TOTAL (D + E + F) |  |  |  |  | 549107.1429
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 65892.8571
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 615000

## 34 ADD-06
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: ADD-06 |  |  | Unit: Lot | Qty: 1
Description: 2-year recommended spare-parts kit (FDAS + ACS)
Notes: Per TOR §4.18-4.19; ~3-5% of equipment value
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 463310.3241
# | Description | Unit | Qty | Unit Cost | Amount
1 | Notifier device spares (smoke 10%, modules, batteries) | lot | 1 | 185324.1297 | 185324.1297
2 | Suprema spares (controller spare, BioMini Plus 2 backup, certificates kit) | lot | 1 | 115827.581 | 115827.581
3 | L2 switch spare (Hirschmann) | lot | 1 | 148259.3037 | 148259.3037
4 | UPS battery spare strings | lot | 1 | 13899.3097 | 13899.3097
B. LABOR |  |  |  | Subtotal: | 24384.7539
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Inventory log + tagging + storage prep | ls | 1 | 24384.7539 | 24384.7539
C. EQUIPMENT USE |  |  |  | Subtotal: | 0
(no equipment use for this line)
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 487695.078
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 53646.4586
F. PROFIT — 8% of Direct |  |  |  |  | 39015.6062
G. SUB-TOTAL (D + E + F) |  |  |  |  | 580357.1429
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 69642.8571
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 650000

## 35 ADD-07
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: ADD-07 |  |  | Unit: Lot | Qty: 1
Description: O&M Manual + Training material + Training delivery + Certificates
Notes: Per TOR §4.16-4.17, §4.22
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 112545.018
# | Description | Unit | Qty | Unit Cost | Amount
1 | Manual binding + signed/sealed copies | lot | 1 | 45018.0072 | 45018.0072
2 | Slide decks + lab guides + quick-reference cards | lot | 1 | 33763.5054 | 33763.5054
3 | Training certificates + venue prep | lot | 1 | 33763.5054 | 33763.5054
B. LABOR |  |  |  | Subtotal: | 243847.539
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Manual authoring (FDAS + ACS) — ~120 hr × PHP 1,000/hr | ls | 1 | 109731.3926 | 109731.3926
2 | Training delivery — 2 sessions × 2 days × PHP 8,000/day × 2 trainer | ls | 1 | 73154.2617 | 73154.2617
3 | Slide/lab guide development — ~80 hr × PHP 1,000/hr | ls | 1 | 60961.8848 | 60961.8848
C. EQUIPMENT USE |  |  |  | Subtotal: | 18757.503
# | Description | Unit | Qty | Rate | Amount
1 | Projector + lab kit + handouts printing | ls | 1 | 18757.503 | 18757.503
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 375150.06
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 41266.5066
F. PROFIT — 8% of Direct |  |  |  |  | 30012.0048
G. SUB-TOTAL (D + E + F) |  |  |  |  | 446428.5714
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 53571.4286
I. TOTAL per Lot (VAT-inclusive) |  |  |  |  | 500000

## 36 ADD-08
DETAILED UNIT PRICE ANALYSIS (DUPA)
Item No.: ADD-08 |  |  | Unit: L.S. | Qty: 1
Description: 3-year software support + upgrades (OnyxWorks + BioStar 2)
Notes: Per TOR §4.23; 30-day notice procedure
A. MATERIALS / EQUIPMENT |  |  |  | Subtotal: | 810324.1297
# | Description | Unit | Qty | Unit Cost | Amount
1 | OnyxWorks 3-yr support contract (Notifier ASEAN) | lot | 1 | 405162.0648 | 405162.0648
2 | BioStar 2 3-yr support contract (Suprema) | lot | 1 | 267406.9628 | 267406.9628
3 | Completion-version upgrade allowance | lot | 1 | 137755.102 | 137755.102
B. LABOR |  |  |  | Subtotal: | 90036.0144
# | Designation / Activity | Unit | Qty | Rate | Amount
1 | Annual upgrade coordination + remote support (allocation) | ls | 1 | 90036.0144 | 90036.0144
C. EQUIPMENT USE |  |  |  | Subtotal: | 0
(no equipment use for this line)
D. SUB-TOTAL DIRECT COST (A+B+C) |  |  |  |  | 900360.1441
E. OCM (Overhead, Contingencies, Miscellaneous) — 11% of Direct |  |  |  |  | 99039.6158
F. PROFIT — 8% of Direct |  |  |  |  | 72028.8115
G. SUB-TOTAL (D + E + F) |  |  |  |  | 1071428.5714
H. VAT — 12% of (D+E+F), embedded per A-401 |  |  |  |  | 128571.4286
I. TOTAL per L.S. (VAT-inclusive) |  |  |  |  | 1200000