## Summary
A2 — Equipment Takeoff, Audit View
Project | Kingsford Hotel Bacolod — BMS Rehabilitation (A/B run)
Canonical source | A2-equipment-takeoff.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total equipment instances | 125
Equipment classes | 24
Locations | 10
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 125 | 100%
⚠ Known weak points
Verify quantities and locations against mechanical / electrical drawings. The 'Make/Model' field is a generic class default — supplier RFQ refines.
How corrections flow
Edit A2-equipment-takeoff.yaml — add a verification: block to the affected row when location or count is confirmed/corrected.

## By Class
Equipment class | Count
Exhaust Fan (Toilet) | 32
Exhaust Fan (General) | 17
AHU (Chilled-Water-Served) | 10
Precooled Air Handling Unit | 8
Multifunction Power Meter (Feeder) | 7
Heat Pump | 6
Calorifier (Hot Water Storage Tank) | 6
Recirculating Pump | 6
Multifunction Power Meter (Main) | 4
Chiller (Package Water-Cooled) | 3
Cooling Tower | 3
DOAS Unit | 3
Primary CHW Pump | 3
Condenser Water Pump | 3
AHU (Modulating CHW-served) | 2
Steam Boiler | 2
Hot Water Header Set | 2
Ozone Generator (UV-light or Corona) | 2
CHW Bypass Header | 1
CHW Return Main Header | 1
CHW Supply Main Header | 1
Condenser Water Header | 1
Cooling Tower (Common) | 1
Primary CHW Pump (Standby) | 1
TOTAL | 125

## By Location
Location | Count
2nd Floor | 25
2nd Floor (Plant Room) | 22
3rd Floor (Guestroom) | 20
Roofdeck | 19
Ground Floor | 12
Lower Ground | 12
3rd Floor (Amenity) | 7
2nd Floor (Casino) | 5
Basement (Genset) | 2
Basement | 1

## Detail
ID | Class | Location | Panel | Primary C/O | Status | Verified by | Date | Drawing ref | Notes
AHU-1.1 | AHU (Chilled-Water-Served) | Ground Floor | FCP-GF | Equipment Supplier | unverified
AHU-1.2 | AHU (Chilled-Water-Served) | Ground Floor | FCP-GF | Equipment Supplier | unverified
AHU-1.3 | AHU (Chilled-Water-Served) | Ground Floor | FCP-GF | Equipment Supplier | unverified
AHU-2M.1 | AHU (Modulating CHW-served) | 2nd Floor (Casino) | FCP-2F | BMS Contractor | unverified
AHU-2M.2 | AHU (Modulating CHW-served) | 2nd Floor (Casino) | FCP-2F | BMS Contractor | unverified
AHU-B.1 | AHU (Chilled-Water-Served) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
AHU-B.2 | AHU (Chilled-Water-Served) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
AHU-B.3 | AHU (Chilled-Water-Served) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
AHU-EL | AHU (Chilled-Water-Served) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
AHU-FR2 | AHU (Chilled-Water-Served) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
AHU-FR3 | AHU (Chilled-Water-Served) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
AHU-PF | AHU (Chilled-Water-Served) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
ATS-1 | Multifunction Power Meter (Main) | Basement (Genset) | FCP-BSMT | EE Contractor | unverified
BLR-1 | Steam Boiler | Lower Ground | FCP-BSMT | Equipment Supplier | unverified
BLR-2 | Steam Boiler | Lower Ground | FCP-BSMT | Equipment Supplier | unverified
CH-1 | Chiller (Package Water-Cooled) | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
CH-2 | Chiller (Package Water-Cooled) | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
CH-3 | Chiller (Package Water-Cooled) | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
CHW-BYPASS | CHW Bypass Header | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
CHW-HDR-R | CHW Return Main Header | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
CHW-HDR-S | CHW Supply Main Header | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
COW-HDR | Condenser Water Header | Roofdeck | FCP-RD | BMS Contractor | unverified
CT-1 | Cooling Tower | Roofdeck | FCP-RD | BMS Contractor | unverified
CT-2 | Cooling Tower | Roofdeck | FCP-RD | BMS Contractor | unverified
CT-3 | Cooling Tower | Roofdeck | FCP-RD | BMS Contractor | unverified
CT-COMMON | Cooling Tower (Common) | Roofdeck | FCP-RD | BMS Contractor | unverified
DOAS-2M | DOAS Unit | 2nd Floor (Casino) | FCP-2F | Equipment Supplier | unverified
DOAS-RD.1 | DOAS Unit | Roofdeck | FCP-RD | Equipment Supplier | unverified
DOAS-RD.2 | DOAS Unit | Roofdeck | FCP-RD | Equipment Supplier | unverified
EF-1.2A | Exhaust Fan (General) | Ground Floor | FCP-GF | Equipment Supplier | unverified
EF-1MR.1 | Exhaust Fan (General) | Ground Floor | FCP-GF | Equipment Supplier | unverified
EF-1ST0.1 | Exhaust Fan (General) | Ground Floor | FCP-GF | Equipment Supplier | unverified
EF-2.1 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-2.2 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-2.3 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-2.4 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-2B.1 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-2B.2 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-3GE.1 | Exhaust Fan (General) | 3rd Floor (Amenity) | FCP-3F | Equipment Supplier | unverified
EF-3GE.2 | Exhaust Fan (General) | 3rd Floor (Amenity) | FCP-3F | Equipment Supplier | unverified
EF-CHR.1 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-CHR.2 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-GS.1 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-GS.2 | Exhaust Fan (General) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
EF-LPG.1 | Exhaust Fan (General) | Ground Floor | FCP-GF | Equipment Supplier | unverified
EF-MRF.1 | Exhaust Fan (General) | Ground Floor | FCP-GF | Equipment Supplier | unverified
GEN-1 | Multifunction Power Meter (Main) | Basement (Genset) | FCP-BSMT | EE Contractor | unverified
HP-HZ.1 | Heat Pump | Roofdeck | FCP-RD | Equipment Supplier | unverified
HP-HZ.2 | Heat Pump | Roofdeck | FCP-RD | Equipment Supplier | unverified
HP-HZ.3 | Heat Pump | Roofdeck | FCP-RD | Equipment Supplier | unverified
HP-LZ.1 | Heat Pump | Lower Ground | FCP-BSMT | Equipment Supplier | unverified
HP-LZ.2 | Heat Pump | Lower Ground | FCP-BSMT | Equipment Supplier | unverified
HP-LZ.3 | Heat Pump | Lower Ground | FCP-BSMT | Equipment Supplier | unverified
HW-HDR-HZ | Hot Water Header Set | Roofdeck | FCP-RD | BMS Contractor | unverified
HW-HDR-LZ | Hot Water Header Set | Lower Ground | FCP-BSMT | BMS Contractor | unverified
HWT-HZ.1 | Calorifier (Hot Water Storage Tank) | Roofdeck | FCP-RD | BMS Contractor | unverified
HWT-HZ.2 | Calorifier (Hot Water Storage Tank) | Roofdeck | FCP-RD | BMS Contractor | unverified
HWT-HZ.3 | Calorifier (Hot Water Storage Tank) | Roofdeck | FCP-RD | BMS Contractor | unverified
HWT-LZ.1 | Calorifier (Hot Water Storage Tank) | Lower Ground | FCP-BSMT | BMS Contractor | unverified
HWT-LZ.2 | Calorifier (Hot Water Storage Tank) | Lower Ground | FCP-BSMT | BMS Contractor | unverified
HWT-LZ.3 | Calorifier (Hot Water Storage Tank) | Lower Ground | FCP-BSMT | BMS Contractor | unverified
ION-2M.1 | Ozone Generator (UV-light or Corona) | 2nd Floor (Casino) | FCP-2F | Equipment Supplier | unverified
ION-2M.2 | Ozone Generator (UV-light or Corona) | 2nd Floor (Casino) | FCP-2F | Equipment Supplier | unverified
PAHU-0.1 | Precooled Air Handling Unit | Basement | FCP-BSMT | Equipment Supplier | unverified
PAHU-B1 | Precooled Air Handling Unit | 2nd Floor | FCP-2F | Equipment Supplier | unverified
PAHU-B2 | Precooled Air Handling Unit | 2nd Floor | FCP-2F | Equipment Supplier | unverified
PAHU-B3 | Precooled Air Handling Unit | 2nd Floor | FCP-2F | Equipment Supplier | unverified
PAHU-FR | Precooled Air Handling Unit | 2nd Floor | FCP-2F | Equipment Supplier | unverified
PAHU-PF | Precooled Air Handling Unit | 2nd Floor | FCP-2F | Equipment Supplier | unverified
PAHU-RD.1 | Precooled Air Handling Unit | Roofdeck | FCP-RD | Equipment Supplier | unverified
PAHU-RD.2 | Precooled Air Handling Unit | Roofdeck | FCP-RD | Equipment Supplier | unverified
PCHW-1 | Primary CHW Pump | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
PCHW-2 | Primary CHW Pump | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
PCHW-3 | Primary CHW Pump | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
PCHW-S | Primary CHW Pump (Standby) | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
PCOW-1 | Condenser Water Pump | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
PCOW-2 | Condenser Water Pump | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
PCOW-3 | Condenser Water Pump | 2nd Floor (Plant Room) | MCP-PLANT | Equipment Supplier | unverified
PM-GEN | Multifunction Power Meter (Main) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
PM-MAIN | Multifunction Power Meter (Main) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
PM-MCC-BOILER | Multifunction Power Meter (Feeder) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
PM-MCC-CHILLER | Multifunction Power Meter (Feeder) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
PM-MCC-CT | Multifunction Power Meter (Feeder) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
PM-MCC-FIRE-PUMP | Multifunction Power Meter (Feeder) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
PM-MCC-MDP-1 | Multifunction Power Meter (Feeder) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
PM-MCC-MDP-2 | Multifunction Power Meter (Feeder) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
PM-MCC-MDP-3 | Multifunction Power Meter (Feeder) | 2nd Floor (Plant Room) | MCP-PLANT | BMS Contractor | unverified
RP-HZ.1 | Recirculating Pump | Roofdeck | FCP-RD | Equipment Supplier | unverified
RP-HZ.2 | Recirculating Pump | Roofdeck | FCP-RD | Equipment Supplier | unverified
RP-HZ.3 | Recirculating Pump | Roofdeck | FCP-RD | Equipment Supplier | unverified
RP-LZ.1 | Recirculating Pump | Lower Ground | FCP-BSMT | Equipment Supplier | unverified
RP-LZ.2 | Recirculating Pump | Lower Ground | FCP-BSMT | Equipment Supplier | unverified
RP-LZ.3 | Recirculating Pump | Lower Ground | FCP-BSMT | Equipment Supplier | unverified
TEF-1.1 | Exhaust Fan (Toilet) | Ground Floor | FCP-GF | Equipment Supplier | unverified
TEF-1.2 | Exhaust Fan (Toilet) | Ground Floor | FCP-GF | Equipment Supplier | unverified
TEF-1.3 | Exhaust Fan (Toilet) | Ground Floor | FCP-GF | Equipment Supplier | unverified
TEF-1.4 | Exhaust Fan (Toilet) | Ground Floor | FCP-GF | Equipment Supplier | unverified
TEF-2.1 | Exhaust Fan (Toilet) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
TEF-2.3 | Exhaust Fan (Toilet) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
TEF-2B.3 | Exhaust Fan (Toilet) | 2nd Floor | FCP-2F | Equipment Supplier | unverified
TEF-3A.1 | Exhaust Fan (Toilet) | 3rd Floor (Amenity) | FCP-3F | Equipment Supplier | unverified
TEF-3A.2 | Exhaust Fan (Toilet) | 3rd Floor (Amenity) | FCP-3F | Equipment Supplier | unverified
TEF-3B.1 | Exhaust Fan (Toilet) | 3rd Floor (Amenity) | FCP-3F | Equipment Supplier | unverified
TEF-3C.1 | Exhaust Fan (Toilet) | 3rd Floor (Amenity) | FCP-3F | Equipment Supplier | unverified
TEF-3C.2 | Exhaust Fan (Toilet) | 3rd Floor (Amenity) | FCP-3F | Equipment Supplier | unverified
TEF-3D.1 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.10 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.11 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.12 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.13 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.14 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.15 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.16 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.17 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.18 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.19 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.2 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.20 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.3 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.4 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.5 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.6 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.7 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.8 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified
TEF-3D.9 | Exhaust Fan (Toilet) | 3rd Floor (Guestroom) | FCP-3F | Equipment Supplier | unverified

## Verification schema
How to record verification / corrections in A2-equipment-takeoff.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: AHU-01
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
corrected_location: 3rd Floor Mech Room # team's measured / confirmed value
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.