## Summary
A1 — I/O List, Audit View
Project | Kingsford Hotel Bacolod — BMS (AB-Run-2)
Canonical source | A1-io-list.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total I/O points | 474
Unique equipment instances | 59
Systems represented | 9
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 474 | 100%
⚠ Known weak points
Equipment quantities are derived from the customer's points list. Cross-verify against mechanical floor plans (Q-008) and architectural plans (Q-005). Where the points list shows aggregate counts without per-tag enumeration, the gap is captured as Q-021.
How corrections flow
Edit A1-io-list.yaml — add a verification: block to any row where you confirm or correct the equipment, location, or panel assignment.
Re-run the deliverables generator to refresh downstream artifacts.

## By System
System | Equipment instances | I/O points
Chilled Water Plant | 9 | 90
Exhaust | 9 | 27
Power Monitoring | 9 | 48
Hot Water | 8 | 20
Condenser Water Loop | 7 | 34
Ventilation | 6 | 108
Air Conditioning | 6 | 84
Casino Air Conditioning | 3 | 31
Boiler | 2 | 32
TOTAL | 59 | 474

## By Location
Location | Equipment instances
2F Chiller Plant Room | 13
Roofdeck DOAS | 7
2F Common Public | 7
Lower Ground Calorifier Room | 6
Roofdeck Cooling Tower | 5
Ground Floor Lobby | 4
Ground Floor Casino | 4
Lower Ground Boiler Room | 4
Basement BOH | 3
3F Amenity | 3
Ground Floor Restaurant | 1
Ground Floor Casino Lobby | 1
Lower Ground Main Switchgear | 1

## By Panel
Panel | Equipment instances
PNL-CH-PLANT-2F | 13
PNL-AIR-ROOF | 7
PNL-AIR-2F | 7
PNL-PL-LG | 7
PNL-CT-ROOF | 5
PNL-AIR-GF | 5
PNL-CASINO-GF | 5
PNL-AIR-BSMT | 3
PNL-AIR-3F | 3
PNL-BLR-LG | 3
PNL-PM-LG | 1

## Verification schema
How to record verification / corrections in A1-io-list.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: chws.ch-1.entering-chw-temp
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.