## Summary
A2 — Equipment Takeoff, Audit View
Project | Kingsford Hotel Bacolod — BMS (AB-Run-2)
Canonical source | A2-equipment-takeoff.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total equipment instances | 59
Equipment classes | 25
Locations | 13
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 59 | 100%
⚠ Known weak points
Verify quantities and locations against mechanical / electrical drawings. The 'Make/Model' field is a generic class default — supplier RFQ refines.
How corrections flow
Edit A2-equipment-takeoff.yaml — add a verification: block to the affected row when location or count is confirmed/corrected.

## By Class
Equipment class | Count
Multifunction Power Meter (Feeder) | 8
AHU (Chilled-Water-Served) | 5
Exhaust Fan (General) | 5
Exhaust Fan (Toilet) | 4
AHU (Modulating CHW-served) | 3
Condenser Water Pump | 3
DOAS Unit | 3
Recirculating Pump | 3
Precooled Air Handling Unit | 3
Steam Boiler | 2
Calorifier (Hot Water Storage Tank) | 2
Chiller (Package Water-Cooled) | 2
Primary CHW Pump | 2
Cooling Tower | 2
Heat Pump | 2
BTU Meter | 1
CHW Bypass Header | 1
CHW Return Main Header | 1
CHW Supply Main Header | 1
Primary CHW Pump (Standby) | 1
Cooling Tower (Common) | 1
Condenser Water Header | 1
Hot Water Header Set | 1
Ozone Generator (UV-light or Corona) | 1
Multifunction Power Meter (Main) | 1
TOTAL | 59

## By Location
Location | Count
2F Chiller Plant Room | 13
2F Common Public | 7
Roofdeck DOAS | 7
Lower Ground Calorifier Room | 6
Roofdeck Cooling Tower | 5
Ground Floor Casino | 4
Ground Floor Lobby | 4
Lower Ground Boiler Room | 4
3F Amenity | 3
Basement BOH | 3
Ground Floor Casino Lobby | 1
Ground Floor Restaurant | 1
Lower Ground Main Switchgear | 1

## Detail
ID | Class | Location | Panel | Primary C/O | Status | Verified by | Date | Drawing ref | Notes
AHU-2F-A | AHU (Chilled-Water-Served) | 2F Common Public | PNL-AIR-2F | Equipment Supplier | unverified
AHU-2F-B | AHU (Chilled-Water-Served) | 2F Common Public | PNL-AIR-2F | Equipment Supplier | unverified
AHU-3F-AM | AHU (Chilled-Water-Served) | 3F Amenity | PNL-AIR-3F | Equipment Supplier | unverified
AHU-CASINO-1 | AHU (Modulating CHW-served) | Ground Floor Casino | PNL-CASINO-GF | Equipment Supplier | unverified
AHU-CASINO-2 | AHU (Modulating CHW-served) | Ground Floor Casino | PNL-CASINO-GF | Equipment Supplier | unverified
AHU-GF-CASINO | AHU (Modulating CHW-served) | Ground Floor Casino Lobby | PNL-CASINO-GF | Equipment Supplier | unverified
AHU-GF-LOB | AHU (Chilled-Water-Served) | Ground Floor Lobby | PNL-AIR-GF | Equipment Supplier | unverified
AHU-GF-REST | AHU (Chilled-Water-Served) | Ground Floor Restaurant | PNL-AIR-GF | Equipment Supplier | unverified
BLR-1 | Steam Boiler | Lower Ground Boiler Room | PNL-BLR-LG | Equipment Supplier | unverified
BLR-2 | Steam Boiler | Lower Ground Boiler Room | PNL-BLR-LG | Equipment Supplier | unverified
BTU-CHW-MAIN | BTU Meter | 2F Chiller Plant Room | PNL-CH-PLANT-2F | BMS Contractor | unverified
CALOR-LG | Calorifier (Hot Water Storage Tank) | Lower Ground Calorifier Room | PNL-PL-LG | BMS Contractor | unverified
CALOR-ROOF | Calorifier (Hot Water Storage Tank) | Roofdeck DOAS | PNL-AIR-ROOF | BMS Contractor | unverified
CH-1 | Chiller (Package Water-Cooled) | 2F Chiller Plant Room | PNL-CH-PLANT-2F | Equipment Supplier | unverified
CH-2 | Chiller (Package Water-Cooled) | 2F Chiller Plant Room | PNL-CH-PLANT-2F | Equipment Supplier | unverified
CHW-BYP | CHW Bypass Header | 2F Chiller Plant Room | PNL-CH-PLANT-2F | BMS Contractor | unverified
CHW-RET-HDR | CHW Return Main Header | 2F Chiller Plant Room | PNL-CH-PLANT-2F | BMS Contractor | unverified
CHW-SUP-HDR | CHW Supply Main Header | 2F Chiller Plant Room | PNL-CH-PLANT-2F | BMS Contractor | unverified
CHWP-1 | Primary CHW Pump | 2F Chiller Plant Room | PNL-CH-PLANT-2F | Equipment Supplier | unverified
CHWP-2 | Primary CHW Pump | 2F Chiller Plant Room | PNL-CH-PLANT-2F | Equipment Supplier | unverified
CHWP-3 | Primary CHW Pump (Standby) | 2F Chiller Plant Room | PNL-CH-PLANT-2F | Equipment Supplier | unverified
CT-1 | Cooling Tower | Roofdeck Cooling Tower | PNL-CT-ROOF | BMS Contractor | unverified
CT-2 | Cooling Tower | Roofdeck Cooling Tower | PNL-CT-ROOF | BMS Contractor | unverified
CT-COMMON | Cooling Tower (Common) | Roofdeck Cooling Tower | PNL-CT-ROOF | BMS Contractor | unverified
CW-HDR | Condenser Water Header | Roofdeck Cooling Tower | PNL-CT-ROOF | BMS Contractor | unverified
CWP-1 | Condenser Water Pump | 2F Chiller Plant Room | PNL-CH-PLANT-2F | Equipment Supplier | unverified
CWP-2 | Condenser Water Pump | 2F Chiller Plant Room | PNL-CH-PLANT-2F | Equipment Supplier | unverified
CWP-3 | Condenser Water Pump | 2F Chiller Plant Room | PNL-CH-PLANT-2F | Equipment Supplier | unverified
DOAS-2F | DOAS Unit | 2F Common Public | PNL-AIR-2F | Equipment Supplier | unverified
DOAS-RD1 | DOAS Unit | Roofdeck DOAS | PNL-AIR-ROOF | Equipment Supplier | unverified
DOAS-RD2 | DOAS Unit | Roofdeck DOAS | PNL-AIR-ROOF | Equipment Supplier | unverified
EAS-GEN-2F | Exhaust Fan (General) | 2F Common Public | PNL-AIR-2F | Equipment Supplier | unverified
EAS-GEN-3F | Exhaust Fan (General) | 3F Amenity | PNL-AIR-3F | Equipment Supplier | unverified
EAS-GEN-BSMT | Exhaust Fan (General) | Basement BOH | PNL-AIR-BSMT | Equipment Supplier | unverified
EAS-GEN-GF | Exhaust Fan (General) | Ground Floor Lobby | PNL-AIR-GF | Equipment Supplier | unverified
EAS-GEN-ROOF | Exhaust Fan (General) | Roofdeck DOAS | PNL-AIR-ROOF | Equipment Supplier | unverified
EAS-TOILET-2F | Exhaust Fan (Toilet) | 2F Common Public | PNL-AIR-2F | Equipment Supplier | unverified
EAS-TOILET-3F | Exhaust Fan (Toilet) | 3F Amenity | PNL-AIR-3F | Equipment Supplier | unverified
EAS-TOILET-BSMT | Exhaust Fan (Toilet) | Basement BOH | PNL-AIR-BSMT | Equipment Supplier | unverified
EAS-TOILET-GF | Exhaust Fan (Toilet) | Ground Floor Lobby | PNL-AIR-GF | Equipment Supplier | unverified
HP-LG-1 | Heat Pump | Lower Ground Calorifier Room | PNL-PL-LG | Equipment Supplier | unverified
HP-ROOF-1 | Heat Pump | Roofdeck DOAS | PNL-AIR-ROOF | Equipment Supplier | unverified
HW-HEADERS-LG | Hot Water Header Set | Lower Ground Calorifier Room | PNL-PL-LG | BMS Contractor | unverified
HW-PUMP-LG-1 | Recirculating Pump | Lower Ground Calorifier Room | PNL-PL-LG | Equipment Supplier | unverified
HW-PUMP-LG-2 | Recirculating Pump | Lower Ground Calorifier Room | PNL-PL-LG | Equipment Supplier | unverified
HW-PUMP-ROOF-1 | Recirculating Pump | Roofdeck DOAS | PNL-AIR-ROOF | Equipment Supplier | unverified
OZ-CASINO-1 | Ozone Generator (UV-light or Corona) | Ground Floor Casino | PNL-CASINO-GF | Equipment Supplier | unverified
PAHU-2F | Precooled Air Handling Unit | 2F Common Public | PNL-AIR-2F | Equipment Supplier | unverified
PAHU-BSMT | Precooled Air Handling Unit | Basement BOH | PNL-AIR-BSMT | Equipment Supplier | unverified
PAHU-ROOF | Precooled Air Handling Unit | Roofdeck DOAS | PNL-AIR-ROOF | Equipment Supplier | unverified
PM-AIR-2F | Multifunction Power Meter (Feeder) | 2F Common Public | PNL-AIR-2F | BMS Contractor | unverified
PM-AIR-GF | Multifunction Power Meter (Feeder) | Ground Floor Lobby | PNL-AIR-GF | BMS Contractor | unverified
PM-BOILER | Multifunction Power Meter (Feeder) | Lower Ground Boiler Room | PNL-BLR-LG | BMS Contractor | unverified
PM-CASINO | Multifunction Power Meter (Feeder) | Ground Floor Casino | PNL-CASINO-GF | BMS Contractor | unverified
PM-CHILLER | Multifunction Power Meter (Feeder) | 2F Chiller Plant Room | PNL-CH-PLANT-2F | BMS Contractor | unverified
PM-COOLING | Multifunction Power Meter (Feeder) | Roofdeck Cooling Tower | PNL-CT-ROOF | BMS Contractor | unverified
PM-FIREPMP | Multifunction Power Meter (Feeder) | Lower Ground Boiler Room | PNL-PL-LG | BMS Contractor | unverified
PM-MAIN-LG | Multifunction Power Meter (Main) | Lower Ground Main Switchgear | PNL-PM-LG | BMS Contractor | unverified
PM-PLUMB | Multifunction Power Meter (Feeder) | Lower Ground Calorifier Room | PNL-PL-LG | BMS Contractor | unverified

## Verification schema
How to record verification / corrections in A2-equipment-takeoff.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: AHU-01
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
corrected_location: 3rd Floor Mech Room # team's measured / confirmed value
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.