## Summary
A1 — I/O List, Audit View
Project | Kingsford Hotel Bacolod — BMS
Canonical source | A1-io-list.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total I/O points | 554
Unique equipment instances | 161
Systems represented | 15
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 554 | 100%
⚠ Known weak points
Equipment quantities are derived from the customer's points list. Cross-verify against mechanical floor plans (Q-008) and architectural plans (Q-005). Where the points list shows aggregate counts without per-tag enumeration, the gap is captured as Q-021.
How corrections flow
Edit A1-io-list.yaml — add a verification: block to any row where you confirm or correct the equipment, location, or panel assignment.
Re-run the deliverables generator to refresh downstream artifacts.

## By System
System | Equipment instances | I/O points
VENT-FCU | 90 | 270
Power-EE | 13 | 13
HVAC-Chillers | 8 | 16
Network | 8 | 8
HVAC-Pumps | 7 | 29
VENT-AHU | 6 | 72
PL-Calorifiers | 6 | 6
PL-RecircPumps | 6 | 12
HVAC-Cooling-Towers | 4 | 20
VENT-EAS | 4 | 12
VENT-DOAS | 3 | 63
PL-HeatPumps | 3 | 9
VENT-PAHU | 1 | 10
PL-HotWater | 1 | 6
PL-Boiler | 1 | 8
TOTAL | 161 | 554

## By Location
Location | Equipment instances
2F | 35
GF | 33
3F | 32
Plant Room | 27
Sub-Distribution Board | 10
panel | 8
Roofdeck | 7
Plant Room (Basement) | 3
Basement | 3
Main Switchgear | 3

## By Panel
Panel | Equipment instances
PNL-GF | 47
PNL-2F | 35
PNL-3F | 33
PNL-CHPLANT-GND | 31
PNL-RD | 8
PNL-BSMT | 4
PNL-BOH-2F | 2
PNL-HE-GF | 1

## Verification schema
How to record verification / corrections in A1-io-list.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: chws.ch-1.entering-chw-temp
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.