## Summary
A2 — Equipment Takeoff, Audit View
Project | Kingsford Hotel Bacolod — BMS
Canonical source | A2-equipment-takeoff.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total equipment instances | 161
Equipment classes | 24
Locations | 10
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 161 | 100%
⚠ Known weak points
Verify quantities and locations against mechanical / electrical drawings. The 'Make/Model' field is a generic class default — supplier RFQ refines.
How corrections flow
Edit A2-equipment-takeoff.yaml — add a verification: block to the affected row when location or count is confirmed/corrected.

## By Class
Equipment class | Count
FCU (guestroom/zone, hardwired) | 90
Multifunction Power Meter (Feeder) | 10
BMS Network Drop | 8
AHU (Chilled-Water-Served) | 6
Calorifier (Hot Water Storage Tank) | 6
Recirculating Pump | 6
Exhaust Fan (General) | 4
Chiller (Package Water-Cooled) | 3
Primary CHW Pump | 3
Condenser Water Pump | 3
Cooling Tower | 3
DOAS Unit | 3
Heat Pump | 3
Multifunction Power Meter (Main) | 3
BTU Meter | 1
Primary CHW Pump (Standby) | 1
Cooling Tower (Common) | 1
CHW Bypass Header | 1
CHW Return Main Header | 1
CHW Supply Main Header | 1
Condenser Water Header | 1
Hot Water Header Set | 1
Precooled Air Handling Unit | 1
Steam Boiler | 1
TOTAL | 161

## By Location
Location | Count
2F | 35
GF | 33
3F | 32
Plant Room | 27
Sub-Distribution Board | 10
panel | 8
Roofdeck | 7
Basement | 3
Plant Room (Basement) | 3
Main Switchgear | 3

## Detail
ID | Class | Location | Panel | Primary C/O | Status | Verified by | Date | Drawing ref | Notes
AHU-AMEN-3F | AHU (Chilled-Water-Served) | 3F | PNL-3F | BMS Contractor | unverified
AHU-BALL-2F | AHU (Chilled-Water-Served) | 2F | PNL-2F | BMS Contractor | unverified
AHU-BOH-2F | AHU (Chilled-Water-Served) | 2F | PNL-BOH-2F | BMS Contractor | unverified
AHU-BOH-BSMT | AHU (Chilled-Water-Served) | Basement | PNL-BSMT | BMS Contractor | unverified
AHU-LOBBY-GF | AHU (Chilled-Water-Served) | GF | PNL-GF | BMS Contractor | unverified
AHU-REST-2F | AHU (Chilled-Water-Served) | 2F | PNL-2F | BMS Contractor | unverified
BTU-CHWS-MAIN | BTU Meter | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
CAL-1 | Calorifier (Hot Water Storage Tank) | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
CAL-2 | Calorifier (Hot Water Storage Tank) | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
CAL-3 | Calorifier (Hot Water Storage Tank) | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
CAL-4 | Calorifier (Hot Water Storage Tank) | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
CAL-5 | Calorifier (Hot Water Storage Tank) | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
CAL-6 | Calorifier (Hot Water Storage Tank) | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
CH-1 | Chiller (Package Water-Cooled) | Plant Room (Basement) | PNL-CHPLANT-GND | Equipment Supplier | unverified
CH-2 | Chiller (Package Water-Cooled) | Plant Room (Basement) | PNL-CHPLANT-GND | Equipment Supplier | unverified
CH-3 | Chiller (Package Water-Cooled) | Plant Room (Basement) | PNL-CHPLANT-GND | Equipment Supplier | unverified
CHWP-1.1 | Primary CHW Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
CHWP-1.2 | Primary CHW Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
CHWP-1.3 | Primary CHW Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
CHWP-1.STBY | Primary CHW Pump (Standby) | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
COWP-1 | Condenser Water Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
COWP-2 | Condenser Water Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
COWP-3 | Condenser Water Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
CT-1 | Cooling Tower | Roofdeck | PNL-RD | Equipment Supplier | unverified
CT-2 | Cooling Tower | Roofdeck | PNL-RD | Equipment Supplier | unverified
CT-3 | Cooling Tower | Roofdeck | PNL-RD | Equipment Supplier | unverified
CT-COMMON | Cooling Tower (Common) | Roofdeck | PNL-RD | BMS Contractor | unverified
DOAS-2F | DOAS Unit | 2F | PNL-2F | Equipment Supplier | unverified
DOAS-GF | DOAS Unit | GF | PNL-GF | Equipment Supplier | unverified
DOAS-RD | DOAS Unit | Roofdeck | PNL-RD | Equipment Supplier | unverified
EAS-2F | Exhaust Fan (General) | 2F | PNL-2F | Equipment Supplier | unverified
EAS-3F | Exhaust Fan (General) | 3F | PNL-3F | Equipment Supplier | unverified
EAS-BSMT | Exhaust Fan (General) | Basement | PNL-BSMT | Equipment Supplier | unverified
EAS-GF | Exhaust Fan (General) | GF | PNL-GF | Equipment Supplier | unverified
FCU-2F.01 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.02 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.03 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.04 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.05 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.06 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.07 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.08 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.09 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.10 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.11 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.12 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.13 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.14 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.15 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.16 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.17 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.18 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.19 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.20 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.21 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.22 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.23 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.24 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.25 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.26 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.27 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.28 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.29 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-2F.30 | FCU (guestroom/zone, hardwired) | 2F | PNL-2F | Equipment Supplier | unverified
FCU-3F.01 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.02 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.03 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.04 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.05 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.06 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.07 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.08 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.09 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.10 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.11 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.12 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.13 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.14 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.15 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.16 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.17 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.18 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.19 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.20 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.21 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.22 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.23 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.24 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.25 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.26 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.27 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.28 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.29 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-3F.30 | FCU (guestroom/zone, hardwired) | 3F | PNL-3F | Equipment Supplier | unverified
FCU-GF.01 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.02 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.03 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.04 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.05 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.06 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.07 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.08 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.09 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.10 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.11 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.12 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.13 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.14 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.15 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.16 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.17 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.18 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.19 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.20 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.21 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.22 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.23 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.24 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.25 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.26 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.27 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.28 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.29 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
FCU-GF.30 | FCU (guestroom/zone, hardwired) | GF | PNL-GF | Equipment Supplier | unverified
HDR-CHW-BP | CHW Bypass Header | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
HDR-CHWR | CHW Return Main Header | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
HDR-CHWS | CHW Supply Main Header | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
HDR-COW | Condenser Water Header | Roofdeck | PNL-RD | BMS Contractor | unverified
HDR-HW | Hot Water Header Set | Plant Room | PNL-CHPLANT-GND | BMS Contractor | unverified
HP-1 | Heat Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
HP-2 | Heat Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
HP-3 | Heat Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
MTR-FDR-01 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-02 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-03 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-04 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-05 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-06 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-07 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-08 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-09 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-FDR-10 | Multifunction Power Meter (Feeder) | Sub-Distribution Board | PNL-GF | BMS Contractor | unverified
MTR-MAIN-1 | Multifunction Power Meter (Main) | Main Switchgear | PNL-GF | BMS Contractor | unverified
MTR-MAIN-2 | Multifunction Power Meter (Main) | Main Switchgear | PNL-GF | BMS Contractor | unverified
MTR-MAIN-3 | Multifunction Power Meter (Main) | Main Switchgear | PNL-GF | BMS Contractor | unverified
NET-PNL-2F | BMS Network Drop | panel | PNL-2F | BMS Contractor | unverified
NET-PNL-3F | BMS Network Drop | panel | PNL-3F | BMS Contractor | unverified
NET-PNL-BOH-2F | BMS Network Drop | panel | PNL-BOH-2F | BMS Contractor | unverified
NET-PNL-BSMT | BMS Network Drop | panel | PNL-BSMT | BMS Contractor | unverified
NET-PNL-CHPLANT-GND | BMS Network Drop | panel | PNL-CHPLANT-GND | BMS Contractor | unverified
NET-PNL-GF | BMS Network Drop | panel | PNL-GF | BMS Contractor | unverified
NET-PNL-HE-GF | BMS Network Drop | panel | PNL-HE-GF | BMS Contractor | unverified
NET-PNL-RD | BMS Network Drop | panel | PNL-RD | BMS Contractor | unverified
PAHU-RD | Precooled Air Handling Unit | Roofdeck | PNL-RD | Equipment Supplier | unverified
RP-1 | Recirculating Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
RP-2 | Recirculating Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
RP-3 | Recirculating Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
RP-4 | Recirculating Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
RP-5 | Recirculating Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
RP-6 | Recirculating Pump | Plant Room | PNL-CHPLANT-GND | Equipment Supplier | unverified
SB-1 | Steam Boiler | Basement | PNL-BSMT | BMS Contractor | unverified

## Verification schema
How to record verification / corrections in A2-equipment-takeoff.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: AHU-01
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
corrected_location: 3rd Floor Mech Room # team's measured / confirmed value
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.