## Summary
A2 — Equipment Takeoff Summary
Total instances | 161
By equipment class
FCU (guestroom/zone, hardwired) | 90
Multifunction Power Meter (Feeder) | 10
BMS Network Drop | 8
AHU (Chilled-Water-Served) | 6
Calorifier (Hot Water Storage Tank) | 6
Recirculating Pump | 6
Exhaust Fan (General) | 4
Chiller (Package Water-Cooled) | 3
Primary CHW Pump | 3
Condenser Water Pump | 3
Cooling Tower | 3
DOAS Unit | 3
Heat Pump | 3
Multifunction Power Meter (Main) | 3
BTU Meter | 1
Primary CHW Pump (Standby) | 1
Cooling Tower (Common) | 1
CHW Bypass Header | 1
CHW Return Main Header | 1
CHW Supply Main Header | 1
Condenser Water Header | 1
Hot Water Header Set | 1
Precooled Air Handling Unit | 1
Steam Boiler | 1
By location
2F | 35
GF | 33
3F | 32
Plant Room | 27
Sub-Distribution Board | 10
panel | 8
Roofdeck | 7
Basement | 3
Plant Room (Basement) | 3
Main Switchgear | 3
By panel
PNL-GF | 47
PNL-2F | 35
PNL-3F | 33
PNL-CHPLANT-GND | 31
PNL-RD | 8
PNL-BSMT | 4
PNL-BOH-2F | 2
PNL-HE-GF | 1

## Equipment Takeoff
ID | Equipment Class | Quantity | Location | System | Panel | Primary C/O | Physical I/O | HLI Subpoints | Network Drops | Total I/O | Make/Model Assumed | Network Type | Typical Supplier | Notes
AHU-AMEN-3F | AHU (Chilled-Water-Served) | 1 | 3F | VENT-AHU | PNL-3F | BMS Contractor | 12 | 0 | 0 | 12 | Standard CHW-served AHU with VFD-driven supply fan, modulating CHW valve, and OA/RA dampers | Hardwired (VFD via BACnet HLI) | Mechanical contractor | BMS supplies sensors (T/RH/CO2). Dampers and CHW valve supplied by ME contractor. Fan + VFD by Equipment Supplier.
AHU-BALL-2F | AHU (Chilled-Water-Served) | 1 | 2F | VENT-AHU | PNL-2F | BMS Contractor | 12 | 0 | 0 | 12 | Standard CHW-served AHU with VFD-driven supply fan, modulating CHW valve, and OA/RA dampers | Hardwired (VFD via BACnet HLI) | Mechanical contractor | BMS supplies sensors (T/RH/CO2). Dampers and CHW valve supplied by ME contractor. Fan + VFD by Equipment Supplier.
AHU-BOH-2F | AHU (Chilled-Water-Served) | 1 | 2F | VENT-AHU | PNL-BOH-2F | BMS Contractor | 12 | 0 | 0 | 12 | Standard CHW-served AHU with VFD-driven supply fan, modulating CHW valve, and OA/RA dampers | Hardwired (VFD via BACnet HLI) | Mechanical contractor | BMS supplies sensors (T/RH/CO2). Dampers and CHW valve supplied by ME contractor. Fan + VFD by Equipment Supplier.
AHU-BOH-BSMT | AHU (Chilled-Water-Served) | 1 | Basement | VENT-AHU | PNL-BSMT | BMS Contractor | 12 | 0 | 0 | 12 | Standard CHW-served AHU with VFD-driven supply fan, modulating CHW valve, and OA/RA dampers | Hardwired (VFD via BACnet HLI) | Mechanical contractor | BMS supplies sensors (T/RH/CO2). Dampers and CHW valve supplied by ME contractor. Fan + VFD by Equipment Supplier.
AHU-LOBBY-GF | AHU (Chilled-Water-Served) | 1 | GF | VENT-AHU | PNL-GF | BMS Contractor | 12 | 0 | 0 | 12 | Standard CHW-served AHU with VFD-driven supply fan, modulating CHW valve, and OA/RA dampers | Hardwired (VFD via BACnet HLI) | Mechanical contractor | BMS supplies sensors (T/RH/CO2). Dampers and CHW valve supplied by ME contractor. Fan + VFD by Equipment Supplier.
AHU-REST-2F | AHU (Chilled-Water-Served) | 1 | 2F | VENT-AHU | PNL-2F | BMS Contractor | 12 | 0 | 0 | 12 | Standard CHW-served AHU with VFD-driven supply fan, modulating CHW valve, and OA/RA dampers | Hardwired (VFD via BACnet HLI) | Mechanical contractor | BMS supplies sensors (T/RH/CO2). Dampers and CHW valve supplied by ME contractor. Fan + VFD by Equipment Supplier.
BTU-CHWS-MAIN | BTU Meter | 1 | Plant Room | HVAC-Chillers | PNL-CHPLANT-GND | BMS Contractor | 0 | 1 | 0 | 1 | Ultrasonic or insertion-type BTU meter with Modbus output (Onicon, Aichi, Kamstrup) | Modbus RTU/TCP | BMS contractor | System-level energy submeter.
CAL-1 | Calorifier (Hot Water Storage Tank) | 1 | Plant Room | PL-Calorifiers | PNL-CHPLANT-GND | BMS Contractor | 1 | 0 | 0 | 1 | Pressurised hot-water storage tank with internal coil, sized per design hot water demand | Hardwired | Plumbing contractor | BMS supplies tank temperature sensor (immersion or strapped probe).
CAL-2 | Calorifier (Hot Water Storage Tank) | 1 | Plant Room | PL-Calorifiers | PNL-CHPLANT-GND | BMS Contractor | 1 | 0 | 0 | 1 | Pressurised hot-water storage tank with internal coil, sized per design hot water demand | Hardwired | Plumbing contractor | BMS supplies tank temperature sensor (immersion or strapped probe).
CAL-3 | Calorifier (Hot Water Storage Tank) | 1 | Plant Room | PL-Calorifiers | PNL-CHPLANT-GND | BMS Contractor | 1 | 0 | 0 | 1 | Pressurised hot-water storage tank with internal coil, sized per design hot water demand | Hardwired | Plumbing contractor | BMS supplies tank temperature sensor (immersion or strapped probe).
CAL-4 | Calorifier (Hot Water Storage Tank) | 1 | Plant Room | PL-Calorifiers | PNL-CHPLANT-GND | BMS Contractor | 1 | 0 | 0 | 1 | Pressurised hot-water storage tank with internal coil, sized per design hot water demand | Hardwired | Plumbing contractor | BMS supplies tank temperature sensor (immersion or strapped probe).
CAL-5 | Calorifier (Hot Water Storage Tank) | 1 | Plant Room | PL-Calorifiers | PNL-CHPLANT-GND | BMS Contractor | 1 | 0 | 0 | 1 | Pressurised hot-water storage tank with internal coil, sized per design hot water demand | Hardwired | Plumbing contractor | BMS supplies tank temperature sensor (immersion or strapped probe).
CAL-6 | Calorifier (Hot Water Storage Tank) | 1 | Plant Room | PL-Calorifiers | PNL-CHPLANT-GND | BMS Contractor | 1 | 0 | 0 | 1 | Pressurised hot-water storage tank with internal coil, sized per design hot water demand | Hardwired | Plumbing contractor | BMS supplies tank temperature sensor (immersion or strapped probe).
CH-1 | Chiller (Package Water-Cooled) | 1 | Plant Room (Basement) | HVAC-Chillers | PNL-CHPLANT-GND | Equipment Supplier | 0 | 1 | 0 | 1 | Tier-1 BACnet IP chiller (Trane/York/Carrier/Daikin), water-cooled centrifugal or screw, sized per design cooling load | BACnet/IP | Mechanical contractor / Equipment supplier | BMS reads via chiller's native BACnet gateway. BMS supplies external T-sensors on entering/leaving CHW & CW pipes.
CH-2 | Chiller (Package Water-Cooled) | 1 | Plant Room (Basement) | HVAC-Chillers | PNL-CHPLANT-GND | Equipment Supplier | 0 | 1 | 0 | 1 | Tier-1 BACnet IP chiller (Trane/York/Carrier/Daikin), water-cooled centrifugal or screw, sized per design cooling load | BACnet/IP | Mechanical contractor / Equipment supplier | BMS reads via chiller's native BACnet gateway. BMS supplies external T-sensors on entering/leaving CHW & CW pipes.
CH-3 | Chiller (Package Water-Cooled) | 1 | Plant Room (Basement) | HVAC-Chillers | PNL-CHPLANT-GND | Equipment Supplier | 0 | 1 | 0 | 1 | Tier-1 BACnet IP chiller (Trane/York/Carrier/Daikin), water-cooled centrifugal or screw, sized per design cooling load | BACnet/IP | Mechanical contractor / Equipment supplier | BMS reads via chiller's native BACnet gateway. BMS supplies external T-sensors on entering/leaving CHW & CW pipes.
CHWP-1.1 | Primary CHW Pump | 1 | Plant Room | HVAC-Pumps | PNL-CHPLANT-GND | Equipment Supplier | 3 | 2 | 0 | 5 | End-suction or split-case centrifugal with VFD, sized per design CHW flow | Hardwired (BMS reads VFD via BACnet HLI) | Mechanical contractor | VFD typically Equipment Supplier provided with BACnet card.
CHWP-1.2 | Primary CHW Pump | 1 | Plant Room | HVAC-Pumps | PNL-CHPLANT-GND | Equipment Supplier | 3 | 2 | 0 | 5 | End-suction or split-case centrifugal with VFD, sized per design CHW flow | Hardwired (BMS reads VFD via BACnet HLI) | Mechanical contractor | VFD typically Equipment Supplier provided with BACnet card.
CHWP-1.3 | Primary CHW Pump | 1 | Plant Room | HVAC-Pumps | PNL-CHPLANT-GND | Equipment Supplier | 3 | 2 | 0 | 5 | End-suction or split-case centrifugal with VFD, sized per design CHW flow | Hardwired (BMS reads VFD via BACnet HLI) | Mechanical contractor | VFD typically Equipment Supplier provided with BACnet card.
CHWP-1.STBY | Primary CHW Pump (Standby) | 1 | Plant Room | HVAC-Pumps | PNL-CHPLANT-GND | Equipment Supplier | 2 | 0 | 0 | 2 | Same as Primary CHW Pump (1 standby for N+1 redundancy) | Hardwired (BMS reads VFD via BACnet HLI) | Mechanical contractor | Standby unit per A-CHW-001.
COWP-1 | Condenser Water Pump | 1 | Plant Room | HVAC-Pumps | PNL-CHPLANT-GND | Equipment Supplier | 4 | 0 | 0 | 4 | End-suction or split-case centrifugal, fixed-speed (typical) or VFD (energy-conscious) | Hardwired | Mechanical contractor | BMS reads aux contacts; commands start via DO.
COWP-2 | Condenser Water Pump | 1 | Plant Room | HVAC-Pumps | PNL-CHPLANT-GND | Equipment Supplier | 4 | 0 | 0 | 4 | End-suction or split-case centrifugal, fixed-speed (typical) or VFD (energy-conscious) | Hardwired | Mechanical contractor | BMS reads aux contacts; commands start via DO.
COWP-3 | Condenser Water Pump | 1 | Plant Room | HVAC-Pumps | PNL-CHPLANT-GND | Equipment Supplier | 4 | 0 | 0 | 4 | End-suction or split-case centrifugal, fixed-speed (typical) or VFD (energy-conscious) | Hardwired | Mechanical contractor | BMS reads aux contacts; commands start via DO.
CT-1 | Cooling Tower | 1 | Roofdeck | HVAC-Cooling-Towers | PNL-RD | Equipment Supplier | 6 | 0 | 0 | 6 | Induced-draft counterflow open cooling tower (Marley/BAC/EVAPCO), sized per condenser water flow | Hardwired | Mechanical contractor / Equipment supplier | BMS supplies basin level sensors and condenser water header T-sensors.
CT-2 | Cooling Tower | 1 | Roofdeck | HVAC-Cooling-Towers | PNL-RD | Equipment Supplier | 6 | 0 | 0 | 6 | Induced-draft counterflow open cooling tower (Marley/BAC/EVAPCO), sized per condenser water flow | Hardwired | Mechanical contractor / Equipment supplier | BMS supplies basin level sensors and condenser water header T-sensors.
CT-3 | Cooling Tower | 1 | Roofdeck | HVAC-Cooling-Towers | PNL-RD | Equipment Supplier | 6 | 0 | 0 | 6 | Induced-draft counterflow open cooling tower (Marley/BAC/EVAPCO), sized per condenser water flow | Hardwired | Mechanical contractor / Equipment supplier | BMS supplies basin level sensors and condenser water header T-sensors.
CT-COMMON | Cooling Tower (Common) | 1 | Roofdeck | HVAC-Cooling-Towers | PNL-RD | BMS Contractor | 2 | 0 | 0 | 2 | Common BMS sensors at cooling tower area (OA T/RH, condenser headers) | Hardwired | BMS contractor | Field instrumentation only — no equipment per se.
DOAS-2F | DOAS Unit | 1 | 2F | VENT-DOAS | PNL-2F | Equipment Supplier | 21 | 0 | 0 | 21 | Dedicated Outdoor Air System with energy recovery wheel, supply + exhaust fans, CHW coil | BACnet/IP | Mechanical contractor / Equipment supplier | Native BACnet controller typical. BMS supplies external sensors (OA T/RH/Flow, indoor T/RH, exhaust T) and modulating valve actuator.
DOAS-GF | DOAS Unit | 1 | GF | VENT-DOAS | PNL-GF | Equipment Supplier | 21 | 0 | 0 | 21 | Dedicated Outdoor Air System with energy recovery wheel, supply + exhaust fans, CHW coil | BACnet/IP | Mechanical contractor / Equipment supplier | Native BACnet controller typical. BMS supplies external sensors (OA T/RH/Flow, indoor T/RH, exhaust T) and modulating valve actuator.
DOAS-RD | DOAS Unit | 1 | Roofdeck | VENT-DOAS | PNL-RD | Equipment Supplier | 21 | 0 | 0 | 21 | Dedicated Outdoor Air System with energy recovery wheel, supply + exhaust fans, CHW coil | BACnet/IP | Mechanical contractor / Equipment supplier | Native BACnet controller typical. BMS supplies external sensors (OA T/RH/Flow, indoor T/RH, exhaust T) and modulating valve actuator.
EAS-2F | Exhaust Fan (General) | 1 | 2F | VENT-EAS | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | Constant-speed in-line, ceiling, or roof-mounted general exhaust fan | Hardwired | Mechanical contractor | BMS reads aux contacts only — no control points.
EAS-3F | Exhaust Fan (General) | 1 | 3F | VENT-EAS | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | Constant-speed in-line, ceiling, or roof-mounted general exhaust fan | Hardwired | Mechanical contractor | BMS reads aux contacts only — no control points.
EAS-BSMT | Exhaust Fan (General) | 1 | Basement | VENT-EAS | PNL-BSMT | Equipment Supplier | 3 | 0 | 0 | 3 | Constant-speed in-line, ceiling, or roof-mounted general exhaust fan | Hardwired | Mechanical contractor | BMS reads aux contacts only — no control points.
EAS-GF | Exhaust Fan (General) | 1 | GF | VENT-EAS | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | Constant-speed in-line, ceiling, or roof-mounted general exhaust fan | Hardwired | Mechanical contractor | BMS reads aux contacts only — no control points.
FCU-2F.01 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.02 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.03 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.04 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.05 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.06 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.07 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.08 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.09 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.10 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.11 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.12 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.13 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.14 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.15 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.16 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.17 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.18 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.19 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.20 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.21 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.22 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.23 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.24 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.25 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.26 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.27 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.28 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.29 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-2F.30 | FCU (guestroom/zone, hardwired) | 1 | 2F | VENT-FCU | PNL-2F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.01 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.02 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.03 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.04 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.05 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.06 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.07 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.08 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.09 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.10 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.11 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.12 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.13 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.14 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.15 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.16 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.17 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.18 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.19 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.20 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.21 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.22 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.23 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.24 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.25 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.26 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.27 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.28 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.29 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-3F.30 | FCU (guestroom/zone, hardwired) | 1 | 3F | VENT-FCU | PNL-3F | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.01 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.02 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.03 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.04 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.05 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.06 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.07 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.08 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.09 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.10 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.11 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.12 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.13 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.14 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.15 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.16 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.17 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.18 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.19 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.20 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.21 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.22 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.23 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.24 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.25 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.26 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.27 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.28 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.29 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
FCU-GF.30 | FCU (guestroom/zone, hardwired) | 1 | GF | VENT-FCU | PNL-GF | Equipment Supplier | 3 | 0 | 0 | 3 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
HDR-CHW-BP | CHW Bypass Header | 1 | Plant Room | HVAC-Chillers | PNL-CHPLANT-GND | BMS Contractor | 3 | 0 | 0 | 3 | BMS dP/dT sensors + motorized bypass valve (BMS-supplied) | Hardwired | BMS contractor | BMS controls bypass valve to maintain CHW differential.
HDR-CHWR | CHW Return Main Header | 1 | Plant Room | HVAC-Chillers | PNL-CHPLANT-GND | BMS Contractor | 3 | 0 | 0 | 3 | BMS T+P sensors on CHW return manifold | Hardwired | BMS contractor | Field instrumentation only.
HDR-CHWS | CHW Supply Main Header | 1 | Plant Room | HVAC-Chillers | PNL-CHPLANT-GND | BMS Contractor | 3 | 0 | 0 | 3 | BMS T+P sensors on CHW supply manifold | Hardwired | BMS contractor | Field instrumentation only.
HDR-COW | Condenser Water Header | 1 | Roofdeck | HVAC-Chillers | PNL-RD | BMS Contractor | 3 | 0 | 0 | 3 | BMS T sensors on condenser water headers at roofdeck | Hardwired | BMS contractor | Field instrumentation only.
HDR-HW | Hot Water Header Set | 1 | Plant Room | PL-HotWater | PNL-CHPLANT-GND | BMS Contractor | 6 | 0 | 0 | 6 | Hot water supply/return manifolds with BMS T sensors and make-up cold water T sensor | Hardwired | BMS contractor | Field instrumentation on existing piping.
HP-1 | Heat Pump | 1 | Plant Room | PL-HeatPumps | PNL-CHPLANT-GND | Equipment Supplier | 3 | 0 | 0 | 3 | Air-source or water-source heat pump for hot water heating | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor / Equipment supplier | BMS reads pump status/HOA/trip via aux contacts.
HP-2 | Heat Pump | 1 | Plant Room | PL-HeatPumps | PNL-CHPLANT-GND | Equipment Supplier | 3 | 0 | 0 | 3 | Air-source or water-source heat pump for hot water heating | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor / Equipment supplier | BMS reads pump status/HOA/trip via aux contacts.
HP-3 | Heat Pump | 1 | Plant Room | PL-HeatPumps | PNL-CHPLANT-GND | Equipment Supplier | 3 | 0 | 0 | 3 | Air-source or water-source heat pump for hot water heating | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor / Equipment supplier | BMS reads pump status/HOA/trip via aux contacts.
MTR-FDR-01 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-02 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-03 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-04 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-05 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-06 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-07 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-08 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-09 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-FDR-10 | Multifunction Power Meter (Feeder) | 1 | Sub-Distribution Board | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output, sub-feeder class (smaller form factor) | Modbus RTU | BMS contractor | Daisy-chained on Modbus bus(es) back to BMS gateway.
MTR-MAIN-1 | Multifunction Power Meter (Main) | 1 | Main Switchgear | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output (Schneider PM-series, ABB M2M, Siemens SENTRON), main switchgear class | Modbus RTU/TCP | BMS contractor | Mounted in main switchgear or on dedicated BMS-side panel.
MTR-MAIN-2 | Multifunction Power Meter (Main) | 1 | Main Switchgear | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output (Schneider PM-series, ABB M2M, Siemens SENTRON), main switchgear class | Modbus RTU/TCP | BMS contractor | Mounted in main switchgear or on dedicated BMS-side panel.
MTR-MAIN-3 | Multifunction Power Meter (Main) | 1 | Main Switchgear | Power-EE | PNL-GF | BMS Contractor | 0 | 1 | 0 | 1 | Multifunction power meter with Modbus output (Schneider PM-series, ABB M2M, Siemens SENTRON), main switchgear class | Modbus RTU/TCP | BMS contractor | Mounted in main switchgear or on dedicated BMS-side panel.
NET-PNL-2F | BMS Network Drop | 1 | panel | Network | PNL-2F | BMS Contractor | 0 | 0 | 1 | 1 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
NET-PNL-3F | BMS Network Drop | 1 | panel | Network | PNL-3F | BMS Contractor | 0 | 0 | 1 | 1 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
NET-PNL-BOH-2F | BMS Network Drop | 1 | panel | Network | PNL-BOH-2F | BMS Contractor | 0 | 0 | 1 | 1 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
NET-PNL-BSMT | BMS Network Drop | 1 | panel | Network | PNL-BSMT | BMS Contractor | 0 | 0 | 1 | 1 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
NET-PNL-CHPLANT-GND | BMS Network Drop | 1 | panel | Network | PNL-CHPLANT-GND | BMS Contractor | 0 | 0 | 1 | 1 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
NET-PNL-GF | BMS Network Drop | 1 | panel | Network | PNL-GF | BMS Contractor | 0 | 0 | 1 | 1 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
NET-PNL-HE-GF | BMS Network Drop | 1 | panel | Network | PNL-HE-GF | BMS Contractor | 0 | 0 | 1 | 1 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
NET-PNL-RD | BMS Network Drop | 1 | panel | Network | PNL-RD | BMS Contractor | 0 | 0 | 1 | 1 | (class default not defined — add to equipment-class-defaults.yaml) | TBD | TBD
PAHU-RD | Precooled Air Handling Unit | 1 | Roofdeck | VENT-PAHU | PNL-RD | Equipment Supplier | 10 | 0 | 0 | 10 | Precool AHU at Roofdeck with CHW coil, VFD-driven fresh air fan; no exhaust path | Hardwired (VFD via BACnet HLI) | Mechanical contractor / Equipment supplier | Precool function: cools outdoor air before it's distributed to other systems. BMS supplies OA/supply T sensors.
RP-1 | Recirculating Pump | 1 | Plant Room | PL-RecircPumps | PNL-CHPLANT-GND | Equipment Supplier | 2 | 0 | 0 | 2 | Hot water recirculating pump, fixed-speed (typical for hotwater systems) | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor | BMS reads aux contacts only.
RP-2 | Recirculating Pump | 1 | Plant Room | PL-RecircPumps | PNL-CHPLANT-GND | Equipment Supplier | 2 | 0 | 0 | 2 | Hot water recirculating pump, fixed-speed (typical for hotwater systems) | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor | BMS reads aux contacts only.
RP-3 | Recirculating Pump | 1 | Plant Room | PL-RecircPumps | PNL-CHPLANT-GND | Equipment Supplier | 2 | 0 | 0 | 2 | Hot water recirculating pump, fixed-speed (typical for hotwater systems) | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor | BMS reads aux contacts only.
RP-4 | Recirculating Pump | 1 | Plant Room | PL-RecircPumps | PNL-CHPLANT-GND | Equipment Supplier | 2 | 0 | 0 | 2 | Hot water recirculating pump, fixed-speed (typical for hotwater systems) | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor | BMS reads aux contacts only.
RP-5 | Recirculating Pump | 1 | Plant Room | PL-RecircPumps | PNL-CHPLANT-GND | Equipment Supplier | 2 | 0 | 0 | 2 | Hot water recirculating pump, fixed-speed (typical for hotwater systems) | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor | BMS reads aux contacts only.
RP-6 | Recirculating Pump | 1 | Plant Room | PL-RecircPumps | PNL-CHPLANT-GND | Equipment Supplier | 2 | 0 | 0 | 2 | Hot water recirculating pump, fixed-speed (typical for hotwater systems) | Hardwired (LZ) or HLI (HZ — per A-PL-001) | Plumbing contractor | BMS reads aux contacts only.
SB-1 | Steam Boiler | 1 | Basement | PL-Boiler | PNL-BSMT | BMS Contractor | 8 | 0 | 0 | 8 | Fire-tube steam boiler with multi-stage burner, fuel-oil fired (typical for hotel laundry) | Hardwired | Mechanical contractor / Equipment supplier | BMS supplies steam pressure, feedwater T, fluegas T+O2 sensors. Boiler equipment provides aux contacts for status/HOA/trip points.