## Summary
A4 — Panel Schedule Summary
Total panels | 8
Total physical I/O | 523
Total HLI subpoints | 23
Total network drops | 8
Total I/O points | 554
Estimated total controllers | 21
Estimated total power (W) | 565

## Panel Schedule
Panel | Location | System Scope | Equipment Count | Physical I/O | HLI Subpoints | Network Drops | Total I/O | DDC Controllers | Network Gateway | Total Controllers | Power (W) | Enclosure
PNL-2F | 2F / panel | Network, VENT-AHU, VENT-DOAS, VENT-EAS, VENT-FCU | 35 | 138 | 0 | 1 | 139 | 4 | 1 | 4 | 105 | Wall-mount IP54 metal cabinet, sized per controller count + 30% spare
PNL-3F | 3F / panel | Network, VENT-AHU, VENT-EAS, VENT-FCU | 33 | 105 | 0 | 1 | 106 | 3 | 1 | 3 | 80 | Wall-mount IP54 metal cabinet, sized per controller count + 30% spare
PNL-BOH-2F | 2F / panel | Network, VENT-AHU | 2 | 12 | 0 | 1 | 13 | 1 | 1 | 2 | 55 | Wall-mount IP54 metal cabinet, sized per controller count + 30% spare
PNL-BSMT | Basement / panel | Network, PL-Boiler, VENT-AHU, VENT-EAS | 4 | 23 | 0 | 1 | 24 | 1 | 1 | 2 | 55 | Wall-mount IP54 metal cabinet, sized per controller count + 30% spare
PNL-CHPLANT-GND | Plant Room / Plant Room (Basement) / panel | HVAC-Chillers, HVAC-Pumps, Network, PL-Calorifiers, PL-HeatPumps, PL-HotWater, PL-RecircPumps | 31 | 65 | 10 | 1 | 76 | 2 | 1 | 2 | 55 | Wall-mount IP54 metal cabinet, sized per controller count + 30% spare
PNL-GF | GF / Main Switchgear / Sub-Distribution Board / panel | Network, Power-EE, VENT-AHU, VENT-DOAS, VENT-EAS, VENT-FCU | 47 | 126 | 13 | 1 | 140 | 4 | 1 | 4 | 105 | Wall-mount IP54 metal cabinet, sized per controller count + 30% spare
PNL-HE-GF | panel | Network | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 2 | 55 | Wall-mount IP54 metal cabinet, sized per controller count + 30% spare
PNL-RD | Roofdeck / panel | HVAC-Chillers, HVAC-Cooling-Towers, Network, VENT-DOAS, VENT-PAHU | 8 | 54 | 0 | 1 | 55 | 2 | 1 | 2 | 55 | Wall-mount IP54 metal cabinet, sized per controller count + 30% spare

## Equipment per Panel
Panel | Equipment Instance
PNL-2F | AHU-BALL-2F
PNL-2F | AHU-REST-2F
PNL-2F | DOAS-2F
PNL-2F | EAS-2F
PNL-2F | FCU-2F.01
PNL-2F | FCU-2F.02
PNL-2F | FCU-2F.03
PNL-2F | FCU-2F.04
PNL-2F | FCU-2F.05
PNL-2F | FCU-2F.06
PNL-2F | FCU-2F.07
PNL-2F | FCU-2F.08
PNL-2F | FCU-2F.09
PNL-2F | FCU-2F.10
PNL-2F | FCU-2F.11
PNL-2F | FCU-2F.12
PNL-2F | FCU-2F.13
PNL-2F | FCU-2F.14
PNL-2F | FCU-2F.15
PNL-2F | FCU-2F.16
PNL-2F | FCU-2F.17
PNL-2F | FCU-2F.18
PNL-2F | FCU-2F.19
PNL-2F | FCU-2F.20
PNL-2F | FCU-2F.21
PNL-2F | FCU-2F.22
PNL-2F | FCU-2F.23
PNL-2F | FCU-2F.24
PNL-2F | FCU-2F.25
PNL-2F | FCU-2F.26
PNL-2F | FCU-2F.27
PNL-2F | FCU-2F.28
PNL-2F | FCU-2F.29
PNL-2F | FCU-2F.30
PNL-2F | NET-PNL-2F
PNL-3F | AHU-AMEN-3F
PNL-3F | EAS-3F
PNL-3F | FCU-3F.01
PNL-3F | FCU-3F.02
PNL-3F | FCU-3F.03
PNL-3F | FCU-3F.04
PNL-3F | FCU-3F.05
PNL-3F | FCU-3F.06
PNL-3F | FCU-3F.07
PNL-3F | FCU-3F.08
PNL-3F | FCU-3F.09
PNL-3F | FCU-3F.10
PNL-3F | FCU-3F.11
PNL-3F | FCU-3F.12
PNL-3F | FCU-3F.13
PNL-3F | FCU-3F.14
PNL-3F | FCU-3F.15
PNL-3F | FCU-3F.16
PNL-3F | FCU-3F.17
PNL-3F | FCU-3F.18
PNL-3F | FCU-3F.19
PNL-3F | FCU-3F.20
PNL-3F | FCU-3F.21
PNL-3F | FCU-3F.22
PNL-3F | FCU-3F.23
PNL-3F | FCU-3F.24
PNL-3F | FCU-3F.25
PNL-3F | FCU-3F.26
PNL-3F | FCU-3F.27
PNL-3F | FCU-3F.28
PNL-3F | FCU-3F.29
PNL-3F | FCU-3F.30
PNL-3F | NET-PNL-3F
PNL-BOH-2F | AHU-BOH-2F
PNL-BOH-2F | NET-PNL-BOH-2F
PNL-BSMT | AHU-BOH-BSMT
PNL-BSMT | EAS-BSMT
PNL-BSMT | NET-PNL-BSMT
PNL-BSMT | SB-1
PNL-CHPLANT-GND | BTU-CHWS-MAIN
PNL-CHPLANT-GND | CAL-1
PNL-CHPLANT-GND | CAL-2
PNL-CHPLANT-GND | CAL-3
PNL-CHPLANT-GND | CAL-4
PNL-CHPLANT-GND | CAL-5
PNL-CHPLANT-GND | CAL-6
PNL-CHPLANT-GND | CH-1
PNL-CHPLANT-GND | CH-2
PNL-CHPLANT-GND | CH-3
PNL-CHPLANT-GND | CHWP-1.1
PNL-CHPLANT-GND | CHWP-1.2
PNL-CHPLANT-GND | CHWP-1.3
PNL-CHPLANT-GND | CHWP-1.STBY
PNL-CHPLANT-GND | COWP-1
PNL-CHPLANT-GND | COWP-2
PNL-CHPLANT-GND | COWP-3
PNL-CHPLANT-GND | HDR-CHW-BP
PNL-CHPLANT-GND | HDR-CHWR
PNL-CHPLANT-GND | HDR-CHWS
PNL-CHPLANT-GND | HDR-HW
PNL-CHPLANT-GND | HP-1
PNL-CHPLANT-GND | HP-2
PNL-CHPLANT-GND | HP-3
PNL-CHPLANT-GND | NET-PNL-CHPLANT-GND
PNL-CHPLANT-GND | RP-1
PNL-CHPLANT-GND | RP-2
PNL-CHPLANT-GND | RP-3
PNL-CHPLANT-GND | RP-4
PNL-CHPLANT-GND | RP-5
PNL-CHPLANT-GND | RP-6
PNL-GF | AHU-LOBBY-GF
PNL-GF | DOAS-GF
PNL-GF | EAS-GF
PNL-GF | FCU-GF.01
PNL-GF | FCU-GF.02
PNL-GF | FCU-GF.03
PNL-GF | FCU-GF.04
PNL-GF | FCU-GF.05
PNL-GF | FCU-GF.06
PNL-GF | FCU-GF.07
PNL-GF | FCU-GF.08
PNL-GF | FCU-GF.09
PNL-GF | FCU-GF.10
PNL-GF | FCU-GF.11
PNL-GF | FCU-GF.12
PNL-GF | FCU-GF.13
PNL-GF | FCU-GF.14
PNL-GF | FCU-GF.15
PNL-GF | FCU-GF.16
PNL-GF | FCU-GF.17
PNL-GF | FCU-GF.18
PNL-GF | FCU-GF.19
PNL-GF | FCU-GF.20
PNL-GF | FCU-GF.21
PNL-GF | FCU-GF.22
PNL-GF | FCU-GF.23
PNL-GF | FCU-GF.24
PNL-GF | FCU-GF.25
PNL-GF | FCU-GF.26
PNL-GF | FCU-GF.27
PNL-GF | FCU-GF.28
PNL-GF | FCU-GF.29
PNL-GF | FCU-GF.30
PNL-GF | MTR-FDR-01
PNL-GF | MTR-FDR-02
PNL-GF | MTR-FDR-03
PNL-GF | MTR-FDR-04
PNL-GF | MTR-FDR-05
PNL-GF | MTR-FDR-06
PNL-GF | MTR-FDR-07
PNL-GF | MTR-FDR-08
PNL-GF | MTR-FDR-09
PNL-GF | MTR-FDR-10
PNL-GF | MTR-MAIN-1
PNL-GF | MTR-MAIN-2
PNL-GF | MTR-MAIN-3
PNL-GF | NET-PNL-GF
PNL-HE-GF | NET-PNL-HE-GF
PNL-RD | CT-1
PNL-RD | CT-2
PNL-RD | CT-3
PNL-RD | CT-COMMON
PNL-RD | DOAS-RD
PNL-RD | HDR-COW
PNL-RD | NET-PNL-RD
PNL-RD | PAHU-RD