## Summary
A1 — I/O List, Audit View
Project | Kingsford Hotel Bacolod — BMS
Canonical source | A1-io-list.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total I/O points | 753
Unique equipment instances | 132
Systems represented | 9
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 753 | 100%
⚠ Known weak points
Equipment quantities are derived from the customer's points list. Cross-verify against mechanical floor plans (Q-008) and architectural plans (Q-005). Where the points list shows aggregate counts without per-tag enumeration, the gap is captured as Q-021.
How corrections flow
Edit A1-io-list.yaml — add a verification: block to any row where you confirm or correct the equipment, location, or panel assignment.
Re-run the deliverables generator to refresh downstream artifacts.

## By System
System | Equipment instances | I/O points
ventilation | 71 | 373
hot_water | 19 | 45
chilled_water | 12 | 135
power_metering | 11 | 11
btu_metering | 5 | 5
condenser_water | 4 | 40
casino_mvac | 4 | 38
common_area | 4 | 64
steam | 2 | 42
TOTAL | 132 | 753

## By Location
Location | Equipment instances
3rd Floor Amenity | 26
2nd Level Mechanical Room | 20
Basement 1 | 16
Roof Deck Mechanical | 14
Lower Ground HW Plant | 10
Ground Floor Lobby | 9
Roof Deck HW Plant | 9
Roof Deck | 6
2nd Floor BOH | 5
Ground Floor | 4
2nd Floor Casino MVAC Room | 3
2nd Floor Casino | 3
Lower Ground Laundry | 3
Ground Floor BOH | 1
Ground Floor Mezzanine BOH | 1
Basement 1 BOH | 1
Main Switchgear Room | 1

## By Panel
Panel | Equipment instances
BMS-PNL-3F | 26
BMS-PNL-RD-MECH | 25
BMS-PNL-LG-CHILLER | 20
BMS-PNL-B1 | 17
BMS-PNL-GF | 16
BMS-PNL-LG-PLUMB | 13
BMS-PNL-2F-CASINO | 11
BMS-PNL-RD-CT | 4

## Verification schema
How to record verification / corrections in A1-io-list.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: chws.ch-1.entering-chw-temp
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.