## Summary
A3 — Cable Schedule, Audit View
Project | Kingsford Hotel Bacolod — BMS
Canonical source | A3-cable-schedule.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total cables | 209
Total length (m) | 5,033
Field cables | 194
Trunk cables | 7
Panel power feeds | 8
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 209 | 100%
⚠ Known weak points
Cable lengths are estimates based on assumption A-001 (30 m average panel-to-device run, 80 m trunk per floor). Field-verified lengths typically vary by ±20% per cable. THIS IS THE SYSTEM'S WEAKEST AUTO-GENERATED QUANTITY — please verify before issuing the BOQ to the customer.
How corrections flow
1. Open A3-cable-schedule.yaml in any text editor.
2. Find the affected row by ID (column A in the Detail sheet).
3. Add a verification: block — see the 'Verification schema' sheet for the template.
4. Re-run: python3 _playbook/tools/generate-deliverables.py <project>
5. Corrections flow through B4 manhours, BOQ material costs, and final deliverables automatically.

## By Panel
Panel | Cable count | Total length (m)
BMS-PNL-RD-MECH | 52 | 780
BMS-PNL-3F | 26 | 572
BMS-PNL-GF | 20 | 482
BMS-PNL-2F-CASINO | 20 | 440
BMS-PNL-B1 | 19 | 418
BMS-PNL-LG-CHILLER | 33 | 396
BMS-PNL-RD-CT | 11 | 165
BMS-PNL-LG-PLUMB | 13 | 156
TOTAL (field cables) | 194 | 3409

## By Floor
Floor | Cable count | Total length (m)
Roofdeck | 63 | 945
2nd Floor | 53 | 836
3rd Floor | 26 | 572
Ground | 19 | 470
Basement | 19 | 418
Lower Ground | 13 | 156
Electrical | 1 | 12
TOTAL | 194 | 3409

## By Cable Type
Cable type | Count | Total length (m)
Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 194 | 3409

## Detail (cables)
ID | From | To | Cable type | Length (m) | Status | Corrected (m) | Verified by | Date | Drawing ref | Notes
C0001 | BMS-PNL-2F-CASINO | AHU-2F-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0002 | BMS-PNL-2F-CASINO | AHU-2F-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0003 | BMS-PNL-2F-CASINO | AHU-2F-1 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0004 | BMS-PNL-2F-CASINO | AHU-2M.1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0005 | BMS-PNL-2F-CASINO | AHU-2M.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0006 | BMS-PNL-2F-CASINO | AHU-2M.1 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0007 | BMS-PNL-2F-CASINO | AHU-2M.2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0008 | BMS-PNL-2F-CASINO | AHU-2M.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0009 | BMS-PNL-2F-CASINO | AHU-2M.2 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0010 | BMS-PNL-B1 | AHU-B1-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0011 | BMS-PNL-B1 | AHU-B1-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0012 | BMS-PNL-B1 | AHU-B1-1 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0013 | BMS-PNL-GF | AHU-GF-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0014 | BMS-PNL-GF | AHU-GF-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0015 | BMS-PNL-GF | AHU-GF-1 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0016 | BMS-PNL-GF | AHU-GFM-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0017 | BMS-PNL-GF | AHU-GFM-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0018 | BMS-PNL-GF | AHU-GFM-1 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0019 | BMS-PNL-LG-CHILLER | CH-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0020 | BMS-PNL-LG-CHILLER | CH-1 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0021 | BMS-PNL-LG-CHILLER | CH-2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0022 | BMS-PNL-LG-CHILLER | CH-2 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0023 | BMS-PNL-LG-CHILLER | CH-3 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0024 | BMS-PNL-LG-CHILLER | CH-3 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0025 | BMS-PNL-LG-CHILLER | CHW-BYPASS (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0026 | BMS-PNL-LG-CHILLER | CHW-BYPASS (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0027 | BMS-PNL-LG-CHILLER | CHW-HDR-R (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0028 | BMS-PNL-LG-CHILLER | CHW-HDR-S (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0029 | BMS-PNL-RD-CT | CT-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0030 | BMS-PNL-RD-CT | CT-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0031 | BMS-PNL-RD-CT | CT-1 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0032 | BMS-PNL-RD-CT | CT-2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0033 | BMS-PNL-RD-CT | CT-2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0034 | BMS-PNL-RD-CT | CT-2 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0035 | BMS-PNL-RD-CT | CT-3 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0036 | BMS-PNL-RD-CT | CT-3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0037 | BMS-PNL-RD-CT | CT-3 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0038 | BMS-PNL-RD-CT | CT-COMMON (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0039 | BMS-PNL-RD-CT | CT-COMMON (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0040 | BMS-PNL-LG-CHILLER | CWP-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0041 | BMS-PNL-LG-CHILLER | CWP-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0042 | BMS-PNL-LG-CHILLER | CWP-2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0043 | BMS-PNL-LG-CHILLER | CWP-2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0044 | BMS-PNL-LG-CHILLER | CWP-3 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0045 | BMS-PNL-LG-CHILLER | CWP-3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0046 | BMS-PNL-2F-CASINO | DOAS-2F-CASINO (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0047 | BMS-PNL-2F-CASINO | DOAS-2F-CASINO (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0048 | BMS-PNL-2F-CASINO | DOAS-2F-CASINO (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0049 | BMS-PNL-RD-MECH | DOAS-RD1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0050 | BMS-PNL-RD-MECH | DOAS-RD1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0051 | BMS-PNL-RD-MECH | DOAS-RD1 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0052 | BMS-PNL-RD-MECH | DOAS-RD2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0053 | BMS-PNL-RD-MECH | DOAS-RD2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0054 | BMS-PNL-RD-MECH | DOAS-RD2 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0055 | BMS-PNL-RD-MECH | EF-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0056 | BMS-PNL-GF | EF-1.2A (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0057 | BMS-PNL-GF | EF-1MR.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0058 | BMS-PNL-GF | EF-1STO.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0059 | BMS-PNL-GF | EF-LPG.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0060 | BMS-PNL-GF | EF-MRF.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0061 | BMS-PNL-RD-MECH | EF-RD.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0062 | BMS-PNL-RD-MECH | EF-RD.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0063 | BMS-PNL-RD-MECH | HP-HZ-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0064 | BMS-PNL-RD-MECH | HP-HZ-2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0065 | BMS-PNL-RD-MECH | HP-HZ-3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0066 | BMS-PNL-LG-PLUMB | HP-LZ-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0067 | BMS-PNL-LG-PLUMB | HP-LZ-2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0068 | BMS-PNL-LG-PLUMB | HP-LZ-3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0069 | BMS-PNL-LG-PLUMB | HW-HEADERS (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0070 | BMS-PNL-RD-MECH | HWT-HZ-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0071 | BMS-PNL-RD-MECH | HWT-HZ-2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0072 | BMS-PNL-RD-MECH | HWT-HZ-3 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0073 | BMS-PNL-LG-PLUMB | HWT-LZ-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0074 | BMS-PNL-LG-PLUMB | HWT-LZ-2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0075 | BMS-PNL-LG-PLUMB | HWT-LZ-3 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0076 | BMS-PNL-2F-CASINO | ION-2F-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0077 | BMS-PNL-2F-CASINO | ION-2F-2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0078 | BMS-PNL-RD-MECH | PAHU-01 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0079 | BMS-PNL-RD-MECH | PAHU-01 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0080 | BMS-PNL-RD-MECH | PAHU-01 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0081 | BMS-PNL-RD-MECH | PAHU-02 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0082 | BMS-PNL-RD-MECH | PAHU-02 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0083 | BMS-PNL-RD-MECH | PAHU-02 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0084 | BMS-PNL-RD-MECH | PAHU-03 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0085 | BMS-PNL-RD-MECH | PAHU-03 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0086 | BMS-PNL-RD-MECH | PAHU-03 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0087 | BMS-PNL-RD-MECH | PAHU-04 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0088 | BMS-PNL-RD-MECH | PAHU-04 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0089 | BMS-PNL-RD-MECH | PAHU-04 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0090 | BMS-PNL-RD-MECH | PAHU-05 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0091 | BMS-PNL-RD-MECH | PAHU-05 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0092 | BMS-PNL-RD-MECH | PAHU-05 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0093 | BMS-PNL-RD-MECH | PAHU-06 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0094 | BMS-PNL-RD-MECH | PAHU-06 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0095 | BMS-PNL-RD-MECH | PAHU-06 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0096 | BMS-PNL-RD-MECH | PAHU-07 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0097 | BMS-PNL-RD-MECH | PAHU-07 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0098 | BMS-PNL-RD-MECH | PAHU-07 (ME Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0099 | BMS-PNL-LG-CHILLER | PCHWP-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0100 | BMS-PNL-LG-CHILLER | PCHWP-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0101 | BMS-PNL-LG-CHILLER | PCHWP-2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0102 | BMS-PNL-LG-CHILLER | PCHWP-2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0103 | BMS-PNL-LG-CHILLER | PCHWP-3 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0104 | BMS-PNL-LG-CHILLER | PCHWP-3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0105 | BMS-PNL-RD-MECH | RP-HZ-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0106 | BMS-PNL-RD-MECH | RP-HZ-2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0107 | BMS-PNL-RD-MECH | RP-HZ-3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0108 | BMS-PNL-LG-PLUMB | RP-LZ-1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0109 | BMS-PNL-LG-PLUMB | RP-LZ-2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0110 | BMS-PNL-LG-PLUMB | RP-LZ-3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0111 | BMS-PNL-LG-PLUMB | SB-1 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0112 | BMS-PNL-LG-PLUMB | SB-2 (BMS Contractor) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0113 | BMS-PNL-GF | TEF-1.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0114 | BMS-PNL-GF | TEF-1.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0115 | BMS-PNL-GF | TEF-1.3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0116 | BMS-PNL-GF | TEF-1.4 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0117 | BMS-PNL-2F-CASINO | TEF-2.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0118 | BMS-PNL-2F-CASINO | TEF-2.3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0119 | BMS-PNL-2F-CASINO | TEF-2B.3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0120 | BMS-PNL-3F | TEF-3A.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0121 | BMS-PNL-3F | TEF-3A.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0122 | BMS-PNL-3F | TEF-3B (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0123 | BMS-PNL-3F | TEF-3C.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0124 | BMS-PNL-3F | TEF-3C.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0125 | BMS-PNL-3F | TEF-3D.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0126 | BMS-PNL-3F | TEF-3D.10 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0127 | BMS-PNL-3F | TEF-3D.11 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0128 | BMS-PNL-3F | TEF-3D.12 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0129 | BMS-PNL-3F | TEF-3D.13 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0130 | BMS-PNL-3F | TEF-3D.14 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0131 | BMS-PNL-3F | TEF-3D.15 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0132 | BMS-PNL-3F | TEF-3D.16 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0133 | BMS-PNL-3F | TEF-3D.17 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0134 | BMS-PNL-3F | TEF-3D.18 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0135 | BMS-PNL-3F | TEF-3D.19 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0136 | BMS-PNL-3F | TEF-3D.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0137 | BMS-PNL-3F | TEF-3D.20 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0138 | BMS-PNL-3F | TEF-3D.3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0139 | BMS-PNL-3F | TEF-3D.4 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0140 | BMS-PNL-3F | TEF-3D.5 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0141 | BMS-PNL-3F | TEF-3D.6 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0142 | BMS-PNL-3F | TEF-3D.7 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0143 | BMS-PNL-3F | TEF-3D.8 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0144 | BMS-PNL-3F | TEF-3D.9 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0145 | BMS-PNL-B1 | TEF-B.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0146 | BMS-PNL-B1 | TEF-B.10 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0147 | BMS-PNL-B1 | TEF-B.11 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0148 | BMS-PNL-B1 | TEF-B.12 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0149 | BMS-PNL-B1 | TEF-B.13 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0150 | BMS-PNL-B1 | TEF-B.14 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0151 | BMS-PNL-B1 | TEF-B.15 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0152 | BMS-PNL-B1 | TEF-B.16 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0153 | BMS-PNL-B1 | TEF-B.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0154 | BMS-PNL-B1 | TEF-B.3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0155 | BMS-PNL-B1 | TEF-B.4 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0156 | BMS-PNL-B1 | TEF-B.5 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0157 | BMS-PNL-B1 | TEF-B.6 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0158 | BMS-PNL-B1 | TEF-B.7 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0159 | BMS-PNL-B1 | TEF-B.8 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0160 | BMS-PNL-B1 | TEF-B.9 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0161 | BMS-PNL-GF | TEF-GS.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 35 | unverified
C0162 | BMS-PNL-GF | TEF-GS.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 35 | unverified
C0163 | BMS-PNL-RD-MECH | TEF-RD.1 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0164 | BMS-PNL-RD-MECH | TEF-RD.2 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0165 | BMS-PNL-RD-MECH | TEF-RD.3 (Equipment Supplier) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0166 | BMS-PNL-LG-CHILLER | CH-1 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0167 | BMS-PNL-LG-CHILLER | CH-2 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0168 | BMS-PNL-LG-CHILLER | CH-3 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0169 | BMS-PNL-LG-CHILLER | BTU-1 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0170 | BMS-PNL-LG-CHILLER | BTU-2 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0171 | BMS-PNL-LG-CHILLER | BTU-3 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0172 | BMS-PNL-LG-CHILLER | BTU-4 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0173 | BMS-PNL-LG-CHILLER | BTU-5 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0174 | BMS-PNL-RD-MECH | DOAS-RD1 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0175 | BMS-PNL-RD-MECH | DOAS-RD2 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0176 | BMS-PNL-2F-CASINO | DOAS-2F-CASINO (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0177 | BMS-PNL-RD-MECH | PAHU-01 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0178 | BMS-PNL-RD-MECH | PAHU-02 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0179 | BMS-PNL-RD-MECH | PAHU-03 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0180 | BMS-PNL-RD-MECH | PAHU-04 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0181 | BMS-PNL-RD-MECH | PAHU-05 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0182 | BMS-PNL-RD-MECH | PAHU-06 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0183 | BMS-PNL-RD-MECH | PAHU-07 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
C0184 | BMS-PNL-GF | PM-MAIN (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0185 | BMS-PNL-LG-CHILLER | PM-CHILLER-1 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0186 | BMS-PNL-LG-CHILLER | PM-CHILLER-2 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0187 | BMS-PNL-LG-CHILLER | PM-CHILLER-3 (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0188 | BMS-PNL-2F-CASINO | PM-CASINO-FB (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0189 | BMS-PNL-2F-CASINO | PM-KITCHEN-2F (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0190 | BMS-PNL-GF | PM-LOBBY-GF (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 35 | unverified
C0191 | BMS-PNL-GF | PM-ELEVATOR (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 35 | unverified
C0192 | BMS-PNL-3F | PM-LIGHTING-GUEST (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 22 | unverified
C0193 | BMS-PNL-LG-PLUMB | PM-LAUNDRY-LG (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 12 | unverified
C0194 | BMS-PNL-RD-MECH | PM-ROOFDECK-MECH (Network) | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) | 15 | unverified
T0195 | BMS Server Room (head-end) | All BMS panels at 2nd Floor | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) — riser fiber + Cat6 trunk | 80 | unverified
T0196 | BMS Server Room (head-end) | All BMS panels at 3rd Floor | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) — riser fiber + Cat6 trunk | 80 | unverified
T0197 | BMS Server Room (head-end) | All BMS panels at Basement | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) — riser fiber + Cat6 trunk | 80 | unverified
T0198 | BMS Server Room (head-end) | All BMS panels at Ground | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) — riser fiber + Cat6 trunk | 80 | unverified
T0199 | BMS Server Room (head-end) | All BMS panels at Lower Ground | Cat6 4P × 23 AWG U/UTP, FRLS jacket (BACnet/IP) — riser fiber + Cat6 trunk | 80 | unverified
T0200 | BMS Server Room (head-end) | BMS panel controllers (per topology id ?) | BACnet MS/TP shielded twisted-pair trunk, 1pr × 22 AWG low-cap | 380 | unverified
T0201 | BMS Server Room (head-end) | BMS panel controllers (per topology id ?) | BACnet MS/TP shielded twisted-pair trunk, 1pr × 22 AWG low-cap | 700 | unverified
P0202 | Local panelboard / EE-supplied feeder | BMS-PNL-2F-CASINO — BMS panel 240V power feed | 3C × 2.5 mm² FRLS (240V single-phase BMS panel power feed) | 18 | unverified
P0203 | Local panelboard / EE-supplied feeder | BMS-PNL-3F — BMS panel 240V power feed | 3C × 2.5 mm² FRLS (240V single-phase BMS panel power feed) | 18 | unverified
P0204 | Local panelboard / EE-supplied feeder | BMS-PNL-B1 — BMS panel 240V power feed | 3C × 2.5 mm² FRLS (240V single-phase BMS panel power feed) | 18 | unverified
P0205 | Local panelboard / EE-supplied feeder | BMS-PNL-GF — BMS panel 240V power feed | 3C × 2.5 mm² FRLS (240V single-phase BMS panel power feed) | 18 | unverified
P0206 | Local panelboard / EE-supplied feeder | BMS-PNL-LG-CHILLER — BMS panel 240V power feed | 3C × 2.5 mm² FRLS (240V single-phase BMS panel power feed) | 18 | unverified
P0207 | Local panelboard / EE-supplied feeder | BMS-PNL-LG-PLUMB — BMS panel 240V power feed | 3C × 2.5 mm² FRLS (240V single-phase BMS panel power feed) | 18 | unverified
P0208 | Local panelboard / EE-supplied feeder | BMS-PNL-RD-CT — BMS panel 240V power feed | 3C × 2.5 mm² FRLS (240V single-phase BMS panel power feed) | 18 | unverified
P0209 | Local panelboard / EE-supplied feeder | BMS-PNL-RD-MECH — BMS panel 240V power feed | 3C × 2.5 mm² FRLS (240V single-phase BMS panel power feed) | 18 | unverified

## Verification schema
How to record verification / corrections in A3-cable-schedule.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: C0001
from: PNL-CH-PLANT-GND
to: CH-1 (BMS Contractor)
cable_type: 4C × 1.5 mm² shielded FRLS
length_m: 30
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
corrected_length_m: 42 # team's measured / confirmed value
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.