## Summary
A1 — I/O List, Audit View
Project | Kingsford Hotel Bacolod — BMS
Canonical source | A1-io-list.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total I/O points | 619
Unique equipment instances | 23
Systems represented | 11
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 619 | 100%
⚠ Known weak points
Equipment quantities are derived from the customer's points list. Cross-verify against mechanical floor plans (Q-008) and architectural plans (Q-005). Where the points list shows aggregate counts without per-tag enumeration, the gap is captured as Q-021.
How corrections flow
Edit A1-io-list.yaml — add a verification: block to any row where you confirm or correct the equipment, location, or panel assignment.
Re-run the deliverables generator to refresh downstream artifacts.

## By System
System | Equipment instances | I/O points
Plumbing — Sanitary Hot Water | 7 | 48
Chilled Water Plant | 4 | 121
General Ventilation | 4 | 156
Air Handling — Basement / Podium BOH | 1 | 140
Air Handling — Pre-cooled | 1 | 16
Boiler / Laundry | 1 | 22
Casino MVAC — Dedicated Outdoor Air | 1 | 30
Casino MVAC — Smoke Sanitizer | 1 | 4
Air Handling — Pre-cooled (Roofdeck) | 1 | 14
Air Handling — Roofdeck AHU | 1 | 32
Heat Rejection — Cooling Tower | 1 | 36
TOTAL | 23 | 619

## By Location
Location | Equipment instances
2F | 9
RD | 7
LG | 5
GF | 1
3F | 1

## By Panel
Panel | Equipment instances
BMS-PNL-CHWPLANT-2F | 4
BMS-PNL-PLUMBING-LG | 4
BMS-PNL-PLUMBING-RD | 3
BMS-PNL-CASINO-2F | 2
BMS-PNL-AHU-RD | 2
BMS-PNL-BOHAHU-2F | 1
BMS-PNL-AHU-2F | 1
BMS-PNL-VENT-GF | 1
BMS-PNL-VENT-2F | 1
BMS-PNL-VENT-3F | 1
BMS-PNL-VENT-RD | 1
BMS-PNL-BOILER-LG | 1
BMS-PNL-CT-RD | 1

## Verification schema
How to record verification / corrections in A1-io-list.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: chws.ch-1.entering-chw-temp
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.