## Summary
A1 — I/O List, Audit View
Project | Kingsford Hotel Bacolod — BMS
Canonical source | A1-io-list.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total I/O points | 744
Unique equipment instances | 109
Systems represented | 5
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 744 | 100%
⚠ Known weak points
Equipment quantities are derived from the customer's points list. Cross-verify against mechanical floor plans (Q-008) and architectural plans (Q-005). Where the points list shows aggregate counts without per-tag enumeration, the gap is captured as Q-021.
How corrections flow
Edit A1-io-list.yaml — add a verification: block to any row where you confirm or correct the equipment, location, or panel assignment.
Re-run the deliverables generator to refresh downstream artifacts.

## By System
System | Equipment instances | I/O points
VENT | 60 | 343
AC | 34 | 365
HWL | 8 | 20
EL | 6 | 12
FDAS | 1 | 4
TOTAL | 109 | 744

## By Location
Location | Equipment instances
2nd Level Chiller Room | 15
Roof Deck | 11
2nd Level BOH | 6
2nd Mezzanine (Casino) | 5
3rd Floor | 5
Lower Ground HWL Room | 4
Roof Deck HWL Area | 4
GF Main Lobby Toilet | 4
2nd Floor | 4
3rd Floor Toilet | 4
Ground Floor BOH | 3
Basement | 3
Lower Ground Boiler Room | 2
2nd Level Pre-Function | 2
2nd Floor Toilet | 2
2nd Floor BOH | 2
2nd Floor General Service | 2
3rd Floor Amenity Toilet | 2
Basement Toilet | 2
Basement Service | 2
Basement Garbage Lobby | 2
Basement Battery Room | 2
Basement Pump Room | 2
Roof Deck CT Area | 1
2nd Level Executive Lounge | 1
2nd Level Function Room 2 | 1
2nd Level Function Room 3 | 1
2nd Level Function Rooms | 1
2nd Floor BOH Toilet | 1
2nd Floor OHR | 1
3rd Floor BOH | 1
Basement FOST Room | 1
Basement Wash Service | 1
Basement Mech / Pump | 1
Basement Main Fire Riser | 1
Lower Ground Main Switchroom | 1
2nd Level Chiller MCC | 1
2nd Level AHU MCC | 1
Ground Floor AHU MCC | 1
Lower Ground Lighting Panel A | 1
Lower Ground Lighting Panel B | 1
Ground Floor Fire Command Center | 1

## By Panel
Panel | Equipment instances
DDC-2F-BOH | 25
DDC-B1-BOH | 17
DDC-2F-CHILLER | 16
DDC-RD-PLANT | 16
DDC-3F | 12
DDC-LG-PLANT | 9
DDC-GF-BOH | 9
DDC-2M-CASINO | 5

## Verification schema
How to record verification / corrections in A1-io-list.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: chws.ch-1.entering-chw-temp
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.