## Summary
A4 — Panel Schedule, Audit View
Project | Kingsford Hotel Bacolod — BMS
Canonical source | A4-panel-schedule.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total panels | 8
Total physical I/O | 561
Total HLI sub-points | 141
Total controllers | 19
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 8 | 100%
⚠ Known weak points
Verify panel locations against architectural drawings. Confirm proximity to served equipment, panel-room space allocation, and access for maintenance.
How corrections flow
Edit A4-panel-schedule.yaml — add a verification: block to the panel row when location is confirmed or revised.

## Detail
Panel | Location | Equipment served | Phys I/O | HLI | Network drops | Controllers | Power (W) | Status | Verified by | Drawing ref | Notes
DDC-2F-BOH | 2nd Floor / 2nd Floor BOH / 2nd Floor BOH Toilet / 2nd Floor General Service / 2nd Floor OHR / 2nd Floor Toilet / 2nd Level AHU MCC / 2nd Level BOH / 2nd Level Executive Lounge / 2nd Level Function Room 2 / 2nd Level Function Room 3 / 2nd Level Function Rooms / 2nd Level Pre-Function | 25 | 165 | 25 | 13 | 5 | 190 | unverified
DDC-2F-CHILLER | 2nd Level Chiller MCC / 2nd Level Chiller Room | 16 | 72 | 65 | 9 | 2 | 95 | unverified
DDC-2M-CASINO | 2nd Mezzanine (Casino) | 5 | 47 | 8 | 5 | 2 | 75 | unverified
DDC-3F | 3rd Floor / 3rd Floor Amenity Toilet / 3rd Floor BOH / 3rd Floor Toilet | 12 | 36 | 0 | 0 | 1 | 25 | unverified
DDC-B1-BOH | Basement / Basement Battery Room / Basement FOST Room / Basement Garbage Lobby / Basement Main Fire Riser / Basement Mech / Pump / Basement Pump Room / Basement Service / Basement Toilet / Basement Wash Service | 17 | 57 | 2 | 1 | 2 | 55 | unverified
DDC-GF-BOH | GF Main Lobby Toilet / Ground Floor AHU MCC / Ground Floor BOH / Ground Floor Fire Command Center | 9 | 48 | 10 | 5 | 2 | 75 | unverified
DDC-LG-PLANT | Lower Ground Boiler Room / Lower Ground HWL Room / Lower Ground Lighting Panel A / Lower Ground Lighting Panel B / Lower Ground Main Switchroom | 9 | 26 | 19 | 5 | 2 | 75 | unverified
DDC-RD-PLANT | Roof Deck / Roof Deck CT Area / Roof Deck HWL Area | 16 | 110 | 12 | 4 | 3 | 95 | unverified

## Verification schema
How to record verification / corrections in A4-panel-schedule.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: PNL-AHU-3F
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
corrected_location: 3F Mech Room A # team's measured / confirmed value
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.