## Summary
A1 — I/O List, Audit View
Project | Kingsford Hotel Bacolod BMS
Canonical source | A1-io-list.yaml
How to record corrections | Edit the canonical YAML directly — add a verification: block to the affected row(s)
Totals
Total I/O points | 716
Unique equipment instances | 135
Systems represented | 11
Verification status
Status | Count | % of total
verified | 0 | 0%
needs_correction | 0 | 0%
uncertain | 0 | 0%
unverified | 716 | 100%
⚠ Known weak points
Equipment quantities are derived from the customer's points list. Cross-verify against mechanical floor plans (Q-008) and architectural plans (Q-005). Where the points list shows aggregate counts without per-tag enumeration, the gap is captured as Q-021.
How corrections flow
Edit A1-io-list.yaml — add a verification: block to any row where you confirm or correct the equipment, location, or panel assignment.
Re-run the deliverables generator to refresh downstream artifacts.

## By System
System | Equipment instances | I/O points
General Ventilation | 68 | 204
Chilled Water | 20 | 159
Plumbing & Sanitary Hotwater | 20 | 48
Power Metering | 13 | 78
BOH Air Handling | 3 | 51
Boiler/Laundry | 2 | 32
DOAS - Hotel/Roofdeck | 2 | 52
AHU - Casino | 2 | 32
AHU - Casino (Ozonizer) | 2 | 6
PAHU - Roofdeck | 2 | 28
DOAS - Casino MVAC | 1 | 26
TOTAL | 135 | 716

## By Location
Location | Equipment instances
3rd Amenity & Guestroom | 27
Basement | 16
2nd Floor | 13
2F/CHW Pump Room | 11
Lower Ground/HW Plant | 10
Roofdeck/HW Plant | 10
Distribution (per A4) | 10
GF Main Lobby | 9
Roofdeck/Cooling Tower Area | 6
2nd Level/Casino MVAC Plant | 5
GND/Chiller Plant Room | 3
GND/BOH AHU Area | 3
Roofdeck | 3
Main Switchgear Room | 3
Lower Ground/Boiler Room | 2
Roofdeck/Hotel DOAS Plant | 2
Roofdeck/PAHU Plant | 2

## By Panel
Panel | Equipment instances
PNL-VENT-L3 | 27
PNL-VENT-BSMT | 16
PNL-VENT-L2 | 13
PNL-CHWP-L2 | 11
PNL-PL-LZ | 10
PNL-PL-HZ | 10
PNL-EE-DIST | 10
PNL-VENT-GF | 9
PNL-CT-RD | 6
PNL-AHU-L2 | 4
PNL-CH-PLANT-GND | 3
PNL-CHWP-GND | 3
PNL-VENT-RD | 3
PNL-EE-MAIN | 3
PNL-BL-LZ | 2
PNL-DOAS-RD | 2
PNL-PAHU-RD | 2
PNL-DOAS-L2 | 1

## Verification schema
How to record verification / corrections in A1-io-list.yaml
Find the affected row in the YAML by ID (Detail sheet column A) and add a verification: block:
- id: chws.ch-1.entering-chw-temp
verification: # ADDED by team
status: needs_correction # unverified ¦ verified ¦ needs_correction ¦ uncertain
verified_by: J. Cruz
verified_date: 2026-05-10
drawing_ref: "EE-09 grid B-2"
notes: ""
After saving, re-run: python3 _playbook/tools/generate-deliverables.py <project>
Corrections propagate to B4 manhours, BOQ, and final deliverables automatically.
Recommended verification methods (priority order):
1. Site walkthrough with measurement (most accurate; for cable lengths, after structural completion).
2. Properly-scaled architectural drawings.
3. Mechanical contractor's tray layout combined with BMS panel locations.
4. A-001 default with ±20% contingency in BOQ — last resort.