Table of Contents

# Internal Team Notes — 2026-04-kingsford-bms

Audience: the proposal team running the next pass on this project.

This document compiles actionable items pulled from the project’s working artifacts. Each section is what to do next — verify, refine, or reconsider — to improve the proposal before it goes to the customer or as part of an RFQ-response cycle.

Sources compiled:

- 07-assumptions.md — assumptions to verify or refine

- 08-customer-clarifications.md — questions to send the customer

- 99-decision-log.md — decisions worth revisiting

- 03-doc-inventory.md — gap analysis on customer inputs

- 05-working-docs/A3-cable-schedule.yaml — cable-length fallbacks to verify

- 05-working-docs/D3-risk-register.md — project risks (if present)

- 09-rfq-package/ — RFQ packages (cost-reduction via competitive bidding)

## 1. Customer clarifications (RFI list)

18 open questions to send the customer. Each has a documented default assumption with cost / scope impact. Resolving these is the highest-leverage path to refining the proposal — every answered Q-NNN may flip an open assumption from Assumed to Confirmed and reduce contingency.

| ID | Question | Default assumed | What an answer changes |
| --- | --- | --- | --- |
| Q-018 | The cover letter (Requirement.rtf) says *“Rehabilitation of Building Managemen… | Stage drives huge cost differences (demolition, after-hours, | (project-wide) |
| Q-007 | What is the required project completion date (or duration from PO)? Are ther… | Drives manpower loading and overtime premium pricing. | G-004 / A-009 |
| Q-001 | Please confirm the contracting entity for this proposal. (We are addressing … | Required for proposal letter & contract counterparty | G-005 / A-015 |
| Q-005 | Please share the complete architectural floor-plan set for floors in BMS sco… | Cable runs, equipment placement, conduit estimation | G-001 / A-001 |
| Q-008 | Please share the mechanical (HVAC) layout drawings for plant rooms and equip… | Plant-room cable runs and control wiring | G-003 / A-001 |
| Q-011 | Please share the complete electrical drawing set (not just Construction Bull… | Power metering scope refinement | G-102 / A-003 / A-004 / A-005 |
| Q-009 | Working hours and site access — confirm standard daytime construction hours appl… | Labor pricing | G-105 / A-010-rev |
| Q-003 | “TUEC” prefix in document filenames — please confirm this is the correct project… | Proposal labeling | (own item) |
| Q-004 | Construction Bulletin No.8 implies bulletins 1–7 exist. Please share the complet… | Document version control | (own item) |
| Q-012 | Network/IT integration scope: any integration required with hotel PMS (Prope… | Integration scope and cost | G-103 / A-007 |
| Q-013 | Brand preferences / standardization: Megaworld portfolio standard for BMS? A… | Supplier RFQ direction | (Phase 9) |
| Q-014 | Commercial terms: payment milestones, retention %, warranty, LD/penalty, cur… | Pricing structure | G-104 / A-008 |
| Q-015 | Training scope: 16-hour operator training assumed; please confirm or specify… | Training cost | G-107 / A-013 |
| Q-016 | Maintenance scope: Should base proposal include 1-year preventive maintenanc… | Pricing structure | G-108 / A-014 |
| Q-017 | The Megaworld MC Standards points lists are titled “BMS Standards CONDOTELS.” Do… | Spec reference | — |
| Q-019 | The points list does not appear to include **per-guestroom Fan-Coil Unit (FCU) c… | Affects ~200–500 additional I/O points and a major sub-syste | Surfaced in A1 page-coverage analysis |
| Q-020 | The points list does not include domestic cold-water booster pumps monitorin… | Standard plumbing BMS scope item | Surfaced in A1 page-coverage analysis |
| Q-021 | The “BASEMENT-PODIUM BOH I/O Point Tabulation” on sheet BMS-01 has the header ro… | Affects ~110 additional I/O points and panel sizing | Surfaced in A1 chunk 2 generation |

## 2. Verification action items (against drawings, on site, with vendors)

### Cable lengths — fallback rows to verify

Cables tagged legacy_fallback, typical_range:*, or fallback_a001 use agent-reasoned typical-range estimates rather than direct drawing measurements. These are the audit-XLSX rows the team should prioritize when the next set of drawings lands or when site walkthroughs become possible.

| Method tag | Count | Sample row ID |
| --- | --- | --- |
| legacy_fallback | 193 | C0001 |
| unknown | 6 | T0176 |
| legacy_formula | 1 | T0182 |

Open 13-A3-cable-schedule-AUDIT.xlsx to filter and prioritize.

### Other verification items

- Equipment counts — verify against mechanical floor plans where the agent inferred quantities (see open assumptions where Status: Open and category contains ‘count’).

- Panel locations — confirm against architectural drawings and walk the building if accessible.

- Drawing scale calibrations — if any A-NNN entries record drawing-scale calibration assumptions (e.g., grid-bay calibration), spot-check against a second known dimension before the proposal goes out.

- Vendor specifications — for every Equipment Supplier C/O cable / interface, confirm that the supplier’s panel architecture matches the assumed BMS-side interface (HLI vs. hardwired DI/DO).

## 3. Cost-reduction opportunities

### RFQ packages — competitive bidding

The agent prepared 12 RFQ packages categorized by supplier type. Issuing all of them and comparing 3+ quotes per package is the standard cost-reduction lever. Especially impactful for high-value categories:

- bms-controllers-and-panels — typically 5–15% savings vs. catalog pricing on competitive bid

- field-sensors-hvac — typically 5–15% savings vs. catalog pricing on competitive bid

- head-end-servers-workstations — typically 5–15% savings vs. catalog pricing on competitive bid

- network-active — typically 5–15% savings vs. catalog pricing on competitive bid

- power-meters — typically 5–15% savings vs. catalog pricing on competitive bid

- valves-actuators — typically 5–15% savings vs. catalog pricing on competitive bid

Full list in 09-rfq-package/. Send these as soon as the proposal’s commercial side is firm — supplier turnaround is typically 2–4 weeks.

### Other cost levers

- Cable specifications — confirm with the customer whether the assumed jacket rating (e.g., FRLS) is mandated or whether a less-specified cable is acceptable in non-occupied spaces. Material cost difference can be 10–20% on cabling.

- Spare-conductor strategy — current strategy provides 15–25% spares per I/O class. If the customer is willing to accept lower spare margins (commit to the I/O list as-final), cable size drops and material cost reduces 5–10%.

- Make/model consolidation — RFQ packages currently call for spec-level equivalent items. If the customer accepts a single-vendor list (one controller brand, one valve brand), the team can negotiate volume discounts. Document any such consolidation in a new Q-NNN.

- Owner-furnished items — review C1 contractor/owner matrix; items currently assigned to BMS scope that the owner could supply directly (e.g., off-the-shelf workstations, network switches if customer has IT preferences) reduce BMS material markup.

## 4. Risks and decisions to revisit

### Recent decisions worth revisiting

Decisions made during proposal generation. Review whether each is still right given any new customer answers or drawings received since the decision was made.

- D-001 — Use Tier 3 (rasterize + tile) for the BMS Points list PDF

- D-002 — Use Tier 2 (full-page raster at 200 DPI) for EE Plan

- D-003 — Treat Megaworld’s MC Standards points lists as “baseline; project-specific overrides”

- D-004 — Phase 3 gate path: produce initial proposal with assumptions in parallel with RFI dispatch

- D-005 — Module-catalog granularity (10-module split for _playbook/modules/bms/)

- D-006 — Defer building module catalog (_playbook/modules/bms/) until Phase 4 pilot

- D-007 — Re-classify Kingsford from “Rehabilitation” to “Greenfield” (2026-04-27, in same session)

- D-010 — Determinism via standard formats (translation principle) added (2026-04-28)

- D-011 — Add transparency / auditability layer (Design Principle F) (2026-04-27)

- D-009 — Internal-presentation feedback incorporated into playbook (2026-04-28)

- D-008 — Defer building supplier KB indexing scheme

## 5. Open assumptions to refine

9 assumptions in ‘Open’ status (out of 11 total). Each one is something the proposal currently treats as a known quantity but isn’t actually confirmed. The team should pair each open assumption with the corresponding Q-NNN and chase the customer’s answer.

| ID | Assumption | Impact if wrong | Linked gap |
| --- | --- | --- | --- |
| A-002 | Plumbing equipment locations follow MC Standards typical condotel layout; calori… | Minor — points list gives equipment count | G-101 |
| A-003 | Electrical baseline single-line follows MC Standards condotel template; only the… | Affects power metering point identification — ±5% | G-102 |
| A-004 | Power metering hierarchy = main switchgear + each significant feeder (per Megawo… | ±10% on power meter count and Modbus interface eff | G-102 |
| A-005 | Load schedule structure = 1 EE-21/22/23 page per major panel group; total panel-… | Minor | G-102 |
| A-007 | Network: dedicated BMS LAN (Cat6 trunk, managed Layer 2 switches) with single 1G… | Affects switch count, network engineering hours, i | G-103 |
| A-008 | Commercial terms: 30-day net payment; 10% retention released at handover; 1-year… | Affects cash-flow & risk pricing — ±2% | G-104 |
| A-013 | Training: 16 hours of operator training on-site after handover, included in base | Minor | G-107 |
| A-014 | Maintenance: NOT included in base. Optional 1-year preventive maintenance contra… | Removes maintenance from base scope; customer can | G-108 |
| A-015 | Contracting entity = Megaworld Corporation | If wrong, affects contract counterparty / billing | G-005 |

## 6. Process improvements queued

Items the methodology audit and A/B regression runs flagged for the next playbook pass. These don’t block this proposal but will improve the next one:

- Conduit ratio — currently 30% of total cable length unless overridden. Project-tuned override available via B4-site-factors.yaml (see Op#11).

- Commercial rates — overhead 20% / contingency 7.5% / VAT 12% are defaults. Project-tuned override via 06-commercial-rates.yaml based on risk-register score.

- Cable specs — currently project-blind. Consider authoring A3-cable-spec-rules.yaml per _playbook/sub-routines/build-cable-schedule.md for explicit jurisdiction / brand reasoning.

- MS/TP trunk topology — formula-based fallback; ideally derived from actual A4 panel locations.

## 7. Defensibility check — what’s already strong

Reassurance for the team — items the agent already handled to a defensible standard:

- Every BOQ line traces to a working doc; every working doc cites sources

- Drawing-availability triage committed in writing in 03-doc-inventory.md (per Op#10)

- All assumptions are documented with rationale + impact-if-wrong

- 13-file deliverables package ready for issue with no missing artifacts

- Audit XLSX layer (per Principle F) makes verification work tractable

Generated by _playbook/tools/generate-internal-notes.py. Re-run after any update to the project’s working docs to refresh.